SECTION 9

SOLID WASTE MANAGEMENT

U.S. TEAM Guide, March 2009
A.  Applicability

This section addresses the collection, storage, and disposal of solid waste at facilities.  Solid waste is considered to be non-hazardous trash, rubbish, garbage, bulky wastes, liquids or sludges generated by any operations and activities.  The handling and disposal of asbestos waste materials are addressed in Section 11, Toxic Substances Management.

Recycling and resource recovery activities are also included in this section because they are considered a form of solid waste management.

Assessors are required to review state and local regulations and, if applicable, the appropriate Agency Supplement, to perform a comprehensive assessment.

Select portions of this section (i.e., Review of Federal Legislation, State and Local Regulations, Key Compliance Requirements, Key Terms and Definitions, Typical Records to Review, Typical Physical Features to Inspect, and the Checklist) have been reviewed by USEPA personnel from the Office of Enforcement and Compliance Assurance (OECA) and USEPA's Office of General Counsel.  USEPA's comments and suggestions for changes have been incorporated in this version of the TEAM Guide.  USEPA did not review all portions of this section.  USEPA also did not review and comment on items pertaining to federal Executive Orders, DOT regulations, OSHA regulations or any other area outside of Title 40 of the Code of Federal Regulations.  Portions that have been added or revised as a result of this review are identified as being reviewed, revised, or added in March 2000, for example [Added March 2000].

B.  Federal Legislation 

•
Resource Conservation and Recovery Act (RCRA) of 1976. This is the Federal law that governs the disposal of solid waste.  Subtitle D of this act, as last amended in November 1984, Public Law (PL) 98-616, 42 U.S. Code (USC) 6941-6949a, establishes Federal standards and requirements for state and regional authorities respecting solid waste disposal.  The objectives of this subtitle are to assist in developing and encouraging methods for the disposal of solid waste which are environmentally sound and which maximize the utilization of valuable resources recoverable from solid waste.  The objectives are to be achieved through Federal technical and financial assistance to states and regional authorities for comprehensive planning (42 USC 6941). 

•
The Solid Waste Disposal Act of 1965, as amended. This act requires that Federal facilities comply with all Federal, state, interstate, and local requirements concerning the disposal and management of solid wastes.  These requirements include permitting, licensing, and reporting. 

•
The Occupational Safety and Health Act (OSHA). The general purpose of this act is to assure, as much as possible, every individual working in the United States safe and healthful working conditions.  The control of medical waste, including infectious and pathological waste, is one aspect of assuring safe and healthy working conditions. 

•
The Clean Air Act Amendments of 1990 (CAAA90).  This act, Public Law (PL) 101-549 (42 U.S. Code (USC) 7401-7671q), is currently the Federal legislation regulating the prevention and control of air pollution.  As a result of this act, regulations have been promulgated concerning the control, monitoring, and reporting of emissions from municipal solid waste landfills (MSWLFs).

•
EO 12088, Federal Compliance with Pollution Standards.  This EO, dated 13 October 1978, requires Federally owned and operated facilities to comply with applicable Federal, state, and local pollution control standards.  It makes the head of each executive agency responsible for ensuring that the agencies, facilities, programs, and activities the Agency funds meet applicable Federal, state, and local environmental requirements for correcting situations that are not in compliance with such requirements. In addition, the EO requires that each agency ensure that sufficient funds for environmental compliance are included in the agency budget.  Sections 1-4, “Pollution Control Plan” was revoked by EO 13148 [Revised October 2002].

•
Executive Order (EO) 13423, Strengthing Federal Environmental, Energy, and Transportation Management.  This EO, dated 24 January 2007, requires Federal agencies to lead by example in advancing the nation’s energy security and environmental performance by achieving goals outlined in the EO.  This EO revokes the following EOs [Added July 2007]:

1.  Executive Order 13101, Greening the Government Through Waste Prevention, Recycling, and Federal Acquisition of September 14, 1998;

2.  Executive Order 13123, Greening the Government Through Efficient Energy Management of June 3, 1999;

3.  Executive Order 13134, Developing and Promoting Biobased Products and Bioenergy of August 12, 1999, as amended;

4.  Executive Order 13148, Greening the Government through Leadership in Environmental Management of April 21, 2000; and

5.  Executive Order 13149, Greening the Government Through Federal Fleet and Transportation Efficiency of April 21, 2000.

C.  State/Local Regulations


For information on regulations in specific states, see the State Supplements to TEAM Guide.


The Federal government set minimum national standards for municipal solid waste disposal in 40 CFR 258, but state and local governments are responsible for implementing and enforcing waste programs. Currently USEPA has delegated its authority to implement various provisions of RCRA to all states, except Alaska, Hawaii, Iowa, and two U.S. territories.  States are required to develop their own programs based on the Federal regulations.  Most states and municipalities have already developed their own regulations governing the permitting, licensing, and operations of landfills, incinerators, and source separation/recycling programs [Revised March 2000].


States are required to incorporate revised criteria for MSWLFs into their permit programs and gain approval from U.S. Environmental Protection Agency (USEPA).  States that apply for and receive USEPA approval of their programs have the opportunity to provide a lot of flexibility in implementing the regulations.  This flexibility allows states to take local conditions into account and gives them the authority to alter some of the requirements. Evaluators will need to determine if a state has been granted approval for the 40 CFR 258 program in order to accurately assess compliance with the criteria. Many states have also instigated categories of special wastes that cannot be placed in landfills or dumps, or may only be disposed of under specific circumstances [Reviewed March 2000].

D.  Key Compliance Requirements

•
Storage/Collection - All solid waste and materials separated for recycling must be stored so that it does not cause a fire, safety, or health hazard.  Collection systems are required to be operated in a manner to protect the health and safety of personnel associated with the operation.   All collection equipment is required to have a suitable cover to prevent spillage and be constructed, operated, and maintained adequately.  Solid wastes or materials separated for recycling are required to be collected according to a certain schedule, and in a safe, efficient manner (40 CFR 243.200-1, 243.201-1, 243.202-1(a) through 243.202-1(c), 243.203-1, and 243.204-1) [Reviewed March 2000].

•
Solid Waste Containers - Personnel should be periodically informed about materials that are prohibited from disposal in solid waste receptacles (MP). 

•
Recycling - Facilities should participate in any state or local recycling programs and reduce the volume of solid waste materials at the source whenever practical. Businesses and other organizations employing over 100 office workers are required to recover high-grade paper. Residential facilities at which more than 500 families reside are required to recycle newspapers. Any facility generating 10 tons or more of waste corrugated containers per month is required to segregate or collect them separately for recycling (40 CFR 246.200-1 and 246.202-1) [Reviewed March 2000].

•
Open Dumping - 40 CFR 257 details the criteria for determining whether or not an activity would be considered an open dump for the purposes of state solid waste management planning under RCRA.  See Appendix 9-1a for a list of the criteria that a facility or practice must meet in order for it to not be considered and open dump. [Reviewed March 2000].

•
Municipal Solid Waste Landfills (MSWLFs) - MSWLFs must meet restrictions for location, the types of waste to be placed in them, emissions from the MSWLF, and the types of monitoring required. Limitations, design criteria, and closure requirements vary depending on whether it is a new or existing MSWLF (40 CFR 258 and 40 CFR 60.750 through 60.759) [Reviewed March 2000].

•
Thermal Processing Facilities - Thermal processing facilities that are designed to process or are processing 50 tons or more per day of municipal solid wastes must be operated in a manner that prevents water and/or air contamination.  Additionally, there must be an operating plan that specifies procedures and precautions to be taken if unacceptable wastes are delivered to or left at the thermal processing facility.  The residue and solid waste resulting from the thermal processing must be disposed of in a manner that prevents environmental damage (40 CFR 240) [Reviewed March 2000].

•
Medical Waste - Contaminated reusable sharps and other regulated wastes are required to be placed in puncture resistant, color coded, leakproof containers, as soon as possible after use until properly reprocessed.  Specimens of blood or other potentially infectious material are required to be placed in a container that prevents leakage during collection, handling, processing, storage, transport, or shipping and specific labeling and handling requirements are followed (29 CFR 1910.1030(d)). 

•
Medical Waste Containers - All bins, cans, and other receptacles intended for reuse that have the likelihood of becoming contaminated with blood or other potentially infectious materials are required to be inspected and decontaminated on a regularly scheduled basis.   Labels affixed to containers of regulated wastes, refrigerators and freezers containing blood, and other containers used to store, transport, or ship blood or other potentially infectious materials must meet specific standards, which include the biohazard symbol, and being colored a fluorescent orange with contrasting-colored lettering and symbols (29 CFR 1910.1030(d)(4)(ii)(c) and 1910.1030(g)(1)(i)).

•
The following is a summary of the solid waste-related goals outlined in EO 13423:

1. Building Performance: Construct or renovate buildings in accordance with sustainability strategies, including resource conservation, reduction, and use; siting; and indoor environmental quality.

2. Procurement: Expand purchases of environmentally-sound goods and services, including biobased products.

3. Pollution Prevention: Reduce use of chemicals and toxic materials and purchase lower risk chemicals and toxic materials from top priority list.

E.  Key Compliance Definitions 

•
Active Collection System - a gas collection system that uses gas mover equipment (40 CFR 60.751) [Reviewed March 2000].
•
Active Landfill - a landfill in which solid waste is being placed or a landfill that is planned to accept waste in the future (40 CFR 60.751) [Reviewed March 2000].

•
Active Life - the period of operation beginning with the initial receipt of solid waste and ending with the completion of closure activities (40 CFR 258.2) [Reviewed March 2000].

•
Active Life - the period of operation beginning with the initial receipt of solid waste and ending at the final receipt of solid waste (40 CFR 257.5(b)) [Added April 2004].

•
Active Portion - that part of a facility or unit that has received or is receiving wastes and that has not been closed (40 CFR 258.2) [Reviewed March 2000].

•
Agency - an executive agency as defined in section 105 of title 5, United States Code, excluding the Government Accountability Office. For the purpose of the E.O., military departments, as defined in 5 U.S.C. 102, are covered under the auspices of DoD (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Agricultural Waste - byproducts generated by the rearing of animals and the production and harvest of crops or trees. Animal waste, a large component of agricultural waste, includes waste (e.g., feed waste, bedding and litter, and feedlot and paddock runoff) from livestock, dairy, and other animal-related agricultural and farming practices (330.400(b)) [Added July 2006].
•
Airport - public-use airport open to the public without prior permission and without restrictions within the physical capacities of available facilities (40 CFR 257.3-8(e)) [Added April 2004].

•
Alley Collection - the collection of solid waste from containers placed adjacent to or in an alley (40 CFR 243.101) [Added March 2000].

•
Agricultural Solid Waste - the solid waste that is generated by the rearing of animals, and the producing and harvesting of crops or trees (40 CFR 243.101) [Added March 2000].

•
Animal Feed - any crop grown for consumption by animals, such as pasture crops, forage, and grain (40 CFR 257.3-5(c)) [Added April 2004].

•
Appropriate Facility or Organization - any Federal facility or organization that is subject to compliance with environmental regulation or conducts activities that can have a significant impact on the environment, either directly or indirectly, individually or cumulatively, due to the operations of that facility's or organization’s mission, processes, or functions (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Approved Facility - a facility approved by the Administrator, Animal and Plant Health Inspection Service, upon his determination that it has equipment and uses procedures that are adequate to prevent the dissemination of plant pests and livestock or poultry diseases, and that it is certified by an appropriate Government official as currently complying with the applicable laws for environmental protection (330.400(b)) [Added July 2006].
•
Approved Sewage System - a sewage system approved by the Administrator, Animal and Plant Health Inspection Service, upon his determination that the system is designed and operated in such a way as to preclude the discharge of sewage effluents onto land surfaces or into lagoons or other stationary waters, and otherwise is adequate to prevent the dissemination of plant pests and livestock or poultry diseases, and that is certified by an appropriate Government official as currently complying with the applicable laws for environmental protection (330.400(b)) [Added July 2006].
•
Aquifer - a geological formation, group of formations, or a portion of a formation capable of yielding significant quantities of groundwater to wells or springs (40 CFR 257.3-4(c) and 258.2) [Reviewed March 2000; Revised April 2004].

•
Background Soil pH - the pH of the soil prior to the addition of substances that alter the hydrogen ion concentration (40 CFR 257.3-5(c)) [Added April 2004].

•
Based Flood - a flood that has a 1 percent or greater chance of recurring in any year or a flood of a magnitude equaled or exceeded once in 100 yr on the average over a significantly long period (40 CFR 257.3-1(b)) [Added April 2004].

•
Biological Product - a virus, therapeutic serum, toxin, antitoxin, vaccine, blood, blood component or derivative, allergenic product, or analogous product, or arsphenamine or derivative of arsphenamine (or any other trivalent arsenic compound) applicable to the prevention, treatment, or cure of a disease or condition of human beings or animals. A biological product includes a material subject to regulation under 42 U.S.C. 262 or 21 U.S.C. 151-159. Unless otherwise excepted, a biological product known or reasonably expected to contain a pathogen that meets the definition of a Category A or B infectious substance must be assigned the identification number UN 2814, UN 2900, or UN 3373, as appropriate (49 CFR 173.134(a)(2)) [Added January 2003; Revised July 2006].
•
Bioreactor - a MSW landfill or portion of a MSW landfill where any liquid other than leachate (leachate includes landfill gas condensate) is added in a controlled fashion into the waste mass (often in combination with recirculating leachate) to reach a minimum average moisture content of at least 40 percent by weight to accelerate or enhance the anaerobic (without oxygen) biodegradation of the waste (40 CFR 63.1990) [Added April 2003].

•
Bird Hazard - an increase in the likelihood of bird/aircraft collisions that may cause damage to the aircraft or injury to its occupants (40 CFR 257.3-8(e)) [Added April 2004].

•
Blood - human blood, human blood components, and products made from human blood (29 CFR 1910.1030(a)). 

•
Bottom Ash - the solid material that remains on a hearth or falls off the grate after thermal processing is complete (40 CFR 240.101(b)) [Reviewed March 2000].

•
Bulky Wastes - large items of solid waste such as household appliances, furniture, large auto parts, trees, branches, stumps, and other oversize wastes, which large size precludes or complicates their handling by normal solid waste collection, processing, or disposal methods (40 CFR 243.101) [Reviewed March 2000].

•
Carrier - the principal operator of a means of conveyance (330.400(b)) [Added July 2006].
•
Carryout Collection - collection of solid waste from a storage area proximate to the dwelling unit(s) or establishment (40 CFR 243.101) [Added March 2000].

•
Cation Exchange Capacity - the sum of exchangeable cations a soil can absorb expressed in milli-equivalents per 100 grams of soil as determined by sampling the soil to the depth of cultivation or solid waste placement, whichever is greater, and analyzing by the summation method for distinctly acid soils or the sodium acetate method for neutral, calcareous or saline soils (“Methods of Soil Analysis, Agronomy Monograph No. 9.” C. A. Black, ed., American Society of Agronomy, Madison, Wisconsin. pp 891-901, 1965) (40 CFR 257.3-5(c)) [Added April 2004].

•
Class 7 (Radioactive) Material - see the definition of Radioactive material

•
Closed Landfill - a landfill in which solid waste is no longer being placed, and in which no additional solid wastes will be placed without first filing a notification of modification (40 CFR 60.751) [Reviewed March 2000].

•
Closure - that point in time when a landfill becomes a closed landfill (40 CFR 60.751) [Reviewed March 2000].

•
Collection - the act of removing solid waste (or materials which have been separated for the purpose of recycling) from a central storage point (40 CFR 243.101) [Reviewed March 2000].

•
Collection Frequency - the number of times collection is provided in a given period of time (40 CFR 243.101) [Reviewed March 2000].

•
Commercial Solid Waste - all types of solid waste generated by stores, offices, restaurants, warehouses, and other nonmanufacturing activities, excluding residential and industrial wastes (40 CFR 243.101 and 40 CFR 60.751) [Reviewed March 2000].

•
Compactor Collection Vehicle - a vehicle with an enclosed body containing mechanical devices that convey solid waste into the main compartment of the body and compress it into a smaller volume of greater density (40 CFR 243.101) [Added March 2000].

•
Construction and Demolition (C&D) Landfill - a solid waste disposal facility subject to the requirements in 40 CFR 257, subparts A or B that receives construction and demolition waste and does not receive hazardous waste (defined in 40 CFR 261.3) or industrial solid waste (defined in 40 CFR 258.2). Only a C&D landfill that meets the requirements of 40 CFR 257, subpart B may receive conditionally exempt small quantity generator waste (defined in 40 CFR 261.5 of this chapter). A C&D landfill typically receives any one or more of the following types of solid wastes: roadwork material, excavated material, demolition waste, construction/renovation waste, and site clearance waste (40 CFR 258.2) [Added July 2003].

•
Construction and Demolition Wastes - the waste building materials, packaging, and rubble resulting from the construction, renovation, repair, and demolition operation on pavements, houses, commercial buildings, and other structures (40 CFR 243.101) [Reviewed March 2000].

•
Contaminate - introduce a substance that would cause (40 CFR 257.3-4(c)) [Added April 2004]:

1.  the concentration of that substance in the ground water to exceed the maximum contaminant level specified in appendix I, or

2.  an increase in the concentration of that substance in the groundwater where the existing concentration of that substance exceeds the maximum contaminant level specified in appendix I.

•
Contaminated - the presence or the reasonably anticipated presence of blood or other potentially infectious materials on an item or surface (29 CFR 1910.1030(a)). 

•
Contaminated Sharps - any contaminated object that can penetrate the skin, including but not limited to, needles, scalpels, broken glass, broken capillary tubes, and exposed ends of dental wires (29 CFR 1910.1030(a)). 

•
Controlled Landfill - any landfill at which collection and control systems are required under 40 CFR 60.750 - 759 as a result of the nonmethane organic compounds (NMOC) emission rate.  The landfill is considered controlled at the time a collection and control system design plan is submitted (40 CFR 60.751) [Revised June 1998; Reviewed March 2000].
•
Corrugated Container Waste - discarded corrugated boxes (40 CFR 246.101) [Reviewed March 2000].

•
Crops for Direct Human Consumption - crops that are consumed by humans without processing to minimize pathogens prior to distribution to the consumer (40 CFR 257.3-6(c)) [Added April 2004].

•
Culture - an infectious substance containing a pathogen that is intentionally propagated. Culture does not include a human or animal patient specimen (49 CFR 173.134(a)(3)) [Added January 2003; Revised July 2006].

•
Cultures and Stocks - a material prepared and maintained for growth and storage and containing a Risk Group 2, 3 or 4 infectious substance (49 CFR 171.8 and 173.134(a)(3)) [Added January 2003].

•
Curb Collection - collection of solid waste placed adjacent to a street (40 CFR 243.101) [Added March 2000].

•
Destruction or Adverse Modification - a direct or indirect alteration of critical habitat which appreciably diminishes the likelihood of the survival and recovery of threatened or endangered species using that habitat (40 CFR 257.3-2(c)) [Added April 2004].

•
Deviation - any instance in which an affected source subject to 40 CFR 63, Subpart AAAA, or an owner or operator of such a source (40 CFR 63.1990) [Added April 2003]:

1.  Fails to meet any requirement or obligation established by this subpart, including, but not limited to, any emissions limitation (including any operating limit) or work practice standard;

2.  Fails to meet any term or condition that is adopted to implement an applicable requirement in this subpart and that is included in the operating permit for any affected source required to obtain such a permit; or

3.  Fails to meet any emission limitation, (including any operating limit), or work practice standard in this subpart during startup, shutdown, and malfunction (SSM), regardless of whether or not such failure is permitted by this subpart.


For the purposes of the landfill monitoring and SSM plan requirements, deviations include the following (40 CFR 63.1965):

1.  A deviation occurs when the control device operating parameter boundaries described in 40 CFR 60.758(c)(1) of subpart WWW are exceeded.

2.  A deviation occurs when 1 hour or more of the hours during the 3-h block averaging period does not constitute a valid hour of data. A valid hour of data must have measured values for at least three 15-min monitoring periods within the hour.

3.  A deviation occurs when a SSM plan is not developed, implemented, or maintained on site.

•
Decontamination - the use of physical or chemical means to remove, inactivate, or destroy bloodborne pathogens on a surface or item to the point where they are no longer capable of transmitting infectious particles and the surface or item is rendered safe for handling, use, or disposal (29 CFR 1910.1030(a)). 

•
Design Capacity - the weight of solid waste of a specified gross calorific value that a thermal processing facility is designed to process in 24 h of continuous operation (40 CFR 240.101(d)). 

•
Design Capacity - in relation to air quality restrictions, the maximum amount of solid waste a landfill can accept, as indicated in terms of volume or mass in the most recent permit issued by the State, local, or Tribal agency responsible for regulating the landfall, plus any in-place waste not accounted for in the most recent permit.  If the owner or operator chooses to convert the design capacity from volume to mass or from mass to volume to demonstrate its design capacity is less than 2.5 million megagrams or 2.5 million m3, the calculation must include a site specific density, which must be recalculated annually  (40 CFR 60.751) [Revised June 1998; Reviewed March 2000].

•
Diagnostic Specimen - any human or animal material, including excreta, secreta, blood and its components, tissue, and tissue fluids being transported for diagnostic or investigational purposes, but excluding live infected humans or animals. A diagnostic specimen is not assigned a UN identification number unless the source patient or animal has or may have a serious human or animal disease from a Risk Group 4 pathogen, in which case it must be classed as Division 6.2, described as an infectious substance, and assigned to UN 2814 or UN 2900, as appropriate. Assignment to UN 2814 or UN 2900 is based on known medical condition and history of the patient or animal, endemic local conditions, symptoms of the source patient or animal, or professional judgment concerning individual circumstances of the source patient or animal (49 CFR 171.8 and 173.134(a)(4)) [Added January 2003].

•
Disease Vector - rodents, flies, and mosquitoes capable of transmitting disease to humans (40 CFR 257.3-6(c)) [Added April 2004].

•
Disposal - the discharge, deposit, injection, dumping, spilling, leaking, or placing of any solid waste or hazardous waste into or on any land or water so that such solid waste or hazardous waste or any constituent thereof may enter the environment or be emitted into the air or discharged into any waters, including ground waters (40 CFR 257.2) [Added April 2004].

•
Disposal Facility - all contiguous land and structures, other appurtenances and improvements on the land used for disposal of solid waste (40 CFR 60.751) [Reviewed March 2000].

•
Division 6.1 (Poisonous Material) - a material, other than a gas, which is known to be so toxic to humans as to afford a hazard to health during transportation, or which, in the absence of adequate data on human toxicity (49 CFR 173.132(a)) [Added January 2003]:
1.  Is presumed to be toxic to humans because it falls within any one of the following categories when tested on laboratory animals (whenever possible, animal test data that has been reported in the chemical literature should be used):

a.  Oral Toxicity. A liquid with an LD50 for acute oral toxicity of not more than 500 mg/kg or a solid with an LD50 for acute oral toxicity of not more than 200 mg/kg.

b.  Dermal Toxicity. A material with an LD50 for acute dermal toxicity of not more than 1000 mg/kg.

c.   Inhalation Toxicity:

i.  A dust or mist with an LC50 for acute toxicity on inhalation of not more than 10 mg/L; or

ii. A material with a saturated vapor concentration in air at 20 deg. C (68 deg. F) greater than or equal to one-fifth of the LC50 for acute toxicity on inhalation of vapors and with an LC50 for acute toxicity on inhalation of vapors of not more than 5000 mL/mm3; or

2.  Is an irritating material, with properties similar to tear gas, which causes extreme irritation, especially in confined spaces.

•
Division 6.2 (infectious substance) - a material known or reasonably expected to contain a pathogen. A pathogen is a microorganism (including bacteria, viruses, rickettsiae, parasites, fungi) or other agent, such as a proteinaceous infectious particle (prion) that can cause disease in humans or animals. An infectious substance must be assigned the identification number UN 2814, UN 2900, UN 3373, or UN 3291 as appropriate, and must be assigned to one of the following categories: (49 CFR 173.134(a)(1)) [Added January 2003; Revised July 2006]:

1.  Category A: An infectious substance in a form capable of causing permanent disability or life-threatening or fatal disease in otherwise healthy humans or animals when exposure to it occurs. An exposure occurs when an infectious substance is released outside of its protective packaging, resulting in physical contact with humans or animals. A Category A infectious substance must be assigned to identification number UN 2814 or UN 2900, as appropriate. Assignment to UN 2814 or UN 2900 must be based on the known medical history or symptoms of the source patient or animal, endemic local conditions, or professional judgment concerning the individual circumstances of the source human or animal.

2.  Category B: An infectious substance that is not in a form generally capable of causing permanent disability or life-threatening or fatal disease in otherwise healthy humans or animals when exposure to it occurs. This includes Category B infectious substances transported for diagnostic or investigational purposes. A Category B infectious substance must be described as ``Biological substance, Category B'' and assigned identification number UN 3373. This does not include regulated medical waste, which must be assigned identification number UN 3291.


The following are not subject to the requirements of this subchapter as Division 6.2 materials (49 CFR 173.134(b)) [Added January 2003; Revised July 2006]:

1.  A material that does not contain an infectious substance or that is unlikely to cause disease in humans or animals.

2.  Non-infectious biological materials from humans, animals, or plants. Examples include non-infectious cells, tissue cultures, blood or plasma from individuals not suspected of having an infectious disease, DNA, RNA or other non-infectious genetic elements.

3.  A material containing micro-organisms that are non-pathogenic to humans or animals.

4.  A material containing pathogens that have been neutralized or inactivated such that they no longer pose a health risk.

5.  A material with a low probability of containing an infectious substance, or where the concentration of the infectious substance is at a level naturally occurring in the environment so it cannot cause disease when exposure to it occurs. Examples of these materials include: Foodstuffs; environmental samples, such as water or a sample of dust or mold; and substances that have been treated so that the pathogens have been neutralized or deactivated, such as a material treated by steam sterilization, chemical disinfection, or other appropriate method, so it no longer meets the definition of an infectious substance.

6.  A biological product, including an experimental or investigational product or component of a product, subject to Federal approval, permit, review, or licensing requirements, such as those required by the Food and Drug Administration of the U.S. Department of Health and Human Services or the U.S. Department of Agriculture.

7.  Blood collected for the purpose of blood transfusion or the preparation of blood products; blood products; plasma; plasma derivatives; blood components; tissues or organs intended for use in transplant operations; and human cell, tissues, and cellular and tissue-based products regulated under authority of the Public Health Service Act (42 U.S.C. 264-272) and/or the Food, Drug, and Cosmetic Act (21 U.S.C. 332 et seq.).

8.  Blood, blood plasma, and blood components collected for the purpose of blood transfusion or the preparation of blood products and sent for testing as part of the collection process, except where the person collecting the blood has reason to believe it contains an infectious substance, in which case the test sample must be shipped as a Category A or Category B infectious substance in accordance with 49 CFR 173.196 or 49 CFR 173.199, as appropriate.

9.  Dried blood spots or specimens for fecal occult blood detection placed on absorbent filter paper or other material.

10. A Division 6.2 material, other than a Category A infectious substance, contained in a patient sample being transported for research, diagnosis, investigational activities, or disease treatment or prevention, or a biological product, when such materials are transported by a private or contract carrier in a motor vehicle used exclusively to transport such materials. Medical or clinical equipment and laboratory products may be transported aboard the same vehicle provided they are properly packaged and secured against exposure or contamination. If the human or animal sample or biological product meets the definition of regulated medical waste in paragraph (a)(5) of this section, it must be offered for transportation and transported in conformance with the appropriate requirements for regulated medical waste.

11.  A human or animal sample (including, but not limited to, secreta, excreta, blood and its components, tissue and tissue fluids, and body parts) being transported for routine testing not related to the diagnosis of an infectious disease, such as for drug/alcohol testing, cholesterol testing, blood glucose level testing, prostate specific antibody testing, testing to monitor kidney or liver function, or pregnancy testing, or for tests for diagnosis of non-infectious diseases, such as cancer biopsies, and for which there is a low probability the sample is infectious.

12.  Laundry and medical equipment and used health care products, as follows:

a.  Laundry or medical equipment conforming to the regulations of the Occupational Safety and Health Administration of the Department of Labor in 29 CFR 1910.1030. This exception includes medical equipment intended for use, cleaning, or refurbishment, such as reusable surgical equipment, or equipment used for testing where the components within which the equipment is contained essentially function as packaging. This exception does not apply to medical equipment being transported for disposal.

b.  Used health care products not conforming to the requirements in 29 CFR 1910.1030 and being returned to the manufacturer or the manufacturer's designee are excepted from the requirements of this subchapter when offered for transportation or transported in accordance with this paragraph (b)(12). For purposes of this paragraph, a health care product is used when it has been removed from its original packaging. Used health care products contaminated with or suspected of contamination with a Category A infectious substance may not be transported under the provisions of this paragraph.

i.  Each used health care product must be drained of free liquid to the extent practicable and placed in a watertight primary container designed and constructed to assure that it remains intact under conditions normally incident to transportation. For a used health care product capable of cutting or penetrating skin or packaging material, the primary container must be capable of retaining the product without puncture of the packaging under normal conditions of transport. Each primary container must be marked with a BIOHAZARD marking conforming to 29 CFR 1910.1030(g)(1)(i).

ii.  Each primary container must be placed inside a watertight secondary container designed and constructed to assure that it remains intact under conditions normally incident to transportation. The secondary container must be marked with a BIOHAZARD marking conforming to 29 CFR 1910.1030(g)(1)(i).

iii.  The secondary container must be placed inside an outer packaging with sufficient cushioning material to prevent movement between the secondary container and the outer packaging. An itemized list of the contents of the primary container and information concerning possible contamination with a Division 6.2 material, including its possible location on the product, must be placed between the secondary container and the outside packaging.

iv.  Each person who offers or transports a used health care product under the provisions of this paragraph must know about the requirements of this paragraph.

13.  Any waste or recyclable material, other than regulated medical waste, including--

a.  Garbage and trash derived from hotels, motels, and households, including but not limited to single and multiple residences;

b.  Sanitary waste or sewage;

c.  Sewage sludge or compost;

d.  Animal waste generated in animal husbandry or food production; or

e.  Medical waste generated from households and transported in accordance with applicable state, local, or tribal requirements.

14.  Corpses, remains, and anatomical parts intended for interment, cremation, or medical research at a college, hospital, or laboratory.

15.  Forensic material transported on behalf of a U.S. Government, state, local or Indian tribal government agency, except that--

a. Forensic material known or suspected to contain a Category B infectious substance must be shipped in a packaging conforming to the provisions of 49 CFR 173.24.

b. Forensic material known or suspected to contain a Category A infectious substance or an infectious substance listed as a select agent in 42 CFR Part 73 must be transported in packaging capable of meeting the test standards in 49 CFR 178.609. The secondary packaging must be marked with a BIOHAZARD symbol conforming to specifications in 29 CFR 1910.1030(g)(1)(i). An itemized list of contents must be enclosed between the secondary packaging and the outer packaging.

16.  Agricultural products and food as defined in the Federal Food, Drug, and Cosmetics Act (21 U.S.C. 332 et seq.).

•
Domestic Septage - either liquid or solid material removed from a septic tank, cesspool, portable toilet, Type III marine sanitation device, or similar treatment works that receives only domestic sewage. Domestic septage does not include liquid or solid material removed from a septic tank, cesspool, or similar treatment works that receives either commercial wastewater or industrial wastewater and does not include grease removed from a grease trap at a restaurant (40 CFR 257.2) [Added April 2004].

•
Domestic Wastes - all types of wastes generated in the living spaces on board a ship except victual wastes (33 CFR 151.05).
•
Emissions Limitation - any emission limit, opacity limit, operating limit, or visible emissions limit (40 CFR 63.1990) [Added April 2003].

•
Emission Rate Cutoff  - the threshold annual emission rate to which a landfill compares its estimated emission rate to determine if control under the regulation is required (40 CFR 60.751) [Reviewed March 2000].

•
Enclosed Combustor - an enclosed firebox which maintains a relatively constant limited peak temperature generally using a limited supply of combustion air.  An enclosed flare is considered and enclosed combustor (40 CFR 60.751) [Reviewed March 2000].

•
Endangered or Threatened Species - any species listed as such pursuant to section 4 of the Endangered Species Act (40 CFR 257.3-2(c)) [Added April 2004].

•
EPA Approved State Plan - a State plan that USEPA has approved based on the requirements in 40 CFR 60, subpart B to implement and enforce 40 CFR 60, Subpart Cc. An approved State plan becomes effective on the date specified in the notice published in the Federal Register announcing USEPA's approval (40 CFR 63.1990) [Added April 2003].

•
Existing MSWLF Unit - any MSWLF unit that is receiving solid waste as of the appropriate dates specified in 40 CFR 258.1(e) (see Appendix 9-1).  Waste placement in existing units must be consistent with past operating practices or modified practices to ensure good management (40 CFR 258.2) [Reviewed March 2000].

•
Existing Unit - any non-municipal non-hazardous waste disposal unit that is receiving CESQG hazardous waste as of 1 January 1998 (40 CFR 257.5(b)) [Added April 2004].

•
Explosive Gas – methane (40 CFR 257.3-8(e)) [Added April 2004].

•
Facility - any building, installation, structure, land, and other property owned or operated by, or constructed or manufactured and leased to, the Federal Government, as well as any fixture. This term includes a group of facilities at a single or multiple location(s) managed as an integrated operation, as well as government-owned contractor operated facilities. For purposes of energy reporting, “facility” excludes land and sites where the utilities are not paid by the reporting agency (i.e., in cases where no separate periodic invoice for utilities is required to be paid) (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Facility - all contiguous land and structures, other appurtenances and improvements on the land use for the disposal of solid waste (40 CFR 257.2 and 258.2) [Reviewed March 2000; Revised April 2004].

•
Facility Structures - any buildings and sheds or utility or drainage lines on the facility (40 CFR 257.3-8(e)) [Added April 2004].

•
Federal Plan - the USEPA plan to implement 40 CFR 60, Subpart Cc for existing MSW landfills located in States and Indian country where State plans or tribal plans are not currently in effect. On the effective date of an USEPA approved State or tribal plan, the Federal plan no longer applies. The Federal plan is found at 40 CFR 62, subpart GGG 40 CFR 63.1990) [Added April 2003].

•
Flare - an open combustor without enclosure or shroud (40 CFR 60.751) [Reviewed March 2000].

•
Floodplain - the lowland and relatively flat areas adjoining inland and coastal waters, including flood-prone areas of offshore islands, which are inundated by the base flood (40 CFR 257.3-1(b) and 257.8(b)) [Added April 2004].

•
Fly Ash - suspended particles, charred paper, dust, soot, and other partially oxidized matter carried in the products of combustion (40 CFR 240.101) [Reviewed March 2000].

•
Food-chain Crops - tobacco, crops grown for human consumption, and animal feed for animals whose products are consumed by humans. Incorporated into the soil means the injection of solid waste beneath the surface of the soil or the mixing of solid waste with the surface soil (40 CFR 257.3-5(c)) [Added April 2004].

•
Food Waste - the organic residues generated by the handling, storage, sale, preparation, cooking, and serving of foods, commonly called garbage (40 CFR 243.101) [Reviewed March 2000].

•
Garbage - all waste material that is derived in whole or in part from fruits, vegetables, meats, or other plant or animal (including poultry) material, and other refuse of any character whatsoever that has been associated with any such material (330.400(b)) [Revised July 2006].
•
Gas Mover Equipment - the equipment used to transport landfill gas through the header system (40 CFR 60.751) [Reviewed March 2000].

•
Graywater - drainage from the dishwasher, shower, laundry, bath, and washbasin drains, and does not include drainage from toilets, urinals, hospitals, and cargo spaces (33 CFR 151.05). 

•
Ground Water - water below the land surface in a zone of saturation (40 CFR 258.2) [Reviewed March 2000].

•
Groundwater - water below the land surface in the zone of saturation. Underground drinking water source means one of the following (40 CFR 257.3-4(c)) [Added April 2004]:

1.  an aquifer supplying drinking water for human consumption

2.  an aquifer in which the ground water contains less than 10,000 mg/1 total dissolved solids.

•
Hazardous Waste - a waste or combination of wastes of a solid, liquid, contained gaseous, or semisolid form which may cause, or contribute to, an increase in mortality or an increase in serious irreversible, or incapacitating reversible illness, taking into account the toxicity of such waste, its persistence and degradability in nature, its potential for accumulation or concentration in tissue, and other factors that may otherwise cause or contribute to adverse acute or chronic effects on the health of persons or other organisms (40 CFR 243.101) [Reviewed March 2000].

•
High-Grade Paper - letterhead, dry copy papers, miscellaneous business forms, stationary, typing paper, tablet sheets, and computer printout paper and cards, commonly sold as “white ledger”, “computer printout” and “tab card” grade by the wastepaper industry (40 CFR 246.101) [Reviewed March 2000].

•
Household Waste - any solid waste, (including garbage, trash, and sanitary waste in septic tanks) derived from households (including single and multiple residences, hotels and motels, bunkhouses, ranger stations, crew quarters, campgrounds, picnic grounds, and day-use-recreation areas) (40 CFR 258.2 and 40 CFR 60.751) [Reviewed March 2000].

•
Incineration - to reduce garbage to ash by burning (330.400(b)) [Added July 2006].
•
Incorporated Into The Soil - the injection of solid waste beneath the surface of the soil or the mixing of solid waste with the surface soil (40 CFR 257.3-6(c)) [Added April 2004].

•
Indian Lands of Indian Country - this means (40 CFR 258.2) [Reviewed March 2000]:

1.
all land within the limits of any Indian reservation under the jurisdiction of the U.S. Government, notwithstanding the issuance of any patent, and including rights-of-way running throughout the reservation

2.
all dependent Indian communities within the borders of the United States whether within the original or subsequently acquired territory thereof, and whether within or without the limits of the state

3.
all Indian allotments, the Indian titles to which have not been extinguished, including rights of way running through the same.

•
Indian Tribe - any Indian tribe, band, nation, or community recognized by the Secretary of the Interior (SOI) and exercising substantial governmental duties and powers on Indian lands (40 CFR 258.2) [Reviewed March 2000].

•
Industrial Solid Waste - the solid waste generated by industrial processes and manufacturing that is not a hazardous waste (40 CFR 243.101) [Reviewed March 2000].

•
Industrial Solid Waste - in relation to MSWLF, solid waste generated by manufacturing or industrial processes that is not a hazardous waste regulated under subtitle C of RCRA.  Such waste may include, but is not limited to, waste resulting from the following manufacturing processes: electric power generation; fertilizer/agricultural chemicals; food and related products/byproducts; inorganic chemicals; iron and steel manufacturing; leather and leather products; nonferrous metals manufacturing/foundries; organic chemicals; plastics and resins manufacturing; pulp and paper industry; rubber and miscellaneous plastic products; stone, glass, clay, and concrete products; textile manufacturing; transportation equipment; and water treatment.  This term does not include mining waste or oil and gas waste (40 CFR 258.2 and 40 CFR 60.751) [Reviewed March 2000].

•
Infectious Waste - this includes (40 CFR 243.101) [Revised March 2000]:

1. equipment, instruments, utensils, and formites of a disposable nature from the rooms of patients who are suspected to have or have been diagnosed as having a communicable disease and must, therefore, be isolated as required by public health agencies; 

2. laboratory wastes, such as pathological specimens (e.g., all tissues, specimens of blood elements, excreta, and secretions obtained from patients or laboratory animals) and disposable fomites (any substance that may harbor or transmit pathogenic organisms) attendant thereto; 

3. surgical operating room pathologic specimens and disposable fomites attendant thereto, and similar disposable materials from outpatient areas and emergency rooms.

•
Infectious Waste - this includes (40 CFR 246.101) [Revised March 2000]:

1. equipment, instruments, utensils, and fomites (any substance that may harbor or transmit pathogenic organisms) of a disposable nature from the rooms of patients who are suspected to have or have been diagnosed as having a communicable disease and must, therefore, be isolated as required by public health agencies; 

2. laboratory wastes, such as pathological specimens (e.g. all tissues, specimens of blood elements, excreta, and secretions obtained from patients or laboratory animals) and disposable fomites attendant thereto; 

3. surgical operating room pathologic specimens and disposable fomites attendant thereto and similar disposable materials from outpatient areas and emergency rooms.

•
Institutional Solid Waste - solid wastes generated by educational, health care, correctional and other institutional facilities (40 CFR 243.101) [Reviewed March 2000].

•
Interior Well - any well or similar collection component located inside the perimeter of the landfill waste.  A perimeter well located outside the landfill waste is not an interior well (40 CFR 60.751) [Revised June 1998; Reviewed March 2000].

•
Interstate- from one State into or through any other State (330.400(b)) [Added July 2006].
•
Land Application Unit - an area where wastes are applied onto or incorporated into the soil surface (excluding manure spreading operations) for agricultural purposes or for treatment and disposal (40 CFR 257.2) [Added April 2004].

•
Landfill - an area of land or an excavation in which wastes are placed for permanent disposal, and that is not a land application unit, surface impoundment, injection well, or waste pile as those terms are defined under 40 CFR 257.2 (40 CFR 60.751 and 257.2) [Added March 2000; Revised April 2004].

•
Lateral Expansion - a horizontal expansion of the waste boundaries of an existing municipal solid waste landfill unit (40 CFR 258.2 and 40 CFR 60.751) [Reviewed March 2000].

•
Lateral Expansion - a horizontal expansion of the waste boundaries of an existing non-municipal non-hazardous waste disposal unit (40 CFR 257.5(b)) [Added April 2004].

•
Leachate - in relation to MSWLFs, this is a liquid that has passed through or emerged from solid waste and contains soluble, suspended, or miscible materials removed from such waste (40 CFR 258.2) [Reviewed March 2000].

•
Leachate - liquid that has passed through or emerged from solid waste and contains soluble, suspended or miscible materials removed from such wastes (40 CFR 257.2) [Added April 2004].

•
Life Cycle Cost - the sum of the present values of capital costs, installation costs, operating costs, maintenance costs, and disposal costs over the lifetime of the project, product, or measure (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Life-cycle Cost-Effective - that the life-cycle costs of a product, project, or measure are estimated to be equal to or less than the base case (i.e., current or standard practice or product) (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Low Specific Activity (LSA) Material - Class 7 (radioactive) material with limited specific activity which satisfies the descriptions and limits set forth below. Shielding materials surrounding the LSA material may not be considered in determining the estimated average specific activity of the package contents. LSA material must be in one of three groups (49 CFR 173.403) [Added January 2003]:

1.  LSA-I.

a.  Ores containing only naturally occurring radionuclides (e.g., uranium, thorium) and uranium or thorium concentrates of such ores; or

b.  Solid unirradiated natural uranium or depleted uranium or natural thorium or their solid or liquid compounds or mixtures; or

c.  Class 7 (radioactive) material, other than fissile material, for which the A2 value is unlimited; or

d.  Mill tailings, contaminated earth, concrete, rubble, other debris, and activated material in which the Class 7 (radioactive) material is essentially uniformly distributed and the average specific activity does not exceed 10-6A2/g.

2.  LSA-II.

a.  Water with tritium concentration up to 0.8 TBq/L (20.0 Ci/iter); or

b.  Material in which the Class 7 (radioactive) material is distributed throughout and the average specific activity does not exceed 10-4A2/g for solids and gases, and 10-5 A2/g for liquids.

3.  LSA-III. Solids (e.g., consolidated wastes, activated materials) that meet the requirements of 49 CFR 173.468 and which:

a.  The Class 7 (radioactive) material is distributed throughout a solid or a collection of solid objects, or is essentially uniformly distributed in a solid compact binding agent (such as concrete, bitumen, ceramic, etc.); and

b.  The Class 7 (radioactive) material is relatively insoluble, or it is intrinsically contained in a relatively insoluble material, so that, even under loss of packaging, the loss of Class 7 (radioactive) material per package by leaching when placed in water for seven days would not exceed 0.1 A2; and

c.  The average specific activity of the solid does not exceed 2x10-3A2/g.

•
Lower Explosive Limit (LEL) - the lowest percent by volume of a mixture of explosive gases which will propagate a flame in air at 25 degrees C and atmospheric pressure (40 CFR 257.3-8(e)) [Added April 2004].

•
Management Practice (MP) - practices that, although not mandated by law, are encouraged to promote safe operating procedures.

•
MARPOL 73/78 - the International Convention for the Prevention of Pollution from Ships, 1973 as amended by the Protocol of 1978 (33 CFR 151.05). 

•
Medical/Pathological Wastes - any solid waste that is generated in the diagnosis, treatment, or immunization of human beings or animals, in research pertaining thereto, or in the production or testing of biologicals.  This does not include hazardous waste or household waste (40 CFR 259.10). 

•
Mining Wastes - residues which result from the extraction of raw materials from the earth (40 CFR 243.101) [Reviewed March 2000].

•
Modification - an increase in the permitted volume design capacity of the landfill by either horizontal or vertical expansion based on the permitted design capacity as of 30 May 1991 (40 CFR 60.751) [Added June 1998; Reviewed March 2000].

•
Municipal Solid Waste - residential and commercial solid wastes generated within a community (40 CFR 240.101) [Reviewed March 2000].

•
Municipal Solid Waste Landfill - an entire disposal facility in a contiguous geographical space, where household waste is placed in or on land. An MSW landfill may also receive other types of RCRA Subtitle D wastes (40 CFR 257.2) such as commercial solid waste, nonhazardous sludge, conditionally exempt small quantity generator waste, and industrial solid waste. Portions of an MSW landfill may be separated by access roads. An MSW landfill may be publicly or privately owned. An MSW landfill may be a new MSW landfill, an existing MSW landfill, or a lateral expansion (40 CFR 60.751) [Added March 2000].

•
Municipal Solid Waste Landfill (MSWLF) Unit - a discrete area of land or an excavation that receives household waste, and that is not a land application unit, surface impoundment, injection well, or waste pile, as those terms are defined in this section. A MSWLF unit also may receive other types of RCRA Subtitle D wastes, such as commercial solid waste, nonhazardous sludge, and industrial solid waste. Such a landfill may be publicly or privately owned. An MSWLF unit may be a new MSWLF unit, an existing MSWLF unit or a lateral expansion (40 CFR 257.2) [Added April 2004].

•
Municipal Solid Waste Landfill or MSW Landfill - an entire disposal facility in a contiguous geographical space where household waste is placed in or on land. A municipal solid waste landfill may also receive other types of RCRA Subtitle D wastes (see 40 CFR 257.2 of this chapter) such as commercial solid waste, nonhazardous sludge, conditionally exempt small quantity generator waste, and industrial solid waste. Portions of a municipal solid waste landfill may be separated by access roads. A municipal solid waste landfill may be publicly or privately owned. A municipal solid waste landfill may be a new municipal solid waste landfill, an existing municipal solid waste landfill, or a lateral expansion (40 CFR 63.1990) [Added April 2003].

•
Municipal Solid Waste Landfill Emissions - gas generated by the decomposition of organic waste deposited in an MSWLF or derived from the evolution of organic compounds in the waste (40 CFR 60.751) [Reviewed March 2000].

•
Municipal Solid Waste Landfill (MSWLF) Unit - a discrete area of land or an excavation that receives household waste, and that is not a land application unit, surface impoundment, injection well, or waste pile, as those terms are defined under 40 CFR 257.2 of this chapter. A MSWLF unit also may receive other types of RCRA Subtitle D wastes, such as commercial solid waste, nonhazardous sludge, conditionally exempt small quantity generator waste and industrial solid waste. Such a landfill may be publicly or privately owned. A MSWLF unit may be a new MSWLF unit, an existing MSWLF unit or a lateral expansion. A construction and demolition landfill that receives residential lead-based paint waste and does not receive any other household waste is not a MSWLF unit (40 CFR 258.2) [Reviewed March 2000; Revised July 2003].

•
New MSWLF Unit - any MSWLF unit that has not received wastes prior to 9 October 1993, or prior to 9 October 1997 if the MSWLF unit disposes of less than 20 tons of municipal solid waste daily, based on an annual average and the MSWLF unit serves either (40 CFR 258.2) [Reviewed March 2000]:

1. a community that experiences an annual interruption of at least 3 consecutive months of surface transportation that prevents access to a regional waste management facility 

2. a community that has no practicable waste management alternative and the landfill is located in an areas that annually receives less than or equal to 25 in. of precipitation.

•
New Unit - any non-municipal non-hazardous waste disposal unit that has not received CESQG hazardous waste prior to 1 January 1998 (40 CFR 257.5(b)) [Added April 2004].

•
Nondegradable Waste - any waste that does not decompose through chemical breakdown or microbiological activity.  Examples are, but are not limited to, concrete, municipal waste combustor ash, and metal (40 CFR 60.751) [Reviewed March 2000].

•
Open Burning - the combustion of solid waste without (40 CFR 257.3-7(c)) [Added April 2004]:

1. control of combustion air to maintain adequate temperature for efficient combustion, 

2. containment of the combustion reaction in an enclosed device to provide sufficient residence time and mixing for complete combustion, and 

3. control of the emission of the combustion products.

•
Open Burning - in relation to MSWLFs, the combustion of solid waste without (40 CFR 258.2) [Reviewed March 2000]:

1.
 control of combustion air to maintain adequate temperature for efficient combustion

2.
 containment of the combustion reaction in an enclosed device to provide sufficient residence time and

       mixing for complete combustions

3.
 control of the emission of the combustion product. 

•
Open Burning - burning of solid wastes in the open, such as in an open dump (40 CFR 240.101(r)) [Reviewed March 2000].

•
Open Dump - a land disposal site at which solid wastes are disposed of in a manner that does not protect the environment, are susceptible to open burning, and are exposed to the elements, vectors, and scavengers (40 CFR 240.101) [Reviewed March 2000].

•
Open Dump - a facility for the disposal of solid waste which does not comply with 40 CFR 257 (40 CFR 257.2) [Added April 2004].

•
Operator - the person(s) responsible for the overall operation of a facility or part of a facility (40 CFR 258.2) [Added March 2000].

•
Owner - the person(s) who owns a facility or part of a facility (40 CFR 258.2) [Added March 2000].

•
Passive Collection System - a gas collection system that solely uses positive pressure within the landfill to move the gas rather than using gas mover equipment (40 CFR 60.751) [Reviewed March 2000].

•
Pasture Crops - crops such as legumes, grasses, grain stubble and stover which are consumed by animals while grazing (40 CFR 257.3-5(c)) [Added April 2004].

•
Patient Specimen - human or animal material collected directly from humans or animals and transported for research, diagnosis, investigational activities, or disease treatment or prevention. Patient specimen includes excreta, secreta, blood and its components, tissue and tissue swabs, body parts, and specimens in transport media (e.g., transwabs, culture media, and blood culture bottles) (49 CFR 173.134(a)(4)) [Added July 2006]:

•
Periodic Application of Cover Material - the application and compaction of soil or other suitable material over disposed solid waste at the end of each operating day or at such frequencies and in such a manner as to reduce the risk of fire and to impede vectors access to the waste (40 CFR 257.3-6(c) and 257.3-8(e)) [Added April 2004].

•
pH - the logarithm of the reciprocal of hydrogen ion concentration (40 CFR 257.3-5(c)) [Added April 2004].

•
Practice - the act of disposal of solid waste (40 CFR 257.2) [Added April 2004].

•
Putrescible Wastes - solid waste which contains organic matter capable of being decomposed by microorganisms and of such a character and proportion as to be capable of attracting or providing food for birds (40 CFR 257.3-8(e)) [Added April 2004].

•
Radioactive Material - any material having a specific activity greater than 70 Bq per gram (0.002 microcurie per gram) (see definition of “specific activity”) (49 CFR 173.403) [Added January 2003].
•
Recycling - the series of activities, including collection, separation, and processing, by which products or other materials are recovered from the solid waste stream for use in the form of raw materials in the manufacture of new products other than fuel for producing heat or power by combustion (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Regulated Medical Waste - a waste or reusable material derived from the medical treatment of an animal or human, which includes diagnosis and immunization, or from biomedical research, which includes the production and testing of biological products. Regulated medical waste is assigned to UN 3291, except for regulated medical waste containing a Category A infectious substance, which must be classed as a Division 6.2 material, described as an infectious substance, and assigned to UN 2814 or UN 2900, as appropriate (49 CFR 173.134(a)(5)) [Added January 2003; Revised July 2003].

The following provisions apply to the transportation of regulated medical waste (49 CFR 173.134(c)) [Added January 2003; Revised July 2006]:

1.  A regulated medical waste transported by a private or contract carrier is excepted from--

a.  The requirement for an “INFECTIOUS SUBSTANCE” label if the outer packaging is marked with a “BIOHAZARD” marking in accordance with 29 CFR 1910.1030; and

b The specific packaging requirements of 49 CFR 173.197, if packaged in a rigid non-bulk packaging conforming to the general packaging requirements of 49 CFR 173.24 and 173.24a and packaging requirements specified in 29 CFR 1910.1030, provided the material does not include a waste concentrated stock culture of an infectious substance. Sharps containers must be securely closed to prevent leaks or punctures.

2.  A waste stock or culture of a Category B infectious substance may be offered for transportation and transported as a regulated medical waste when it is packaged in a rigid non-bulk packaging conforming to the general packaging requirements of 49 CFR 173.24 and 173.24a and packaging requirements specified in 29 CFR 1910.1030 and transported by a private or contract carrier in a vehicle used exclusively to transport regulated medical waste. Medical or clinical equipment and laboratory products may be transported aboard the same vehicle provided they are properly packaged and secured against exposure or contamination. Sharps containers must be securely closed to prevent leaks or punctures.

•
Regulated Wastes - liquid or semi-liquid blood or other potentially infectious materials, contaminated items that would release blood or other potentially infectious materials in a liquid or semi-liquid state if compressed; items that are caked with dried blood or other potentially infectious materials and are capable of releasing these materials during handling, contaminated sharps, and pathological and microbiological wastes containing blood or other potentially infectious materials (29 CFR 1910.1030(a)).

•
Residential Lead-based Paint Waste - waste containing lead-based paint, which is generated as a result of activities such as abatement, rehabilitation, renovation and remodeling in homes and other residences. The term residential lead-based paint waste includes, but is not limited to, lead-based paint debris, chips, dust, and sludges (40 CFR 258.2) [Added July 2003].

•
Residential Solid Waste - the wastes generated by the normal activities of households, including, but not limited to, food wastes, rubbish, ashes, and bulky wastes (40 CFR 243.101) [Reviewed March 2000].

•
Risk Group - a ranking of a microorganism's ability to cause injury through disease. A risk group is defined by criteria developed by the World Health Organization (WHO) based on the severity of the disease caused by the organism, the mode and relative ease of transmission, the degree of risk to both an individual and a community, and the reversibility of the disease through the availability of known and effective preventative agents and treatment. There is no relationship between a risk group and a packing group. The criteria for each risk group according to the level of risk are as follows (49 CFR 171.8 and 173.134(a)(6)) [Added January 2003]:

	Risk Group


	Pathogen
	Risk to Individuals
	Risk to the Community

	4
	A pathogen that usually causes serious human or animal disease and that can be readily transmitted from one individual to another, directly or indirectly, and for which effective treatments and preventive measures are not usually available.


	High
	High

	3
	A pathogen that usually causes serious human or animal disease but does not ordinarily spread from one infected individual to another, and for which effective treatments and preventive measures are available.


	High
	Low



	2
	A pathogen that can cause human or animal disease but is unlikely to be a serious hazard, and, while capable of causing serious infection on exposure, for which there are effective treatments and preventive measures available and the risk of spread of infection is limited.


	Moderate
	Low



	1
	A microorganism that is unlikely to cause human or animal disease. A material containing only such microorganisms is not subject to the requirements of this subchapter.


	None or very low
	None or very low


•
Root Crops - plants whose edible parts are grown below the surface of the soil (40 CFR 257.3-5(c)) [Added April 2004].

•
Rubbish - A general term for solid waste, excluding food wastes and ashes, taken from residences, commercial establishments, and institutions (40 CFR 243.101) [Added March 2000].

•
Runoff - in relation to MSWLF, any rainwater, leachate, or other liquid that drains over land from any part of a facility (40 CFR 258.2) [Reviewed March 2000].

•
Runon - any rainwater, leachate, or other liquid that drains over land onto any part of a facility (40 CFR 258.2).

•
Sanitary Landfill - a land disposal site employing an engineered method of disposing of solid wastes on land in a manner that minimizes environmental hazards by spreading the solid wastes in thin layers, compacting the solid wastes to the smallest practical volume, and applying and compacting cover material at the end of each operating day (40 CFR 240.101) [Reviewed March 2000].

•
Sanitary Landfill - a facility for the disposal of solid waste which complies with 40 CFR 257 (40 CFR 257.2) [Added April 2004].

•
Satellite Vehicle- a small collection vehicle that transfers its load into a larger vehicle operating in conjunction with it (40 CFR 243.101) [Added March 2000].

•
Saturated Zone - that part of the earth's crust in which all voids are filled with water (40 CFR 258.2) [Added March 2000].

•
Scavenging - the uncontrolled and unauthorized removal of materials at any point in the solid waste management system (40 CFR 243.101) [Added March 2000].

•
Separate Collection - collection of recyclable materials which have been separated at the point of generation and keeping those materials separated from other collected solid waste in separate compartments of a single collection vehicle or through the use of separate collection vehicles (40 CFR 246.101) [Reviewed March 2000].

•
Sewage Sludge - solid, semi-solid, or liquid residue generated during the treatment of domestic sewage in a treatment works. Sewage sludge includes, but is not limited to, domestic septage; scum or solids removed in primary, secondary, or advanced wastewater treatment processes; and a material derived from sewage sludge. Sewage sludge does not include ash generated during the firing of sewage sludge in a sewage sludge incinerator or grit and screenings generated during preliminary treatment of domestic sewage in a treatment works (40 CFR 257.2) [Added April 2004].

•
Sharps - any object contaminated with a pathogen or that may become contaminated with a pathogen through handling or during transportation and also capable of cutting or penetrating skin or a packaging material. Sharps includes needless, syringes, scalpels, broken glass, culture slides, culture dishes, broken capillary tubes, broken rigid plastic, and exposed ends of dental wires (49 CFR 171.8 and 173.134(a)(7)) [Added January 2003].
•
Ship - a vessel of any type whatsoever, operating in the marine environment (33 CFR 151.05). 

•
Sludge - the accumulated semi liquid suspension of settled solids deposited from wastewaters or other fluids in tanks or basins (40 CFR 240.101) [Reviewed March 2000].

•
Sludge - in relation to MSWLF, any solid, semi-solid, or liquid waste generated from a municipal, commercial, or industrial wastewater treatment plant, water supply treatment plant, or air pollution control facility exclusive of the treated effluent from a wastewater treatment plant (40 CFR 258.2) [Reviewed March 2000].

•
Sludge - any solid, semisolid, or liquid waste generated from a municipal, commercial, or industrial wastewater treatment plant, water supply treatment plant, or air pollution control facility or any other such waste having similar characteristics and effect (40 CFR 257.2) [Added April 2004].

•
Soil pH - the value obtained by sampling the soil to the depth of cultivation or solid waste placement, whichever is greater, and analyzing by the electrometric method. (“Methods of Soil Analysis, Agronomy Monograph No. 9,” C.A. Black, ed., American Society of Agronomy, Madison, Wisconsin, pp. 914-926, 1965 (40 CFR 257.3-5(c)) [Added April 2004].

•
Solid Waste - any garbage, refuse, sludge from a waste treatment plant, water supply treatment plant, or air pollution control facility and other discarded material, including solid, liquid, semisolid, or contained gaseous material resulting from industrial, commercial, mining, and agricultural operations, and from community activities, but does not include solid or dissolved materials in domestic sewage, or solid or dissolved material in irrigation return flows or industrial discharges which are point sources subject to permits under section 402 of the Federal Water Pollution Control Act, as amended (86 Stat. 880), or source, special nuclear, or byproduct material as defined by the Atomic Energy Act of 1954, as amended (68 Stat. 923) (40 CFR 257.2) [Added April 2004].

•
Solid Waste - in relation to MSWLF, any garbage or refuse, sludge from a wastewater treatment plant, water supply treatment plant, or air pollution control facility and other discarded materials, including solid, liquid, semi-solid, or contained gaseous material resulting from industrial, commercial mining and agricultural operations, and from community activities, but does not include solid or dissolved materials in domestic sewage, or solid or dissolved materials in irrigation return flows or industrial discharges that are point sources subject to permit under 33 USC 1342, or source, special nuclear, or byproduct material as defined by the Atomic Energy Act of 1954, as amended (68 Statute 932) (40 CFR 258.2) [Reviewed March 2000].

•
Solid Waste - garbage, refuse, sludge, and other discarded solid materials resulting from industrial and commercial operations and from community activities. It does not include solids or dissolved materials in domestic sewage or other significant pollutants in water resources (40 CFR 240.101) [Reviewed March 2000].

•
Solid Waste - any garbage, sludge from a wastewater treatment plant, water supply treatment plant, or air pollution control facility and other discarded material, including solid, liquid, semisolid, or contained gaseous material resulting from industrial, commercial, mining, and agricultural operations, and from community activities, but does not include solid or dissolved material in domestic sewage, or solid or dissolved materials in irrigation return flows or industrial discharges that are point sources subject to permits under 33 U.S.C. 1342, or source, special nuclear, or by-product material as defined by the Atomic Energy Act of 1954, as amended (42 U.S.C 2011 et seq.) (40 CFR 60.751) [Added March 2000].

•
Solid Waste Boundary - the outermost perimeter of the solid waste (projected in the horizontal plane) as it would exist at completion of the disposal activity (40 CFR 257.3-4(c)) [Added April 2004].

•
Solid Waste Diversion - non-hazardous solid waste diverted from entering a disposal facility. Waste prevention, reuse, composting, mulching, recycling, and donation are generally accepted waste diversion methods (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Solid Waste Storage Container - a receptacle used for the temporary storage of solid waste while awaiting collection (40 CFR 243.101) [Added March 2000].

•
Source Separation - the setting aside of recyclable materials at their point of generation by the generator (40 CFR 246.101) [Reviewed March 2000].

•
Special Wastes - nonhazardous solid wastes requiring handling other than that normally used for municipal solid wastes (40 CFR 240.101) [Reviewed March 2000].

•
Specific Activity of a Radionuclide - the activity of the radionuclide per unit mass of that nuclide. The specific activity of a material in which the radionuclide is essentially uniformly distributed is the activity per unit mass of the material (49 CFR 173.403) [Added January 2003].
•
State – any of the several States of the United States, the Commonwealth of the Northern Mariana Islands, the Commonwealth of Puerto Rico, the District of Columbia, Guam, the Virgin Islands of the United States, or any other territory or possession of the United States (7 CFR 330.100) [Added July 2006].

•
State - any of the several states, the District of Columbia, the Commonwealth of Puerto Rico, the Virgin Islands, Guam, American Samoa, and the Commonwealth of the Northern Mariana Islands (40 CFR 257.5(b) and 258.2) [Added March 2000; Revised April 2004].

•
State Director - the chief administrative officer of the lead state agency responsible for implementing the state permit program for 40 CFR 257, subpart B and 40 CFR 258 regulated facilities (40 CFR 257.5(b) and 258.2) [Added March 2000; Revised April 2004].

•
Stationary Compactor - a powered machine which is designed to compact solid waste or recyclable materials, and which remains stationary when in operation. (40 CFR 243.101) [Added March 2000].

•
Sterilization - cooking garbage at an internal temperature of 212 °F for 30 min (330.400(b)) [Added July 2006].
•
Storage - the interim containment of solid waste after generation and prior to collection for ultimate recovery or disposal (40 CFR 243.101) [Added March 2000].

•
Stores - the food, supplies, and other provisions carried for the day-to-day operation of a conveyance and the care and feeding of its operators (330.400(b)) [Added July 2006].
•
Street Wastes - materials picked up by manual or mechanical sweepings of alleys, streets, and sidewalks; wastes from public waste receptacles; and material removed from catch basins (40 CFR 243.101) [Added March 2000].

•
Sufficient Density - any number, spacing, and combination of collection system components, including vertical wells, horizontal collectors, and surface collectors, necessary to maintain emission and migration control as determined by measures of performance (40 CFR 60.751) [Reviewed March 2000].

•
Sufficient Extraction Rate - a rate sufficient to maintain a negative pressure at all wellheads in the collection system without causing air infiltration, including any wellheads connected to the system as a result of expansion or excess surface emissions, for the life of the blower (40 CFR 60.751) [Reviewed March 2000].

•
Surface Impoundment or Impoundment - a facility or part of a facility that is a natural topographic depression, human-made excavation, or diked area formed primarily of earthen materials (although it may be lined with human-made materials), that is designed to hold an accumulation of liquid wastes or wastes containing free liquids and that is not an injection well. Examples of surface impoundments are holding storage, settling, and aeration pits, ponds, and lagoons (40 CFR 257.2) [Added April 2004].

•
Sustainable - to create and maintain conditions, under which humans and nature can exist in productive harmony, that permit fulfilling the social, economic, and other requirements of present and future generations of Americans (EO 13423, Section 9, paragraph k).
•
Taking - harassing, harming, pursuing, hunting, wounding, killing, trapping, capturing, or collecting or attempting to engage in such conduct (40 CFR 257.3-2(c)) [Added April 2004].

•
Thermal Processing - processing of waste material by means of heat (40 CFR 240.101) [Reviewed March 2000].

•
Toxin - a Division 6.1 material from a plant, animal, or bacterial source. A toxin containing an infectious substance or a toxin contained in an infectious substance must be classed as Division 6.2, described as an infectious substance, and assigned to UN 2814 or UN 2900, as appropriate (49 CFR 171.8 and 173.134(a)(8)) [Added January 2003].

•
Transfer Station - a station at which solid wastes are concentrated for transport to a processing facility or land disposal site.  A transfer station may be fixed or mobile (40 CFR 243.101) [Reviewed March 2000].

•
Trenching or Burial Operation - the placement of sewage sludge or septic tank pumpings in a trench or other natural or man-made depression and the covering with soil or other suitable material at the end of each operating day such that the wastes do not migrate to the surface (40 CFR 257.3-6(c)) [Added April 2004].

•
Tribal Plan - a plan submitted by a tribal authority pursuant to 40 CFR 9, 35, 49, 50, and 81 to implement and enforce 40 CFR 60, subpart Cc, 40 CFR 63.1990) [Added April 2003].

•
Universal Precautions - an approach to infection control. According to the concept of Universal Precautions, all human blood and certain human body fluids are treated as if known to be infectious for HIV, HBV, and other bloodborne pathogens (29 CFR 1910.1030(a)).

•
Uppermost Aquifer - the geologic formation nearest the natural ground surface that is an aquifer, as well as, lower aquifers that are hydraulically interconnected with this aquifer within the facility’s property boundary (40 CFR 257.5(b) and 258.2) [Reviewed March 2000; Revised April 2004].

•
Used Health Care Product - a medical, diagnostic, or research device or piece of equipment, or a personal care product used by consumers, medical professionals, or pharmaceutical providers that does not meet the definition of a diagnostic specimen, biological product, or regulated medical waste, is contaminated with potentially infectious body fluids or materials, and is not decontaminated or disinfected to remove or mitigate the infectious hazard prior to transportation (49 CFR 173.134(a)(8)) [Added January 2003].

•
Vector - a carrier, usually an arthropod, that is capable of transmitting a pathogen from one organism to another (40 CFR 240.202) [Reviewed March 2000].

•
Washout - the carrying away of solid waste by waters of the base flood (40 CFR 257.3-1(b) and 257.8(b)) [Added April 2004].

•
Waste Management Unit Boundary - a vertical surface located at the hydraulically downgradient limit of the unit.  This vertical surface extends down into the uppermost aquifer (40 CFR 257.5(b) and 258.2) [Reviewed March 2000; Revised April 2004].

•
Waste Pile or Pile - any noncontainerized accumulation of solid, nonflowing waste that is used for treatment or storage (40 CFR 257.2) [Added April 2004].

•
Waste Prevention - any change in the design, manufacturing, purchase, or use of materials or products, including packaging, to reduce their amount or toxicity before they are discarded. Waste prevention also refers to the reuse of products or materials (Instructions for Implementing EO 13423, Section XIII, Definitions) [Added July 2007].

•
Work Practice Standard - any design, equipment, work practice, or operational standard, or combination thereof, that is promulgated pursuant to section 112(h) of the Clean Air Act 40 CFR 63.1990) [Added April 2003].

•
Yard Waste - solid waste composed predominantly of grass clippings, leaves, twigs, branches, and other garden refuse (330.400(b)) [Added July 2006].
F.  Records To Review

•
Record of current nonhazardous solid waste management practices 

•
Estimated generation rates

•
Documentation of locations (map) and descriptions of all nonhazardous waste storage, and disposal sites 

•
Records of operational history of all active and inactive disposal sites 

•
State and Federal inspection reports 

•
Environmental monitoring procedures or plans 

•
Records of resource recovery practices, including the sale of materials for the purpose of recycling 

•
Solid waste removal contracts and inspection records 

•
Operating record for onsite MSWLFs 

•
Groundwater monitoring well data

•
Regional solid waste management plan

•
Pollution prevention management plan

G.  Physical Features To Inspect

•
Resource recovery facilities 

•
Incineration and land disposal sites (active and inactive) 

•
Areas where nonhazardous waste is disposed 

•
Construction debris areas 

•
Waste receptacles 

•
Solid waste vehicle storage and washing areas 

•
Compost facilities 

•
Transfer stations 

•
Recycling centers 

H.  Guidance for Solid Waste Management Checklist Users

	
	REFER TO 

CHECKLIST 

ITEMS:

	All Federal Facilities
	SO.1.1.US.



	Missing, Risk Management, and Positive Checklist Items


	SO.2.1.US. through SO.2.3.US



	Storage/Collection of Solid Waste
	SO.10.1.US. through SO.10.6.US.



	Recycling
	SO.25.1.US. through SO.25.8.US.



	Non-MSWLF Sites and Facilities

(NOTE:  The checklist items previously found in SO.35 and SO.40 were deleted when 40 CFR 241 was deleted by the USEPA as published in the April 26, 1996 Federal Register.)


	SO.30.1.US. through SO.30.22.US.



	Site Criteria For New Landfills Other Than an MSWLFs

(NOTE:  The checklist items previously found in SO.45 were deleted when 40 CFR 241 was deleted by the USEPA as published in the April 26, 1996 Federal Register.)


	SO.45.1.US. through SO.45.3.US.



	MSWLFs

Location Restrictions
Design Criteria
Operating Criteria
Emissions
Groundwater Monitoring Criteria
Closure Criteria
Postclosure Care Requirements

Documentation
	SO.55.1.US.through SO.55.6.US.

SO.60.1.US. through SO.60.4.US.

SO.65.1.US. through SO.65.11.US.

SO.67.1.US. through SO.67.12.US.

SO.70.1.US. through SO.70.12.US.

SO.75.1.US. through SO.75.5.US.

SO.80.1.US. and SO.80.3.US.

SO.85.1.US through SO.85.8.US



	Thermal Processing Facilities
	SO.90.1.US. through SO.90.16.US.



	Resource Recovery Facilities (NOTE:  These checklist items have been removed due to the deletion of 40 CFR 245 by the USEPA as published in the 31 December 1996 Federal Register.)


	SO.95.1.US. and SO.95.2.US.



	Disposal of Refuse From Outside the United States
	SO.100.1.US.



	Medical Waste 

Containers/Labeling/Storage Areas

Transportation
	SO.110.1.US. through SO.110.6.US.

SO.115.1.US through SO.115.4.US



	Solid Waste From Ships

	SO.130.1.US.

	Land Application of Solid Waste
	SO.200.1.US

	Appendix 9-1, Compliance Dates for MSWLFs and 40 CFR 258



	Appendix 9-1a, Open Dumping



	Appendix 9-2, MSWLF Units Exempt from Compliance With 40 CFR 258



	Appendix 9-2a, MSW Landfill Compliance Dates



	Appendix 9-3, Design Criteria Concentration Values



	Appendix 9-4, Constituents for Detection Monitoring



	Appendix 9-5, List of Hazardous Inorganic and Organic Constituents


Select portions of this section (i.e., Review of Federal Legislation, State and Local Regulations, Key Compliance Requirements, Key Terms and Definitions, Typical Records to Review, Typical Physical Features to Inspect, and the Checklist) have been reviewed by USEPA personnel from the Office of Enforcement and Compliance Assurance (OECA) and USEPA's Office of General Counsel.  USEPA's comments and suggestions for changes have been incorporated in this version of the TEAM Guide.  USEPA did not review all portions of this section.  USEPA also did not review and comment on items pertaining to federal Executive Orders, DOT regulations, OSHA regulations or any other area outside of Title 40 of the Code of Federal Regulations.  Portions that have been added or revised as a result of this review are identified as being reviewed, revised, or added in March 2000, for example [Added March 2000].

	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.1. 

ALL FEDERAL FACILITIES


	

	SO.1.1.US. The current status of any ongoing or unresolved consent orders, compliance agreements, notice of violations (NOVs), inter- agency agreements, or equivalent state enforcement actions is required to be examined (a finding under this checklist item will have the enforcement action/identifying information as the citation).


	Determine if noncompliance issues have been resolved by reviewing a copy of the previous report, consent orders, compliance agreements, NOVs, interagency agreements, or equivalent state enforcement actions.

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.2. 

MISSING, RISK MANAGEMENT AND POSITIVE CHECKLIST ITEMS


	

	SO.2.1.US. Facilities are required to comply with all applicable Federal regulatory requirements not contained in this checklist (a finding under this checklist item will have the citation of the applied regulation as a basis of finding).
	Determine if any new regulations have been issued since the finalization of TEAM.

Determine if the facility has activities or facilities that are regulated, but not addressed in this checklist.

Verify that the facility is in compliance with all applicable and newly issued regulations.

	SO.2.2.US.  Risk management techniques should be promoted in environmental efforts (MP) [Added April 2002].
	Determine if risk management techniques are promoted in environmental efforts.



	SO.2.3.US. Facilities should go above and beyond statutory and regulatory compliance (MP) [Added April 2002].
	Determine if the facility has gone above and beyond simply complying with environmental requirements.



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.10. 

STORAGE/ COLLECTION OF SOLID WASTE


	

	SO.10.1.US. All solid wastes and all materials separated for recycling are required to be stored according to specific guidelines (40 CFR 243.100(b), 243.100(i), and 243.200-1) [Revised January 2000; Reviewed March 2000; Revised January 2004].


	(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

Verify that all solid wastes are stored so as not to cause a fire, health, or safety hazard.

Verify that all solid waste containing food wastes are stored in covered or closed containers that are nonabsorbent, leakproof, durable, easily cleaned, and designed for safe handling.

Verify that solid waste containers are of an adequate size and number to contain all waste generated between collections.

Verify that bulky wastes are stored so as not to create a nuisance and to avoid the accumulation of solid waste and water in and around the bulky items.

Verify that reusable containers are capable of being serviced without the collector coming into contact with the waste. 

Verify that waste containers used for the storage of solid waste (or materials which have been separated for recycling) meet the standards established by ANSI for waste containers as follows: 

· Waste Containers--Safety Requirements, 1994, American National Standards Institute, ANSI Z245.30-1994

· Waste Containers--Compatibility Dimensions, 1996, American National Standards Institute, ANSI Z245.60-1996.

(NOTE:  Copies may be obtained from American National Standards Institute, 11 W. 42nd Street, New York, NY 10036.)

(NOTE:  By calling 1-800-CLEAN-UP you can identify where to take paper, metal cans, glass bottles, tires, and other materials to be recycled for any town or city in the United States.)

(NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)

(NOTE:  The following guidelines (NOT requirements) are suggested for container design in 40 CFR 243.200-2:

· reusable waste containers: 

· should be constructed of corrosion resistant metal or other material which will not absorb water, grease, or oil 

· should be leakproof, including sides, seams, and bottoms, and be durable enough to withstand anticipated usage without rusting, cracking, or deforming in a manner that would impair serviceability

· should have interiors that are smooth without interior projections or rough seams that would make it difficult to clean or interfere with emptying it

· should have exteriors that are safe for handling with no cracks, holes, or jagged edges

· store containers on a firm, level, well-drained surface that is large enough to accommodate all of the containers and is maintained in a clean, spillage-free condition

· reusable waste containers that are emptied manually have a capacity of no more than 35 gal in volume, unless they are mounted on casters and can be serviced by being rolled to the collection vehicle and tilted for emptying

· containers are constructed with rounded edges and tapered sides with the larger diameter at the top of the container to facilitate discharge of the solid waste by gravity

· containers have two handles or bails located directly opposite one another on the sides of the container

· containers have covers that are tight-fitting to resist the intrusion of water and vectors, and should be equipped with a suitable handle

· containers are designed so that they cannot be tipped over easily

· reusable waste containers that are emptied mechanically are designed or equipped to prevent spillage or leakage during onsite storage, collection, or transport 

· container are easily cleanable and designed to allow easy access for depositing the waste and removing it by gravity or by mechanical means

· containers are easily accessible to the collection vehicle in an area which can safely accommodate the dimensions and weight of the vehicle

· single-use plastic and paper bags meet National Sanitation Foundation Standard No. 31 for polyethylene refuse bags and Standard No. 32 for paper refuse bags, respectively (NOTE:  bags do not need to have been certified by the National Sanitation Foundation)

· single-use bags containing food wastes are stored within the confines of a building or container between collection periods.)



	SO.10.2.US. All facilities are required to operate their collection systems in a manner to protect the health and safety of personnel associated with the operation (40 CFR 243.100(b), 243.100(i), and 243.201-1) [Revised January 2000; Reviewed March 2000; Revised January 2004].


	Verify that the collection system is operated safely.

(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

 (NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)

(NOTE:  The following guidelines (NOT requirements) are suggested for operations in 40 CFR 243.201-2:

· all solid waste collection personnel receive instructions and training in safe container and waste handling techniques, and in the proper operation of collection equipment, such as those presented in Operation Responsible: Safe Refuse Collection

· PPE such as gloves, safety glasses, respirators, and footwear is used by collection employees, as appropriate, and PPE meets the applicable provisions of the OSHA Standards for Subpart I--Personal Protective Equipment (29 CFR 1910.132 through 1910.137)

· scavenging is prohibited at all times to avoid injury and to prevent interference with collection operations

· when conducting carryout collection, a leakproof and puncture-proof carrying container is used to minimize the potential for physical contact between the collector and the solid waste or the liquids which may derive from it.)



	SO.10.3.US. Collection equipment must be maintained according to certain standards if such equipment is considered to be operating in interstate or foreign commerce (40 CFR 243.100(b), 243.100(i), and 243.202-1(a)) [Revised January 2000; Reviewed March 2000].


	(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

Verify that all vehicles used for the collection and transportation of solid waste meet all applicable standards established by the Federal Government including:

· Motor Carrier Safety Standards (49 CFR 390 through 396) 

· Noise Emission Standards for Motor Carriers Engaged in Interstate Commerce (40 CFR 202) 

· Federal Motor Vehicle Safety Standards (49 CFR 500 through 580) (Federally owned collection equipment only). 

(NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)



	SO.10.4.US. All collection equipment is required to meet specific criteria (40 CFR 243.100(b), 243.100(i), 243.202-1(b), and 243.202-1(d)) [Revised January 2000; Reviewed March 2000; Revised January 2004].
	(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

Verify that all vehicles used for the collection and transportation of solid wastes or materials separated for recycling are enclosed or have suitable cover to prevent spillage.

Verify that collection equipment used for the collection, storage, and transportation of solid waste (or materials separated for recycling) meet the following ANSI standards:

· Mobile Refuse Collection and Compaction Equipment--Safety Requirements, 1992, American National Standards Institute, ANSI Z245.1-1992

· Stationary Compactors--Safety Requirements, 1997, American National Standards Institute, ANSI Z245.2-1997.

(NOTE:  A copy may be obtained from American National Standards Institute, 11 W. 42nd Street, New York, NY 10036.)

(NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)

(NOTE:  The following guidelines (NOT requirements) are suggested for collection equipment design in 40 CFR 243.202-2:

· whenever possible, enclosed, metal, leak-resistant compactor vehicles are used for the collection of solid wastes

· safety devices, including, but not limited to, the following are provided on all collection vehicles:

· exterior rear-view mirrors

· back-up lights

· four-way emergency flashers

· easily accessible first aid equipment

· easily accessible fire extinguisher

· audible reverse warning device

· if crew members ride outside the cab of the collection vehicle for short trips the vehicle is equipped with handholds and platforms big enough to safeguard against slipping

· vehicle size takes into consideration: Local weight and height limits for all roads over which the vehicle will travel; turning radius; and loading height in the unloading position to insure overhead clearance in transfer stations, service buildings, incinerators, or other facilities

· engines which conserve fuel and minimize pollution are used in collection vehicles to reduce fuel consumption and air pollution.)

(NOTE:  40 CFR 243.202-3(a) suggests (NOT requires) that collection vehicles be maintained and serviced according to manufacturers' recommendations, and receive periodic vehicle safety checks, including, but not limited to, inspection of brakes, windshield wipers, taillights, backup lights, audible reverse warning devices, tires, and hydraulic systems. Any irregularities should be repaired before the vehicle is used and vehicles should be cleaned thoroughly at least once a week.)



	SO.10.5.US. Solid wastes or materials separated for recycling are required to be collected according to a certain schedule (40 CFR 243.100(b), 243.100(i),  and 243.203-1) [Revised January 2000; Reviewed March 2000; Revised January 2004].
	(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

Verify that solid wastes that contain food wastes are collected at a minimum of once during each week.

Verify that bulky wastes are collected a minimum of once every 3 mo.

Verify that all wastes are collected with sufficient frequency to inhibit the propagation or attraction of vectors and the creation of nuisances.

(NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)

(NOTE:  The following guidelines (NOT requirements) are suggested for collection equipment design in 40 CFR 243.203-2:

· a minimum collection frequency consistent with public health and safety is adopted to minimize collection costs and fuel consumption

· in establishing collection frequencies, generation rates, waste composition, and storage capacity will be taken into consideration

· when solid wastes are separated at the point of storage into various categories for the purpose of resource recovery, a collection frequency is designated for each waste category.)



	SO.10.6.US. Solid waste is required to be collected in a safe, efficient manner (40 CFR 243.100(b), 243.100(i), and 243.204-1) [Revised January 2000; Reviewed March 2000; Revised January 2004].
	(NOTE:  These requirements apply to the collection of residential, commercial, and institutional solid wastes and street wastes.  Excluded from these requirements are mining, agricultural, and industrial solid wastes; hazardous wastes; sludges; construction and demolition wastes; and infectious wastes.)

Verify that solid wastes or materials separated for recycling are collected in a safe, efficient manner.

Verify that the collection vehicle operator immediately cleans up any spillage caused by his operations.

(NOTE:  Federal agencies that have decided not to adopt the requirements contained in 40 CFR 243 are required to provide a report of the analysis and rationale used.  See 40 CFR 243.100(i) for details on the content of this report.)

(NOTE:  40 CFR 243.202-3(b) suggests (NOT requires) that solid waste not be allowed to remain in collection vehicles over 24 h and is only left in a vehicle overnight when this practice does not constitute a fire, health, or safety hazard.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.25 

RECYCLING


	

	SO.25.1.US. Federal facilities should participate in any state or local recycling programs and reduce the volume of solid waste materials at the source whenever practical (MP). 
	Verify that a solid waste reduction program exists.

Verify that recycling programs are in compliance with applicable state or local requirements.

Verify that reusable or marketable materials are collected at regular intervals.

	SO.25.2.US. Office facilities of over 100 office workers are required to recover high- grade paper (40 CFR 246.200-1) [Reviewed March 2000].
	Determine if there are over 100 office workers.

Verify that high-grade paper is separated at the source of generation.

Verify that high-grade paper is separately collected.

Verify that high-grade paper is sold for recycling.

	SO.25.3.US. Facilities at which more than 500 families reside are required to recycle newspapers (40 CFR 246.201-1) [Reviewed March 2000].
	Determine if there are more than 500 families residing onsite.

Verify that used newspapers are separated at the source of generation.

Verify that used newspapers are separately collected.

Verify that used newspapers are sold for recycling.

	SO.25.4.US. Facilities generating 10 tons or more of waste corrugated containers per month are required to segregate/separately collect for recycling or alternative energy use (40 CFR 246.202-1) [Reviewed March 2000].
	Determine if the facility generates 10 tons or more of waste corrugated containers per month.

Verify that waste corrugated containers are collected separately.

Verify that waste corrugated containers are recycled or used as an alternative energy resource.

	SO.25.5.US. Checklist item moved [Added April 2003; Moved January 2004].
	This checklist item about recyclable materials used in a manner constituting disposal was moved to HW.10.6.US.
    

	SO.25.6.US. Checklist item moved [Added April 2003; Moved January 2004].
	This checklist item about recyclable materials reclaimed to recover economically significant amounts of gold, silver, platinum, palladium, iridium, osmium, rhodium, ruthenium, or any combination of these has been moved to HW.10.7.US.



	SO.25.7.US. Federal agencies which decide to not source separate must make available to the EPA the analysis and rationale used in making the determination (40 CFR 246.100(f)) [Added July 2006].
	Verify that federal agencies that make the determination not to source separate as described in 40 CFR 246.200-1, 246.201-1, and 246.202-1 (see checklist items SO.25.1.US through SO.25.4.US), for whatever reason, makes available to the EPA the analysis and rationale used in making that determination. 

(NOTE:  The EPA Administrator shall publish notice of the availability of this report to the general public in the Federal Register. The following are considered 

to be valid reasons for not source separating under individual facts and circumstances: inability to sell the recovered materials due to lack of market, and costs so unreasonably high as to render source separation for materials recovery economically impracticable.)

Verify that the required report includes:

· a description of alternative actions considered with emphasis on those alternatives which involve source separation for materials recovery

· a description of ongoing actions which will be continued and new actions taken or proposed

· identification of all agency facilities which will be affected by these actions including a brief description of how such facilities will be affected

· an analysis in support of the action chosen by the agency including technical data, market studies, and policy considerations used in arriving at such a determination.

Verify that agencies make every effort to present information succinctly in a form easily understood, but in sufficient detail so that the factors influencing the decision not to source separate for materials recovery are clear.

Verify that the report is submitted to the EPA Administrator as soon as possible after a final agency determination has been made not to adopt the requirements of these guidelines, but in no case later than sixty days after such final determination. 

(NOTE:  The Administrator will indicate to the agency his concurrence/nonconcurrence with the agency's decision, including his reason therefore.  Implementation of actions that would preclude source separation for materials recovery shall be deferred, for sixty days where feasible, in order to give the Administrator an opportunity to receive, analyze and seek clarification of the required report.)

(NOTE:  It is recommended that where the required report required concerns an action for which an Environmental Impact Statement (EIS) is required by the NEPA, that the report be circulated together with the EIS.)



	SO.25.8.US. Each facility or installation that has a recycling program must have a designated recycling coordinator (EO 13423, Section IX, para B4 [Added July 2007].
	Verify that each facility or installation that has a recycling program has a designated recycling coordinator.

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.30 

NON-MSWLF SITES AND FACILITIES


	

	SO.30.1.US. Checklist item deleted. [Deleted May 1996].

	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.30.2.US. Checklist item deleted. [Deleted May 1996].

	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.30.3.US. Checklist item deleted. [Deleted May 1996].

	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.30.4.US. Checklist item deleted. [Deleted May 1996].

	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.30.5.US. Open dumping is prohibited (40 CFR 257.1(a)(2)) [Moved April 1999; Reviewed March 2000; Revised April 2004].
	 NOTE:  This was previously SO.35.20.)

Verify that open dumping is not practiced.

(NOTE:  See checklist items SO.30.7.US through SO.30.14.US for descriptions of what constitutes open dumping.) 



	SO.30.6.US. Federal facilities should survey for and be aware of old disposal sites at the Federal facility (MP) [Moved April 1999]. 
	(NOTE:  This was previously SO.40.2.)

Determine if any old disposal sites exist by interviewing personnel.

Determine whether a records review has been done to identify former disposal sites.

	SO.30.7.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment in a floodplain (40 CFR 257.1, 257.3, and 257.3-1(a)) [Added April 2004]. 
	Verify that facilities or practices in floodplains do not restrict the flow of the base flood, reduce the temporary water storage capacity of the floodplain, or result in washout of solid waste, so as to pose a hazard to human life, wildlife, or land or water resources.

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the Clean Water Act, as amended

· the criteria do not apply to source, special nuclear or byproduct material as defined by the Atomic Energy Act, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the Safe Drinking Water Act, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.8.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment to threatened or endangered species (40 CFR 257.1, 257.3, 257.3-2(a), and 257.3-2(b)) [Added April 2004]. 
	Verify that facilities or practices do not cause or contribute to the taking of any endangered or threatened species of plants, fish, or wildlife.

Verify that the facility or practice does not result in the destruction or adverse modification of the critical habitat of endangered or threatened species as identified in 50 CFR 17.

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the Clean Water Act, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the Atomic Energy Act, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities which are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the Safe Drinking Water Act, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.9.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment through wastewater discharges (40 CFR 257.1, 257.3, and 257.3-3) [Added April 2004]. 


	Verify that, a facility does not cause a discharge of pollutants into waters of the United States that is in violation of the requirements of NPDES.

Verify that a facility does not cause a discharge of dredged material or fill material to waters of the United States that is in violation of the requirements under section 404 of the Clean Water Act.

Verify that a facility or practice does not cause non-point source pollution of waters of the United States that violates applicable legal requirements implementing an area-wide or Statewide water quality management plan that has been approved by the Administrator.

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the Clean Water Act, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the Atomic Energy Act, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities which are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the Safe Drinking Water Act, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.10.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment through groundwater contamination (40 CFR 257.1, 257.3, 257.3-4(a), and 257.3-4(b)) [Added April 2004]. 


	Verify that a facility or practice does not contaminate an underground drinking water source beyond the solid waste boundary or beyond a specified alternative boundary.

(NOTE:  For purposes of section 1008(a)(3) of the Act or section 405(d) of the CWA, a party charged with open dumping or a violation of section 405(e) with respect to sewage sludge that is not used or disposed through a practice regulated in 40 CFR 503 may demonstrate that compliance should be determined at an alternative boundary in lieu of the solid waste boundary. The court shall establish an alternative boundary only if it finds that such a change would not result in contamination of ground water which may be needed or used for human consumption. For purposes of sections 4004(a) and 1008(a)(3), the State may establish an alternative boundary for a facility to be used in lieu of the solid waste boundary only if it finds that such a change would not result in the contamination of ground water that may be needed or used for human consumption.)

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities which are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.11.US. Checklist item moved to SO.200.1.US [Added April 2004; Moved July 2008].
	Checklist item moved to SO.200.1.US

	SO.30.12.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment through disease vectors (40 CFR 257.1, 257.3, and 257.3-6(a) through 257.3-6(b)) [Added April 2004].
	Verify that the facility or practice does not exist or occur unless the onsite population of disease vectors is minimized through the periodic application of cover material or other techniques as appropriate so as to protect public health.

Verify that a facility or practice involving disposal of sewage sludge or septic tank pumpings does not exist or occur unless in compliance with one of the following:

· sewage sludge that is applied to the land surface or is incorporated into the soil is treated by a Process to Significantly Reduce Pathogens prior to application or incorporation, and:

· public access to the facility is controlled for at least 12 m 

· grazing by animals whose products are consumed by humans is prevented for at least 1 mo

· septic tank pumpings that are applied to the land surface or incorporated into the soil are treated by a Process to Significantly Reduce Pathogens prior to application or incorporation, unless public access to the facility is controlled for at least 12 mo and unless grazing by animals whose products are consumed by humans is prevented for at least 1 mo

· sewage sludge or septic tank pumpings that are applied to the land surface or are incorporated into the soil are treated by a Process to Further Reduce Pathogens, prior to application or incorporation, if crops for direct human consumption are grown within 18 mo subsequent to application or incorporation. 

(NOTE:  The provisions for sewage sludge that is applied to the land surface or is incorporated into the soil do not apply to sewage sludge disposed of by a trenching or burial operation.)

(NOTE:  The provisions for septic tank pumpings that are applied to the land surface or incorporated into the soil do not apply to septic tank pumpings disposed of by a trenching or burial operation.)

(NOTE:  The provisions for treating sewage sludge or septic tank pumpings that are applied to the land surface or are incorporated into the soil are not required if there is no contact between the solid waste and the edible portion of the crop; however, in this case the solid waste is treated by a Process to Significantly Reduce Pathogens, prior to application; public access to the facility is controlled for at least 12 mo; and grazing by animals whose products are consumed by humans is prevented for at least 1 mo.)

(NOTE:  If crops for direct human consumption are not grown within 18 mo of application or incorporation, the requirements for treatment by a Process to Significantly Reduce Pathogens and restrict access apply.)

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.13.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment through air emissions (40 CFR 257.1, 257.3, 257.3-7(a), and 257.3-7(b)) [Added April 2004].
	Verify that the facility or practice does not engage in open burning of residential, commercial, institutional, or industrial solid waste. 

(NOTE:  This requirement does not apply to infrequent burning of agricultural wastes in the field, silvicultural wastes for forest management purposes, land-clearing debris, diseased trees, debris from emergency clean-up operations, and ordnance.)

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.14.US. Solid waste disposal facilities or practices must not pose a reasonable probability of adverse effects on health or the environment through unsafe practices (40 CFR 257.1, 257.3, and 257.3-8(a) through 257.3-8(d)) [Added April 2004].
	Verify that the concentration of explosive gases generated by the facility or practice do not exceed:

· 25 percent of the lower explosive limit (LEL) for the gases in facility structures (excluding gas control or recovery system components)

· the LEL for the gases at the property boundary.

Verify that a facility or practice does not pose a hazard to the safety of persons or property from fires. 

(NOTE:  The hazard avoidance for fires may be accomplished through compliance with 40 CFR 257.3-7 [See checklist item SO.30.13.US] and through the periodic application of cover material or other techniques as appropriate.)

Verify that a facility or practice disposing of putrescible wastes that may attract birds and which occurs within 10,000 ft (3,048 m) of any airport runway used by turbojet aircraft or within 5,000 ft (1,524 m) of any airport runway used by only piston-type aircraft do not pose a bird hazard to aircraft.

Verify that a facility or practice does not allow uncontrolled public access so as to expose the public to potential health and safety hazards at the disposal site.

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.15.US. Nonmunicipal nonhazardous waste disposal units that receive CESQG hazardous waste must meet certain location restrictions (40 CFR 257.1, 257.5(a), 257.8, and 257.9)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that any nonmunicipal nonhazardous waste disposal unit that is receiving CESQG hazardous waste is in compliance with the requirements in 40 CFR 257.7 through 257.30.

Verify that any nonmunicipal nonhazardous waste disposal unit that does not meet the requirements in this checklist item does not receive CESQG wastes.

(NOTE:  Any nonmunicipal nonhazardous waste disposal unit that is not receiving CESQG Hazardous waste as of 1 January 1998, continues to be subject to the requirements in 40 CFR 257.1 through 257.4. [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that owners or operators of new units, existing units, and lateral expansions located in 100-yr floodplains demonstrate that the unit will not restrict the flow of the 100-yr flood, reduce the temporary water storage capacity of the floodplain, or result in washout of solid waste so as to pose a hazard to human health and the environment. 

Verify that the owner or operator places the floodplain demonstration in the operating record and notifies the State Director that it has been placed in the operating record.

Verify that owners or operators of new units and lateral expansions do not locate such units in wetlands, unless the owner or operator makes the following demonstrations to the Director of an approved State:

· where applicable under section 404 of the CWA or applicable State wetlands laws, the presumption that a practicable alternative to the proposed landfill is available which does not involved wetlands is clearly rebutted

· the construction and operation of the unit will not:

· cause or contribute to violations of any applicable State water quality standard

· violate any applicable toxic effluent standard or prohibition under section 307 of the CWA

· jeopardize the continued existence of endangered or threatened species or result in the destruction or adverse modification of a critical habitat, protected under the Endangered Species Act of 1973

· violate any requirement under the Marine Protection, Research, and Sanctuaries Act of 1972 for the protection of a marine sanctuary

· the unit will not cause or contribute to significant degradation of wetlands. 

Verify that the owner/operator demonstrates the integrity of the unit and its ability to protect ecological resources by addressing the following factors:

· erosion, stability, and migration potential of native wetland soils, muds, and deposits used to support the unit

· erosion, stability, and migration potential of dredged and fill materials used to support the unit

· the volume and chemical nature of the waste managed in the unit

· impacts on fish, wildlife, and other aquatic resources and their habitat from release of the waste

· the potential effects of catastrophic release of waste to the wetland and the resulting impacts on the environment

· any additional factors, as necessary, to demonstrate that ecological resources in the wetland are sufficiently protected.

Verify that, to the extent required under section 404 of the Clean Water Act or applicable State wetlands laws, steps have been taken to attempt to achieve no net loss of wetlands (as defined by acreage and function) by first avoiding impacts to wetlands to the maximum extent practicable, then minimizing unavoidable impacts to the maximum extent practicable, and finally offsetting remaining unavoidable wetland impacts through all appropriate and practicable compensatory mitigation actions (e.g., restoration of existing degraded wetlands or creation of man-made wetlands).

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that nonmunicipal nonhazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.16.US. Nonmunicipal nonhazardous waste disposal units that receive CESQG hazardous waste must meet certain groundwater monitoring requirements (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.22)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

(NOTE:  Groundwater monitoring requirements may be suspended by the Director of an approved State for a unit if the owner or operator can demonstrate that there is no potential for migration of hazardous constituents from that unit to the uppermost aquifer during the active life of the unit plus 30 yr. This demonstration must be certified by a qualified groundwater scientist and approved by the Director of an approved State.)

Verify that groundwater monitoring is conducted throughout the active life of the unit plus 30 years. 

(NOTE:  The Director of an approved State may decrease the 30-yr period if the owner/operator demonstrates that a shorter period of time is adequate to protect human health and the environment and the Director approves the demonstration.)

Verify that a groundwater monitoring system is installed that consists of a sufficient number of wells, installed at appropriate locations and depths, to yield ground-water samples from the uppermost aquifer that:

· represent the quality of background ground water that has not been affected by leakage from a unit 

· represent the quality of ground water passing the relevant point of compliance specified by the Director of an approved State or at the waste management unit boundary in an unapproved State. 

(NOTE:  A determination of background quality may include sampling of wells that are not hydraulically upgradient of the waste management area where one of the following are true:

· hydrogeologic conditions do not allow the owner or operator to determine what wells are hydraulically upgradient

· sampling at other wells will provide an indication of background ground-water quality that is as representative, or more representative, than that provided by the upgradient wells.)

Verify that the downgradient monitoring system is installed at the relevant point of compliance specified by the Director of an approved State or at the waste management unit boundary in an unapproved State that ensures detection of ground-water contamination in the uppermost aquifer. 

Verify that, when physical obstacles preclude installation of ground-water monitoring wells at the relevant point of compliance at existing units, the downgradient monitoring system is installed at the closest practicable distance hydraulically downgradient from the relevant point of compliance specified by the Director of an approved State that ensures detection of groundwater contamination in the uppermost aquifer.

Verify that monitoring wells are cased in a manner that maintains the integrity of the monitoring well bore hole. 

Verify that the casing is screened or perforated and packed with gravel or sand, where necessary, to enable collection of ground-water samples. 

Verify that the annular space (i.e., the space between the bore hole and well casing) above the sampling depth is sealed to prevent contamination of samples and the ground water.

Verify that the owner or operator notifies the State Director that the design, installation, development, and decommission of any monitoring wells, piezometers and other measurement, sampling, and analytical devices documentation has been placed in the operating record.

Verify that the monitoring wells, piezometers, and other measurement, sampling, and analytical devices are operated and maintained so that they perform to design specifications throughout the life of the monitoring program.

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that non-municipal non-hazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

· the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.17.US. Nonmunicipal nonhazardous waste disposal units that receive CESQG hazardous waste must meet certain groundwater sampling and analysis requirements (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.23)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that the groundwater monitoring program includes consistent sampling and analysis procedures that are designed to ensure monitoring results that provide an accurate representation of groundwater quality at the background and downgradient wells. 

Verify that the owner or operator notifies the State Director that the sampling and analysis program documentation has been placed in the operating record and the program includes procedures and techniques for:

· sample collection

· sample preservation and shipment

· analytical procedures

· chain of custody control

· quality assurance and quality control.

Verify that the groundwater monitoring program includes sampling and analytical methods that are appropriate for ground-water sampling and that accurately measure hazardous constituents and other monitoring parameters in ground-water samples. 

Verify that groundwater samples are not field-filtered prior to laboratory analysis.

Verify that the sampling procedures and frequency is protective of human health and the environment.

Verify that groundwater elevations are measured in each well immediately prior to purging, each time ground water is sampled. 

Verify that the owner or operator determines the rate and direction of groundwater flow each time groundwater is sampled. 

Verify that groundwater elevations in wells that monitor the same waste management area are measured within a period of time short enough to avoid temporal variations in groundwater flow that could preclude accurate determination of groundwater flow rate and direction.

Verify that the owner or operator establishes background groundwater quality in a hydraulically upgradient or background well(s) for each of the monitoring parameters or constituents required in the particular groundwater monitoring program.

Verify that the owner or operator specifies in the operating record one of the following statistical methods to be used in evaluating groundwater monitoring data for each hazardous constituent:

· a parametric analysis of variance (ANOVA) followed by multiple comparisons procedures to identify statistically significant evidence of contamination. The method must include estimation and testing of the contrasts between each compliance well's mean and the background mean levels for each constituent

· ANOVA based on ranks followed by multiple comparisons procedures to identify statistically significant evidence of contamination. The method must include estimation and testing of the contrasts between each compliance well's median and the background median levels for each constituent

· a tolerance or prediction interval procedure in which an interval for each constituent is established from the distribution of the background data, and the level of each constituent in each compliance well is compared to the upper tolerance or prediction limit

· a control chart approach that gives control limits for each constituent

· another statistical test method that meets the performance standards. 

Verify that the owner or operator places a justification for an alternative statistical test method in the operating record and notifies the State Director of the use of this alternative test. 

Verify that any alternative statistical method complies with the performance standards outlined in the text of the regulation.

Verify that the owner or operator determines whether or not there is a statistically significant increase over background values for each parameter or constituent required in the particular groundwater monitoring program that applies to the unit.

Verify that, in determining whether a statistically significant increase has occurred, the owner or operator compares the groundwater quality of each parameter or constituent at each designated monitoring well to the background value of that constituent.

Verify that, within a reasonable period of time after completing sampling and analysis, the owner or operator determines whether there has been a statistically significant increase over background at each monitoring well.

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that nonmunicipal nonhazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining  operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.18.US. Nonmunicipal nonhazardous waste disposal units that receives CESQG hazardous waste must have a detection monitoring program (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.24)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that the facility has a detection monitoring program at all ground-water monitoring wells defined under 40 CFR 257.22(a)(1) and 257.22(a)(2) (see checklist item SO.30.16.US) and at a minimum the program includes the monitoring for the constituents listed in appendix I of 40 CFR 258 (see Appendix 9-4).

(NOTE:  The Director of an approved State may delete any of the Appendix 9-4 monitoring parameters for a unit if it can be shown that the removed constituents are not reasonably expected to be contained in or derived from the waste contained in the unit. The Director of an approved State may establish an alternative list of indicator parameters for a unit if the alternative parameters provide a reliable indication of releases from the unit to the ground water.)

Verify that the monitoring frequency for all constituents listed in Appendix 9-4, or in the Director-approved alternative list is at least semiannual during the active life of the unit plus 30 yr. 

Verify that a minimum of four independent samples from each well (background and downgradient) are collected and analyzed for the Appendix 9-4 constituents or the Director-approved alternative list during the first semiannual sampling event. 

Verify that at least one sample from each well (background and downgradient) is collected and analyzed during subsequent semiannual sampling events. 

(NOTE:  The Director of an approved State may specify an appropriate alternative frequency for repeated sampling and analysis.) 

Verify that, if the owner or operator determines that there is a statistically significant increase over background for one or more of the constituents listed in Appendix 9-4 or in the Director-approved alternative list at any monitoring well at the boundary, the owner or operator:

· places a notice, within 14 days of this finding, in the operating record indicating which constituents have shown statistically significant changes from background levels and notifies the State Director that this notice was placed in the operating record

· establishes an assessment monitoring program meeting the requirements of 40 CFR 257.25 (see checklist item SO.30.19.US) within 90 days.

(NOTE:  The owner/operator may demonstrate that a source other than the unit caused the contamination or that the statistically significant increase resulted from error in sampling, analysis, statistical evaluation, or natural variation in ground-water quality. A report documenting this demonstration must be certified by a qualified groundwater scientist or approved by the Director of an approved State and be placed in the operating record. If a successful demonstration is made and documented, the owner or operator may continue detection monitoring as specified in this checklist item. If, after 90 days, a successful demonstration is not made, the owner or operator must initiate an assessment monitoring program as required in 40 CFR 257.25 [see checklist item SO.30.19.US].).

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that nonmunicipal nonhazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.19.US. Nonmunicipal nonhazardous waste disposal units that receives CESQG hazardous waste must have an assessment monitoring program (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.25)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that assessment monitoring is done whenever a statistically significant increase over background has been detected for one or more of the constituents listed in Appendix 9-4 or in the Director-approved alternative list.

Verify that, within 90 days of triggering an assessment monitoring program, and annually thereafter, the owner or operator samples and analyzes the groundwater for all constituents identified in Appendix 9-5.

Verify that a minimum of one sample from each downgradient well is collected and analyzed during each sampling event. 

Verify that, for any constituent detected in the downgradient wells as the result of the complete Appendix 9-5 analysis, a minimum of four independent samples from each well (background and downgradient) is collected and analyzed to establish background for the new constituents. 

(NOTE:  The Director of an approved State may specify an appropriate subset of wells to be sampled and analyzed.  The Director of an approved State may delete any of the Appendix 9-5 monitoring parameters for a unit if it can be shown that the removed constituents are not reasonably expected to be in or derived from the waste contained in the unit.  The Director of an approved State may specify an appropriate alternate frequency for repeated sampling and analysis.)

Verify that, after obtaining the results from the required initial or subsequent sampling events, the owner or operator:

· places a notice in the operating record that identifies the Appendix 9-5 constituents that have been detected and notifies the State Director that this notice has been placed in the operating record within 14 days

· resamples all designated wells and conduct analyses for all constituents in Appendix 9-4 or in the Director-approved alternative list, and for those constituents in Appendix 9-5 that are detected and record their concentrations in the facility operating record within 90 days and on at least a semiannual basis thereafter.

Verify that at least one sample from each well (background and downgradient) is collected and analyzed during these sampling events. 

(NOTE:  The Director of an approved State may:

· specify an alternative monitoring frequency during sampling

· establish background concentrations for any constituents detected    

· establish ground-water protection standards for all constituents detected.)

Verify that, if the concentrations of all Appendix 9-5 constituents are shown to be at or below background values for two consecutive sampling events, the owner or operator notifies the State Director of this finding and may return to detection monitoring.

Verify that, if the concentrations of any Appendix 9-5 constituents are above background values, but all concentrations are below the established groundwater protection standard, the owner or operator continues assessment monitoring.

Verify that, if one or more Appendix 9-5 constituents are detected at statistically significant levels above the established groundwater protection standard, the owner or operator, within 14 days of this finding, places a notice in the operating record identifying the Appendix 9-5 constituents that have exceeded the ground-water protection standard and notifies the State Director and all appropriate local government officials that the notice has been placed in the operating record. 

Verify that the owner or operator also:

· characterizes the nature and extent of the release by installing additional monitoring wells as necessary

· installs at least one additional monitoring well at the facility boundary in the direction of contaminant migration and samples this well    

· notifies all persons who own land or reside on land that directly overlies any part of the plume of contamination, if contaminants have migrated offsite as indicated by sampling of wells 

· initiates an assessment of corrective measures within 90 days or demonstrates that a source other than the nonmunicipal nonhazardous waste disposal unit caused the contamination, or that the statistically significant increase resulted from error in sampling, analysis, statistical evaluation, or natural variation in groundwater quality. 

Verify that a report documenting the demonstration that a source other than the nonmunicipal nonhazardous waste disposal unit caused the contamination, or that the statistically significant increase resulted from error in sampling, analysis, statistical evaluation, or natural variation in groundwater quality is certified by a qualified groundwater scientist or approved by the Director of an approved State and placed in the operating record. 

(NOTE:  If a successful demonstration is made, the owner or operator must continue monitoring in accordance with the assessment monitoring program and may return to detection monitoring if the Appendix 9-5 constituents are at or below background.)

Verify that the owner or operator establishes a groundwater protection standard for each Appendix 9-5 constituent detected in the groundwater. 

Verify that the ground-water protection standard is:

· for constituents for which a maximum contaminant level (MCL) has been promulgated under section 1412 of the SDWA (codified) under 40 CFR 141, the MCL for that constituent

· for constituents for which MCLs have not been promulgated, the background concentration for the constituent established from wells 

· for constituents for which the background level is higher than the MCL or health based levels, the background concentration.

(NOTE:  The Director of an approved State may establish an alternative groundwater protection standard for constituents for which MCLs have not been established. These ground-water protection standards shall be appropriate health based levels.)

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that nonmunicipal nonhazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

· the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.20.US. Nonmunicipal nonhazardous waste disposal units that receives CESQG hazardous waste must have an assessment of corrective measures and select a remedy if constituents have been detected at inappropriate levels (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), 257.26, and 257.27)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that, within 90 days of finding that any of the constituents listed in Appendix 9-5 have been detected at a statistically significant level exceeding the groundwater protection standards, the owner or operator initiates an assessment of corrective measures. 

Verify that the assessment is completed within a reasonable period of time.

Verify that the owner or operator continues to monitor in accordance with the assessment monitoring program as specified in 40 CFR 257.25 (see checklist item SO.30.19.US).

Verify that the assessment includes an analysis of the effectiveness of potential corrective measures in meeting all of the requirements and objectives of the remedy, addressing at least the following:

· the performance, reliability, ease of implementation, and potential impacts of appropriate potential remedies, including safety impacts, cross-media impacts, and control of exposure to any residual contamination

· the time required to begin and complete the remedy

· the costs of remedy implementation

· the institutional requirements such as State or local permit requirements or other environmental or public health requirements that may substantially affect implementation of the remedy(s).

Verify that the owner or operator discusses the results of the corrective measures assessment, prior to the selection of remedy, in a public meeting with interested and affected parties.

Verify that the owner or operator selects a remedy which:

· is protective of human health and the environment

· attains the groundwater protection standard     

· controls the source(s) of releases so as to reduce or eliminate, to the maximum extent practicable, further releases of Appendix 9-5 constituents into the environment that may pose a threat to human health or the environment

· complies with standards for management of wastes as specified in 40 CFR 257.28(d) (see checklist item SO.30.21.US).

Verify that the owner or operator notifies the State Director, within 14 days of selecting a remedy, that a report describing the selected remedy has been placed in the operating record and how it meets the standards for selection.

Verify that the owner or operator specifies as part of the selected remedy a schedule(s) for initiating and completing remedial activities. 

Verify that the schedule requires the initiation of remedial activities within a reasonable period of time, taking into consideration the following factors: 

· extent and nature of contamination

· practical capabilities of remedial technologies in achieving compliance with ground-water protection standards and other objectives of the remedy

· availability of treatment or disposal capacity for wastes managed during implementation of the remedy

· desirability of utilizing technologies that are not currently available, but which may offer significant advantages over already available technologies in terms of effectiveness, reliability, safety, or ability to achieve remedial objectives

· potential risks to human health and the environment from exposure to contamination prior to completion of the remedy

· resource value of the aquifer including:

· current and future uses

· proximity and withdrawal rate of users

· ground-water quantity and quality

· the potential damage to wildlife, crops, vegetation, and physical structures caused by exposure to waste constituent

· the hydrogeologic characteristic of the unit and surrounding land

· ground-water removal and treatment costs

· the cost and availability of alternative water supplies

· practicable capability of the owner or operator

· other relevant factors.

(NOTE:  The Director of an approved State may determine that remediation of a release of an Appendix 9-5 constituent from the unit is not necessary if the owner or operator demonstrates to the Director of the approved state that one of the following is true:

· the groundwater is additionally contaminated by substances that have originated from a source other than the unit and those substances are present in concentrations such that cleanup of the release from the unit would provide no significant reduction in risk to actual or potential receptors

· the constituent(s) is present in ground water that:

· is not currently or reasonably expected to be a source of drinking water

· is not hydraulically connected with waters to which the hazardous constituents are migrating or are likely to migrate in a concentration(s) that would exceed the ground-water protection standards 

· remediation of the release(s) is technically impracticable

· remediation results in unacceptable cross-media impacts.)

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that nonmunicipal nonhazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)



	SO.30.21.US. Nonmunicipal nonhazardous waste disposal units that receive CESQG hazardous waste must implement the corrective action program (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.28)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that, based on the previously established schedule for initiation and completion of remedial activities, the owner/operator:

· establishes and implements a corrective action ground-water monitoring program that:

· at a minimum, meets the requirements of an assessment monitoring program    

· indicates the effectiveness of the corrective action remedy    

· demonstrates compliance with ground-water protection standard 

· implements the selected corrective action remedy 

· takes any interim measures necessary to ensure the protection of human health and the environment. 

Verify that the following factors are considered by an owner or operator in determining whether interim measures are necessary:

· time required to develop and implement a final remedy

· actual or potential exposure of nearby populations or environmental receptors to hazardous constituents

· actual or potential contamination of drinking water supplies or sensitive ecosystems

· further degradation of the groundwater that may occur if remedial action is not initiated expeditiously

· weather conditions that may cause hazardous constituents to migrate or be released

· risks of fire or explosion, or potential for exposure to hazardous constituents as a result of an accident or failure of a container or handling system

· other situations that may pose threats to human health and the environment.

(NOTE:  An owner or operator may determine, based on information developed after implementation of the remedy has begun or other information, that compliance with requirements are not being achieved through the remedy selected. In such cases, the owner or operator must implement other methods or techniques that could practicably achieve compliance with the requirements, unless the owner or operator:

· obtains certification of a qualified ground-water scientist or approval by the Director of an approved State that compliance with requirements cannot be practically achieved with any currently available methods

· implements alternate measures to control exposure of humans or the environment to residual contamination, as necessary to protect human health and the environment

· implements alternate measures for control of the sources of contamination, or for removal or decontamination of equipment, units, devices, or structures that are:

· technically practicable

· consistent with the overall objective of the remedy

· notifies the State Director within 14 days that a report justifying the alternative measures prior to implementing the alternative measures has been placed in the operating record.)

Verify that all solid wastes that are managed pursuant to a remedy or an interim measure shall be managed in a manner:

· that is protective of human health and the environment

· that complies with applicable RCRA requirements.

(NOTE:  Remedies are considered complete when:

· the owner or operator complies with the ground-water protection standards at all points within the plume of contamination that lie beyond the ground-water monitoring well system    

· compliance with the ground-water protection standards has been achieved by demonstrating that concentrations of Appendix 9-5 constituents have not exceeded the groundwater protection standard(s) for a period of 3 consecutive years using the statistical procedures and performance standards in 40 CFR 257.23(g) and 257.23(h)

· all actions required to complete the remedy have been satisfied.

Verify that, upon completion of the remedy, the owner or operator notifies the State Director within 14 days that a certification that the remedy has been completed in compliance with the requirements of 40 CFR 257.28(e) has been placed in the operating record. 

Verify that the certification is signed by the owner or operator and by a qualified groundwater scientist or approved by the Director of an approved State.

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that non-municipal non-hazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining  operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	SO.30.22.US. Nonmunicipal nonhazardous waste disposal units that receive CESQG hazardous waste must meet certain recordkeeping requirements (40 CFR 257.1, 257.5(a), 257.21(a) through 257.21(e), and 257.30)) [Added April 2004].
	(NOTE:  These requirements in this section apply to owners/operators of any nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste. Nonmunicipal nonhazardous waste disposal units that meet the requirements of this checklist may receive CESQG wastes. Any owner/operator of a nonmunicipal nonhazardous waste disposal unit that receives CESQG hazardous waste continues to be subject to the requirements in 40 CFR 257.3-2, 257.3-3, 257.3-5, 257.3-6, 257.3-7, 257.3-8(a), and 257.3-8(b), and 257.3-8 (d) [See checklist items SO.30.7.US through SO.30.14.US].)

Verify that the owner/operator of a nonmunicipal nonhazardous waste disposal unit records and retains, near the facility in an operating record or in an alternative location approved by the Director of an approved State, the following information as it becomes available:

· any location restriction demonstration required under 40 CFR 257.7 through 257.12 (see checklist item SO.30.15.US)

· any demonstration, certification, finding, monitoring, testing, or analytical data required in 40 CFR 257.21 through 257.28 (see checklist items SO.30.16.US through SO.30.22.US).

Verify that the owner/operator notifies the State Director when the records listed above have been placed or added to the operating record, and all information contained in the operating record is furnished upon request to the State Director or be made available at all reasonable times for inspection by the State Director.

(NOTE:  The criteria in 40 CFR 257.5 through 257.30 are adopted to ensure that non-municipal non-hazardous waste disposal units that receive CESQG waste do not present risks to human health and the environment taking into account the practicable capability of such units in accordance with section 4010(c) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.5 through 257.30 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining  operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities that are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.45 

SITE CRITERIA FOR NEW LANDFILLS OTHER THAN MSWLFs 


	

	SO.45.1.US. Checklist item deleted. [Deleted May 1996].
	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.45.2.US. Checklist item deleted. [Deleted May 1996].
	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	SO.45.3.US. Checklist item deleted. [Deleted May 1996].

	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 241 by the USEPA as published in the April 26, 1996 Federal Register.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLFs 

SO.55 

Location Restrictions


	

	SO.55.1.US. Specific limitations must be met regarding the location of new, existing, or lateral expansions of MSWLFs in relation to airports (40 CFR 258.10 and 258.16) [Revised March 2000; Revised July 2002; Revised January 2003; Revised January 2004].
	(NOTE:  This checklist item applies to the location of new, existing, or lateral expansions of MSWLFs within 10,000 ft [3,048 m] of any airport runway end used by turbojet aircraft or within 5,000 ft [1,524 m] of any airport runway end used by only piston-type aircraft)

(NOTE:  In the 8 October 2002 Federal Register, page 62647, the USEPA withdrew the direct final rule for Municipal Solid Waste Landfill Location Restrictions for Airport Safety. They were published 11 July 2002 [67 FR 45915].  The changes were removed from this checklist item January 2003.)

Verify that it has been demonstrated that the MSWLF is designed and operated so as to not pose a bird hazard to aircraft.

Verify that the FAA and the affected airport have been notified as to the presence of a new MSWLF or a lateral expansion within a 5-mi radius of any airport runway.

(NOTE:  A prohibition on locating a new MSWLF near certain airports was enacted in section 503 of the Wendell H. Ford Aviation Investment and Reform Act for the 21st Century (Ford Act), Pub. L. 106-181 [49 U.S.C. 44718 note]. Section 503 prohibits the “construction or establishment” of new MSWLFs after 5 April 2000 within 6 mi of certain smaller public airports. The FAA administers the Ford Act and has issued guidance in FAA Advisory Circular 150/5200-34, dated 26 August 2000. For further information, please contact the FAA.)

Verify that the demonstration has been placed in the operating record and the State Director has been notified that it has been placed in the operating record.

Verify that existing MSWLF units that cannot make this demonstration are closed by 9 October 1996, unless a maximum 2-yr delay is approved by the State Director.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.55.2.US. Specific limitations must be met regarding the location of new, existing, and lateral expansions of MSWLFs in 100 yr floodplains (40 CFR 258.11(a) and 258.16) [Revised March 2000]. 

	Verify that it has been demonstrated that the MSWLF will not restrict the flow of the 100-yr flood, reduce the temporary water storage capacity of the floodplain, or result in a washout of solid waste so as to pose a hazard to human health and the environment.

Verify that existing MSWLF units that cannot make this demonstration are closed by 9 October 1996, unless the State Director approves a delay.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.55.3.US. Limitations regarding the location of new MSWLFs and lateral expansions in wetland are required to be met (40 CFR 258.12(a)(1) through 258.12(a)(3) and 258.16) [Revised March 2000].
	Verify that if there are plans to place a MSWLF or a lateral expansion in a wetlands, it has been demonstrated to the State Director that the construction of the MSWLF will not:

· cause or contribute to violations of any applicable state water quality standard 

· violate any applicable toxic effluent standard or prohibition 

· jeopardize the continued existence of endangered or threatened species or result in the destruction or adverse modification of a critical habitat protected under the Endangered Species Act 

· violate any requirement under the Marine Protection, Research, and Sanctuaries Act of 1973. 

Verify that it has been demonstrated that the integrity of the MSWLF will not cause or contribute to significant degradation of wetlands.

Verify that the MSWLF has the ability to protect ecological resources by addressing the following factors:

· erosion, stability, and migration potential of native wetland soils, muds and deposits used to support the MSWLF unit 

· erosion, stability, and migration potential of dredged and fill materials used to support the MSWLF unit 

· the volume and chemical nature of the wastes managed in the MSWLF 

· impacts on fish, wildlife, and other aquatic resources and their habitat from release of the solid waste 

· the potential effects of catastrophic release of waste to the wetland and the resulting impacts on the environment 

· any additional factors, as necessary, to demonstrate that ecological resources in the wetland are sufficiently protected. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.55.4.US. Specific limitations must be met regarding the location of new MSWLFs and lateral expansions in fault areas that have had displacement in Holocene time (40 CFR 258.13(a) and 258.16) [Reviewed March 2000].


	Verify that if there are plans to construct a MSWLF or lateral expansions within 200 ft (60 m) of a fault, it has demonstrated to the State Director that an alternative setback distance of less than 200 ft (60 m) will prevent damage to the structural integrity of the MSWLF unit and will be protective of human health and the environment.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.55.5.US. Specific limitations must be met regarding the placement of new MSWLFs and lateral expansions in seismic impact zones (40 CFR 258.14(a) and 258.16) [Revised March 2000].
	Verify that if there are plans to construct a MSWLF or lateral expansion in a seismic impact zone, it has demonstrated to the State Director that all containment structures, including liners, leachate collection systems, and surface water control systems, are designed to resist the maximum horizontal acceleration in lithified earth material for the site.

Verify that the demonstration has been placed in the operating record and the State Director has been notified that it has been placed in the operating record. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.55.6.US. Specific limitations must be met regarding the location of new, existing, or lateral expansion of MSWLFs in unstable areas (40 CFR 258.15(a) and 258.16) [Revised March 2000].
	Verify that if there are plans to construct a MSWLF or lateral expansion in an unstable area, it has been demonstrated to the State Director that engineering measures have been incorporated into the MSWLF unit’s design to ensure that the integrity of the structural components will not be disrupted.

Verify that the following criteria, at a minimum, are considered in judging whether or not an area is unstable:

· onsite or local soil conditions that may result in significant differential settling 

· onsite or local geologic or geomorphic features 

· onsite or local human-made features or event (both surface and subsurface). 

Verify that the demonstration has been placed in the operating record and the State Director has been notified that it has been placed in the operating record.

Verify that existing MSWLF units that cannot make this demonstration are closed by 9 October 1996, unless the State Director approves a delay.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLFs 

SO.60 

Design Criteria


	

	SO.60.1.US. New MSWLFs and lateral expansions are required to meet specific design criteria (40 CFR 258.1(f)(1), 258.1(f)(3), and 258.40(a)) [Revised October 1996; Reviewed March 2000].
	Verify that the MSWLF is of an approved design that ensures that the concentration values listed in Appendix 9-3 are not exceeded in the uppermost aquifer at the relevant point of compliance.

Verify that the MSWLF has a composite liner and a leachate collection system that is designed and constructed to maintain less than a 30 cm depth of leachate over the liner.

(NOTE:  The design must be approved by the implementing authority (state or USEPA).)

(NOTE:  Owners or operators of new MSWLF units, existing MSWLF units, and lateral expansions that dispose of less than 20 tons of municipal solid waste daily, based on an annual average, are exempt from these requirements as long as there is not groundwater contamination and the unit serves one of the following:

· a community that experiences an annual interruption of at least 3 consecutive months of surface transportation that prevents access to a regional waste management facility 

· a community that has no practicable waste management alternative and the landfill unit is located in an area that annually receives less than or equal to 25 in. of precipitation.)

(NOTE:  See checklist items SO.60.3.US. and SO.60.4.US. for requirements pertaining to exempted MSWLFs.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.60.2.US. Run-on/runoff control systems at MSWLFs are required to meet specific design requirements (40 CFR 258.26) [Reviewed March 2000].

	Verify that the run-on control system is designed and maintained to prevent flow onto the active portion of the landfill during the peak discharge from a 25-yr storm.

Verify that the runoff control system from the active portion of the landfill is designed and maintained to collect and control at least the water volume resulting from a 24-h, 25-yr storm. 

Verify the runoff does not cause a discharge of pollutants into waters of the United States, including wetlands, that causes noncompliance with the CWA or NPDES requirements. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.60.3.US. MSWLFs that are otherwise exempted from design requirements must comply with design requirements when groundwater contamination is present (40 CFR 258.1(f)(3)) [Added October 1996; Reviewed March 2000].


	Determine if groundwater contamination is present at the exempted facility.

Verify that, if contamination is present, the design requirements in 40 CFR 258.40 (see checklist item SO.60.1.US.) are met.

(NOTE:  New MSWLF units, existing MSWLF units, and lateral expansions that dispose of less than 20 tons of municipal solid waste daily, based on an annual aver age, are exempt from these requirements as long as there is not groundwater contamination and the unit serves one of the following:

· a community that experiences an annual interruption of at least 3 consecutive months of surface transportation that prevents access to a regional waste management facility 

· a community that has no practicable waste management alternative and the landfill unit is located in an area that annually receives less than or equal to 25 in. of precipitation.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.60.4.US. Owners/operators of MSWLFs that are exempted from design requirements must place information in the operating record supporting this exemption (40 CFR 258.1(f)(2)) [Added May 1997; Reviewed March 2000].
	Verify that owners/operators of MSWLFs that are exempted from design requirements have placed information in the operating record supporting this exemption.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLFs 

SO.65 

Operating Criteria


	

	SO.65.1.US. MSWLFs are subject to requirements pertaining to procedures for excluding hazardous wastes from the landfills (40 CFR 258.20(a)) [Reviewed March 2000].
	Verify that the MSWLF has a program for detecting and preventing the disposal of regulated hazardous wastes, as defined in 40 CFR 261, and polychlorinated biphenyls PCB) wastes that includes the following:

· random inspections of incoming loads, unless other steps are taken to ensure incoming loads do not contain hazardous wastes or PCBs wastes 

· records of any inspections 

· training of personnel to recognize hazardous wastes and PCB wastes 

· notification of State Director of authorized states or the USEPA regional administrator if a regulated hazardous waste or PCB waste is discovered. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.65.2.US. MSWLFs are subject to requirements pertaining to cover materials (40 CFR 258.21) [Reviewed March 2000].


	Verify that all MSWLF units have solid waste covered with 6 in. of earthen material, or another approved material at an alternative thickness, at the end of each operating day or more frequently, if necessary, in order to control disease vectors, fires, odors, blowing litter, and scavenging.

(NOTE:  The appropriate authority must approve alternative cover material and thickness.  The appropriate authority under particular extreme climatic conditions may grant a temporary waiver.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.3.US. MSWLFs are subject to requirements pertaining to the control of disease vectors (40 CFR 258.22(a)) [Reviewed March 2000].


	Verify that, at the MSWLF, there is prevention or control of onsite populations of disease vectors using techniques appropriate for the protection of human health and the environment.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.4.US. MSWLFs are subject to specific requirements pertaining to the production and monitoring of methane gases (40 CFR 258.23(a), 258.23(b), 258.23(e)) [Revised December 1997; Reviewed March 2000].
	Verify that, at the MSWLF, the concentration of methane gas generated by the MSWLF does not exceed 25 percent of the lower explosive limit for methane in facility structures (excluding gas control or recovery system components).

Verify the concentration of methane gas at the MSWLF property boundary does not exceed the lower explosive limit for methane.

Verify that the MSWLF implements a routine methane monitoring program of a type and frequency that is based on the following factors:

· soil conditions 

· hydrogeological conditions surrounding the MSWLF 

· hydraulic conditions surrounding the MSWLF 

· locations of MSWLF structures and property boundaries. 

Verify that monitoring occurs quarterly at a minimum. 

(NOTE:  The Director of an approved state may establish alternate monitoring frequencies.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.5.US. MSWLFs are subject to notification criteria pertaining to excessive methane gas releases (40 CFR 258.23(c)) [Reviewed March 2000].
	Verify that, if methane gas monitoring detects levels of gas exceeding the allowed limits, the following measures are taken:

· all necessary steps are taken to ensure protection of human health

· the State Director is notified, of the protective measures 

· within 7 days of detection, the level of methane gas detected and the steps taken to protect human health is noted in the operating record 

· within 60 days of detection, a remediation plan for the methane gas release is placed in the operating record and the State Director is notified that the plan has been implemented.

(NOTE:  The Director of an approved state may establish alternative schedules for demonstrating compliance with these requirements.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.65.6.US. MSWLFs are required to control emissions (40 CFR 258.24) [Revised March 2000].


	Verify that there is no open burning of solid waste, except for the infrequent burning of agricultural wastes, silvicultural wastes, landclearing debris, diseased trees, or debris from emergency cleanup.

Verify that none of the MSWLF units violate any applicable requirements developed under a State Implementation Plan (SIP) approved by USEPA under section 110 of the Clean Air Act, as amended.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.7.US. MSWLFs are subject to access limitations (40 CFR 258.25) [Reviewed March 2000].


	Verify that public access to the MSWLF is controlled and unauthorized vehicular traffic and illegal dumping of wastes is prevented through the use of artificial barriers, natural barriers, or both.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.8.US. MSWLFs are subject to surface water control requirements (40 CFR 258.27) [Reviewed March 2000].
	Verify that the MSWLF does not cause a discharge of pollutants into waters of the United States, including wetlands, that causes noncompliance with the CWA or NPDES requirements.

(NOTE:  This includes discharges of a nonpoint source of pollution that violates any approved area-wide or state-wide water quality management plan.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.65.9.US. The disposal of liquids at MSWLFs is restricted (40 CFR 258.28) [Reviewed March 2000; Revised July 2005].

	Verify that bulk or non containerized liquid waste is not placed in MSWLF unless:

· the waste is household waste other than septic waste;

· the waste is leachate or gas condensate derived from the MSWLF unit and the MSWLF unit, whether it is a new or existing MSWLF, or lateral expansion, is designed with a composite liner and leachate collection system as described in 40 CFR 258.40(a)(2) [see checklist item SO.60.1.US] (NOTE:  The demonstration must be placed in the operating record and the State Director notified that it has been placed in the operating record)

· the MSWLF unit is a Project XL MSWLF and meets the applicable requirements of 40 CFR 258.41 (NOTE:  Documentation of the landfill design must be placed in the operating record and the State Director notified that it has been placed in the operating record).

Verify that containers holding liquid waste are not placed in a MSWLF unit unless:

· the container is a small container similar in size to that normally found in household waste

· the container is designed to hold liquids for use other than storage

· the waste is household waste.

 (NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

(NOTE:  For purposes of this checklist item, “Liquid Waste” means any waste material that is determined to contain “free liquids” as defined by Method 9095B [Paint Filter Liquids Test], included in “Test Methods for Evaluating Solid Waste, 

Physical/Chemical Methods” [EPA Publication SW-846] which is incorporated by reference. A suffix of “B” in the method number indicates revision two [the method has been revised twice]. Method 9095B is dated Nov. 2004. This incorporation by reference was approved by the Director of the Federal Register pursuant to 5 U.S.C. 552(a) and 1 CFR 51. This material is incorporated as it exists on the date of approval and a notice of any change in this material will be published in the Federal Register. A copy may be inspected at the Library, U.S. EPA, 1200 Pennsylvania Ave., NW. (3403T), Washington, DC 20460, libraryhq@epa.gov; or at the National Archives and Records Administration [NARA]. For the availability of this material at NARA, call 202 741-6030, or: 

· http://www.archives.gov/federal_register/code_of_federal_regulations/ibr_locations.html

· http://www.archives.gov/federal_register/code_of_federal_regulations/ibr_locations.html.)

(NOTE:  Gas condensate means the liquid generated as a result of gas recovery process(es) at the MSWLF unit.)



	SO.65.10.US. Checklist item moved [Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.1.US to maintain organizational consistency with State manuals.



	SO.65.11.US. Checklist item moved [Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.2.US to maintain organizational consistency with State manuals.



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLF 

SO.67 

Emissions


	

	SO.67.1.US. Checklist item moved [Revised June 1998; Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.3.US to maintain organizational consistency with State manuals.



	SO.67.2.US. MSWLF with a design capacity =/> 2.5 million Mg by mass or 2.5 million m3 by volume are required to calculate NMOC emissions and report them (40 CFR 60.750, 60.752(b)(1) and 60.757(b)) [Revised June 1998; Reviewed March 2000].


	Verify that if the calculated NMOC emission rate is < 50 Mg/yr, an annual report is submitted to the Administrator.

Verify that the annual report contains an annual or 5-yr estimate of the NMOC emission rate and is submitted no later than:

· 10 June 1996 for landfills that commenced construction, modification, or reconstruction on or after 30 May 1991, but before 12 March 1999

· 90 days after the date of commenced construction, modification, or reconstruction for landfills that commenced construction, modification, or reconstruction one or after 12 March 1996.

(NOTE:  The initial report may be submitted with the initial design capacity report.)

Verify that the NMOC emission rate is recalculated annually.

Verify that the rate report includes all the data, calculations, sample reports, and measurements used to estimate the annual or 5-yr emissions.

(NOTE:  MSWLFs are exempt from the requirements of this checklist item after the installation of a collection and control system in compliance with 40 CFR 60.752(b)(2) (see checklist items SO.67.4.US, SO.67.5.US, and SO.85.4.US.) as long as the collection and control system is in operation and in compliance.)

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, and modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.67.3.US. Checklist item moved [Added March 1996; Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.4.US to maintain organizational consistency with State manuals.



	SO.67.4.US. If the NMOC emissions rate is equal to or greater than 50 Mg/yr, a collection and control system must be installed which meets specific parameters (40 CFR 60.750, 60.752(b)(2)(ii), and 60.752(b)(2)(iii)) [Revised June 1998; Reviewed March 2000; Revised July 2000].


	Verify that either a passive or active collection and control system is installed within 30 mo after the first annual report in which the emission rate =/> 50 Mg/yr unless Tier 2 or Tier 3 sampling demonstrated the emission rate is < 50 Mg/yr.

Verify that an active collection system meets the following:

· it is designed to handle the maximum expected gas flow rate from the entire area of the landfill that warrants control over the intended use period of the gas control or treatment system equipment

· it collects gas from each area, cell, or group of cells in the landfill in which the initial solid waste has been placed for a period of:

· 5 yr or more if active

· 2 yr or more if closed or at final grade

· it collects gas at a sufficient extraction rate

· it is designed to minimize offsite migration of subsurface gas.

Verify that a passive collection system:

· is designed to handle the maximum expected gas flow rate from the entire area of the landfill that warrants control over the intended use period of the gas control or treatment system equipment

· collects gas from each area, cell, or group of cells in the landfill in which the initial solid waste has been placed for a period of:

· 5 yr or more if active

· 2 yr or more if closed or at final grade

· is designed to minimize offsite migration of subsurface gas

· is installed with liners on the bottom and all sides in all areas in which gas is to be collected.

Verify that all the collected gas is routed to a control system that:

· is an open flare

· is a control system designed and operated to reduce NMOC by 98 weight percent or when an enclosed combustion device is used, to either reduce NMOC by 98 weight percent or reduce the outlet NMOC concentration to less than 20 ppmv, dry basis as hexane at 3 percent O2, such that:

· if a boiler or process heater is used as the control device, the landfill gas stream is introduced into the flame zone

· the control device is operated within the parameter ranges established during the initial or most recent performance test

· routes the collected gas to a treatment system that processes the collected gas for subsequent sale or use.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, and modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.67.5.US. Under certain conditions the collection and control system may be capped or removed (40 CFR 60.750 and 60.752(b)(2)(iv)) [Added March 1996; Reviewed March 2000].


	Verify that collection and control systems are capped or removed from service only if all of the following are met:

· the landfill will no longer accept solid waste and it is to be permanently closed

· the collection and control system have been in operation a minimum of 15 yr

· the calculated NMOC gas produced by the landfill is less than 50 Mg/yr on three successive test dates that are no less than 90 days apart and no more than 180 days apart. 

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, and modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.67.6.US. Monitoring must be done according to specific parameters (40 CFR 60.750 and 60.756) [Added March 1996; Reviewed March 2000; Revised July 2000].


	Verify that if the facility has an active collection system, there is a sampling port and a thermometer, other temperature measuring device at each wellhead and the following are done on a monthly basis:

· measure the gauge pressure in the gas collection header

· monitor nitrogen or O2 concentration in the landfill gas

· monitor temperature of the landfill gas.

Verify that facilities using an enclosed combustor calibrate, maintain, and operate the following equipment according to the manufacturers’ specifications:

· a temperature monitoring device equipped with a continuous recorder and having an accuracy of +/- 1 percent of the temperature being measured expressed in degrees Celsius or +/- 5 degrees C, whichever is greater (this device is not required for boilers or process heaters with design heat input capacity equal to or greater than 44 MW)

· a gas flow rate measuring device that provides a measurement of gas flow to or   bypass of the control device by either:

· installing, calibrating, and maintaining a gas flow rate measuring device that records the flow to the control device at least every 15 min

· securing the bypass line valve in the closed position with a car seal or a lock and key type configuration.

Verify that, if an open flare is being used, the following equipment is installed, calibrated, and operated according to manufacturer’s specifications:

· a heat sensing device, such as an ultraviolet beam sensor or thermocouple, at the pilot light or the flame itself to indicate the continuous presence of a flame

· a device that records flow to or bypass of the flame by either:

· installing, calibrating, and maintaining a gas flow rate measuring device that records the flow to the control device at least every 15 min

· securing the bypass line valve in the closed position with a car seal or a lock and key type configuration.

Verify that a visual inspection of the car seal or closure mechanism on a bypass line valve is done at least once a month to ensure that the valve is maintained in the closed position and that the gas flow is not diverted through the bypass line.

Verify that if compliance is demonstrated by using a device other than an open flame or enclosed combustor, approval has been received from the Administrator.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.67.7.US. Checklist item moved [Citation Revised June 1998; Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.5.US to maintain organizational consistency with State manuals.



	SO.67.8.US. Checklist item moved [Citation Revised June 1998; Reviewed March 2000; Moved April 2003].
	Checklist item moved to SO.85.6.US to maintain organizational consistency with State manuals.



	SO.67.9.US. Collection and control systems are required to meet operational and control standards (40 CFR 60.750 and 60.753) [Added July 2000].
	Verify that the collection system is operated with negative pressure at each wellhead except under the following conditions:

· a fire or increased well temperature

· use of a geomembrane or synthetic cover

· a decommissioned well.

Verify that instances of positive pressure that occur as efforts to avoid a fire are recorded and the records submitted with the annual report.

Verify that an active collection system:

· is designed to handle the maximum expected gas flow rate from the entire area of the landfill that warrants control over the intended use period of the gas control or treatment system equipment

· collects gas from each area, cell, or group of cells in the landfill in which the initial solid waste has been placed for a period of:

· 5 yr or more if active

· 2 yr or more if closed or at final grade

· collects gas at a sufficient extraction rate

· is designed to minimize offsite migration of subsurface gas.

Verify that a passive collection system:

· is designed to handle the maximum expected gas flow rate from the entire area of the landfill that warrants control over the intended use period of the gas control or treatment system equipment

· collects gas from each area, cell, or group of cells in the landfill in which the initial solid waste has been placed for a period of:

· 5 yr or more if active

· 2 yr or more if closed or at final grade

· is designed to minimized offsite migration of subsurface gas

· is installed with liners on the bottom and all sides in all areas in which gas is to be collected.

Verify that each interior wellhead in the collection system is operated with a landfill gas temperature less than 55 degrees C and with either a nitrogen level less than 20 percent or an O2 level less than 5 percent.

(NOTE:  A higher operating temperature, nitrogen, or O2 value may be established at a particular well if there is supporting data that the elevated parameter does not cause fires or significantly inhibit anaerobic decomposition by killing methanogens.)

Verify that the collection system is operated so that the methane concentration is 500 ppm above background at the surface of the landfill.

(NOTE:  To determine if the methane level is exceeded, surface testing shall be done around the perimeter of the collection area along a pattern that traverses the landfill at 30 m intervals and where visual observation indicates elevated concentrations of landfill gas such as distressed vegetation and cracks or seeps in the cover.)

Verify that all the collected gas is routed to a control system that:

· is an open flare

· is a control system designed and operated to reduce NMOC by 98 weight percent or when an enclosed combustion device is used, to either reduce NMOC by 98 weight percent or reduce the outlet NMOC concentration to less than 20 ppmv, dry basis as hexane at 3 percent O2, such that:

· if a boiler or process heater is used as the control device, the landfill gas stream is introduced into the flame zone

· the control device is operated within the parameter ranges established during the initial or most recent performance test

· routes the collected gas to a treatment system that processes the collected gas for subsequent sale or use.

Verify that, if the collection or control system is inoperable, the gas mover system is shut down and all valves in the collection and control system contributing to venting of the gas to the atmosphere are closed within 1 h.

Verify that the control or treatment system is operating at all times the collected gas is routed to the system.

Verify that, if monitoring demonstrates operational requirements are not met, corrective actions are taken.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.67.10.US. Owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition must meet certain requirements to control air emissions (40 CFR 63.1935, 63.1940, 63.1955(a)) [Added April 2003].
	(NOTE:  This checklist item applies to owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition and meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to or greater than 2.5 million megagrams (Mg) and 2.5 million m3 and has estimated uncontrolled emissions equal to or greater than 50 megagrams per year (Mg/yr) NMOC as calculated according to 40 CFR 60.754(a) [see text], the Federal plan, or an USEPA approved and effective State or tribal plan that applies to the landfill.)

This checklist item also applies to owner or operators of a MSWLF that has accepted waste since 8 November 1987 or has additional capacity for waste deposition, including a bioreactor, and that meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to our greater than 2.5 million Mg and 2.5 million m3 and that is not permanently closed as of 16 January 2003.)

(NOTE:  The affected source includes the entire disposal facility in a contiguous geographic space where household waste is placed in or on land, including any portion of the MSW landfill operated as a bioreactor.  A new affected source is an affected source that commenced construction or reconstruction after 7 November 2000. An affected source is reconstructed if it meets the definition of reconstruction.  An affected source is existing if it is not new.)

(See Appendix 9-2a for compliance dates.)

Verify that the MSW landfill complies with one of the following:

· the requirements of 40 CFR 60, subpart WWW (see checklist item SO.67.1.US through SO.67.9.US and SO.85.1.US through SO.85.6.US)

· the requirements of the Federal plan or USEPA approved and effective State plan or tribal plan that implements 40 CFR 60, subpart Cc (40 CFR 60.30c through 60.36c)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.67.11.US. Owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition which are required to have a collection and control system must meet certain requirements (40 CFR 63.1935, 63.1940, 63.1955(b), and 63.1955(c))  [Added April 2003].
	(NOTE:  This checklist item applies to owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition and meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to or greater than 2.5 million megagrams (Mg) and 2.5 million m3 and has estimated uncontrolled emissions equal to or greater than 50 megagrams per year (Mg/yr) NMOC as calculated according to 40 CFR 60.754(a) [see text], the Federal plan, or an USEPA approved and effective State or tribal plan that applies to the landfill.)

This checklist item also applies to owner or operators of a MSWLF that has accepted waste since 8 November 1987 or has additional capacity for waste deposition, including a bioreactor, and that meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to our greater than 2.5 million Mg and 2.5 million m3 and that is not permanently closed as of 16 January 2003.)

(NOTE:  The affected source includes the entire disposal facility in a contiguous geographic space where household waste is placed in or on land, including any portion of the MSWLF operated as a bioreactor.  A new affected source is an affected source that commenced construction or reconstruction after 7 November 2000. An affected source is reconstructed if it meets the definition of reconstruction.  An affected source is existing if it is not new.)

Verify that, if the owner or operator of the MSWLF is required by 40 CFR 60.752(b)(2) (see checklist items SO.67.4.US, SO.67.5.US, and SO.85.4.US.), the Federal plan, or an USEPA approved and effective State or tribal plan to install a collection and control system, the MSW landfill complies with the requirements in 40 CFR 63.1960 through 63.1985 (see checklist items SO.67.10.US through SO.67.13.US. SO.85.7.US and SO.85.8.US) and with the general provisions specified in Table 1 of 40 CFR 63, Subpart AAAA [see text].

(NOTE: For approval of collection and control systems that include any alternatives to the operational standards, test methods, procedures, compliance measures, monitoring, recordkeeping or reporting provisions, the MSW landfill must follow the procedures in 40 CFR 60.752(b)(2) (see checklist items SO.67.4.US, SO.67.5.US, and SO.85.4.US.). If alternatives have already been approved under 40 CFR 60, subpart WWW or the Federal plan, or USEPA approved and effective State or tribal plan, these alternatives can be used to comply with HAP requirements for MSW landfills, except that:

· all affected sources must comply with the SSM requirements (see checklist item SO.85.7.US) 

· all affected sources must submit compliance reports every 6 mo (see checklist item 60.85.8.US), including information on all deviations that occurred during the 6-mo reporting period.

Verify that deviations for continuous emission monitors or numerical continuous parameter monitors are determined using a 3 h monitoring block average.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.67.12.US. Owners or operators of a bioreactor that is located at a MSW landfill that is not permanently closed and has a design capacity equal to or greater than 2.5 million Mg and 2.5 million m3   

must meet certain requirements (40 CFR 63.1935, 63.1940, and 63.1955(d)) [Added April 2003].
	(NOTE:  This checklist item applies to owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition and meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to or greater than 2.5 million megagrams (Mg) and 2.5 million m3 and has estimated uncontrolled emissions equal to or greater than 50 megagrams per year (Mg/yr) NMOC as calculated according to 40 CFR 60.754(a) (see text), the Federal plan, or an USEPA approved and effective State or tribal plan that applies to the landfill.)

This checklist item also applies to owner or operators of a MSWLF that has accepted waste since 8 November 1987 or has additional capacity for waste deposition, including a bioreactor, and that meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to our greater than 2.5 million Mg and 2.5 million m3 and that is not permanently closed as of 16 January 2003.)

(NOTE:  The affected source includes the entire disposal facility in a contiguous geographic space where household waste is placed in or on land, including any portion of the MSWLF operated as a bioreactor.  A new affected source is an affected source that commenced construction or reconstruction after 7 November 2000. An affected source is reconstructed if it meets the definition of reconstruction.  An affected source is existing if it is not new.)

Verify that, if the facility owns or operates a bioreactor that is located at a MSW 

landfill that is not permanently closed and has a design capacity equal to or greater than 2.5 million Mg and 2.5 million m3 then the facility meets the requirements of 40 CFR 63.1955(a) (see checklist items SO.67.10.US through SO.67.12.US) and:

· comply with the general provisions specified in Table 1 Table 1 of 40 CFR 63, Subpart AAAA [see text] and 40 CFR 63.1960 through 63.1985 (see checklist items SO.85.7.US and SO.86.8.US) starting on the date the facility is required to install the gas collection and control system 

· extend the collection and control system into each new cell or area of the bioreactor prior to initiating liquids addition in that area, instead of the schedule in 40 CFR 60.752(b)(2)(ii)(A)(2) (see checklist item SO.67.4.US)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLF 

SO.70 

Groundwater 

Monitoring Criteria


	

	SO.70.1.US. MSWLFs are required to comply with groundwater monitoring schedules (40 CFR 258.50(c) and 258.50(e)) [Revised October 1996; Reviewed March 2000].
	Verify that groundwater monitoring complies with the following schedule:

· existing MSWLFs and lateral expansions less than 1 mi from a drinking water intake (surface or subsurface) were in compliance with these requirements by 9 October 1994 

· existing MSWLFs and lateral expansions greater than 1 mi but less than 2 mi from a drinking water intake (surface or subsurface) were in compliance with these groundwater monitoring requirements by 9 October 1995 

· existing MSWLFs and lateral expansions greater than 2 mi from a drinking water intake (surface or subsurface) were in compliance with these groundwater monitoring requirements by 9 October 1996 

· new MSWLFs are in compliance with the groundwater monitoring requirements before waste can be place in the unit. 

(NOTE:  The Director of an approved state may approve of alternate schedules.) 

(NOTE:  Owners or operators of new MSWLF units, existing MSWLF units, and lateral expansions that dispose of less than 20 tons of municipal solid waste daily, based on an annual average, are exempt from the requirements for 40 CFR 258.50 through 258.59 as long as there is not groundwater contamination and the unit serves one of the following:

· a community that experiences an annual interruption of at least 3 consecutive months of surface transportation that prevents access to a regional waste management facility 

· a community that has no practicable waste management alternative and the landfill unit is located in an area that annually receives less than or equal to 25 in. of precipitation.)

Verify that MSWLFs that are otherwise exempted but which have evidence of groundwater contamination comply with groundwater monitoring requirements by 9 October 1997.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.2.US. Groundwater monitoring systems at MSWLFs are subject to requirements (40 CFR 258.51(a), 258.51(c), and 258.51(d)(2)) [Revised May 1997; Reviewed March 2000].
	Verify that the groundwater monitoring system complies with the following requirements:

· it consists of a sufficient number of wells, installed at appropriate locations and depths, to yield groundwater samples from the uppermost aquifer 

· it represents the quality of background groundwater that has not been affected by leakage from a MSWLF 

· it represents the quality of groundwater passing the relevant point of compliance specified by the State Director or at the waste management unit boundary 

· monitoring wells are cased in a manner that maintains the integrity of the monitoring well bore hole

· it is certified by a qualified groundwater scientist or approved by the State Director (within 14 days of this certification, the owner or operator has notified the State Director that certification has been placed in the operating record). 

(NOTE:  When physical obstacles preclude installation of groundwater monitoring wells at the relevant point of compliance at existing units, the downgradient monitoring system may be installed at the closest practicable distance hydraulically down gradient from the relevant point of compliance specified by the State Director.) 

Verify that the state has been notified that the design, installation, development, and decommission of any monitoring wells, piezometers and other measurement, sampling, and analytical devices documentation has been placed in the operating record.

Verify that the monitoring wells and measurement, sampling, and analytical devices are operated and maintained so that they perform to design specifications throughout the life of the monitoring program.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.3.US. Groundwater sampling and analysis at MSWLFs is subject to requirements (40 CFR 258.53(a) and 258.53(c) through 258.53(g)) [Reviewed March 2000].
	Verify that groundwater monitoring sampling and analysis procedures are designed to ensure monitoring results provide an accurate representation of groundwater quality at the background and downgradient well.

Verify that the sampling procedures and frequency are protective of human health and the environment.

Verify that groundwater elevations are measured in each well immediately prior to purging, and that it has been determined the rate and direction of groundwater flow each time groundwater is sampled. 

Verify that groundwater elevations in wells that monitor the same waste management area are measured within a period of time short enough to avoid temporal variation in groundwater flow that could preclude accurate determination of groundwater flow rate and direction.

Verify that a background groundwater quality has been established in a hydraulically upgradient or background well for each of the monitoring parameters or constituents required by its monitoring program.

Verify that the number of samples collected to establish groundwater quality data is consistent with the approved statistical procedures.

Verify that the operating plan specifies one of the following statistical methods to be used in evaluating groundwater monitoring data for each hazardous constituent: 

· an analysis of variance

· a tolerance or prediction interval procedure 

· a control chart approach 

· an equivalent statistical test method. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.4.US. Detection monitoring at MSWLFs is subject to specific requirements (40 CFR 258.54(a) and 258.54(b)) [Reviewed March 2000].
	Verify that, at a minimum, a detection monitoring program includes the constituents listed in Appendix 9-4.

Verify that monitoring occurs at least semiannually during the active life of the MSWLF (including closure) and during the postclosure period.

Verify that a minimum of four independent samples from each well (background and downgradient) are collected and analyzed for the constituents listed in Appendix 9-4 during the first semiannual sampling event.

Verify that at least one sample from each well (background and downgradient) is collected and analyzed during subsequent semiannual sampling events.

(NOTE:  The Director of an approved state may delete some constituents and establish an alternate test.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.70.5.US. MSWLFs are subject to requirements pertaining to the detection of groundwater contamination (40 CFR 258.54(c)) [Reviewed March 2000].
	Verify that in the event that there is a statistically significant increase over back ground for one or more of the constituents listed in Appendix 9-4, the following steps are taken:

· within 14 days of the finding, a notice is placed in the operating record indicating which constituents have shown statistically significant changes from background levels 

· the State Director is notified that the finding has been placed in the operating record 

· within 90 days an assessment monitoring program is established. 

(NOTE:  The facility may demonstrate that a source other than the MSWLF caused the contamination or that the statistically significant increase resulted from error in sampling, analysis, statistical evaluation, or natural variation in groundwater quality.  This demonstration report must be certified by a qualified groundwater scientist or approved by the State Director and be placed in the operating record.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.6.US. MSWLFs are subject to requirements pertaining to assessment monitoring programs (40 CFR 258.55(a) through 258.55(c)) [Reviewed March 2000].
	Verify that an assessment monitoring program is established whenever a statistically significant increase over background has been detected for one or more of the constituents listed in Appendix 9-4.

Verify that within 90 days of establishing an assessment monitoring program, and annually thereafter, the groundwater is sampled and analyzed for all constituents identified in Appendix 9-5.

Verify that a minimum of one sample from each downgradient well is collected and analyzed during each sampling event.

Verify that, for any constituent detected in the downgradient wells as a result of the complete Appendix 9-5 analysis, a minimum of four independent samples from each well (background and downgradient) is collected and analyzed to establish background for the constituents.

(NOTE:  The Director of an approved state may specify an appropriate alternate frequency for repeated sampling and analysis for the full set of constituents during the active life (including closure) and post closure care of the unit.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.70.7.US. MSWLFs are subject to notification requirements pertaining to assessment monitoring (40 CFR 258.55(d) and 258.55(e)) [Reviewed March 2000].
	Verify that after obtaining the results from the initial or subsequent sampling events required, the following steps are taken:

· within 14 days a notice is place in the operating record identifying the Appendix 9-5 constituents that have been detected 

· the State Director is notified that the notice has been placed in the record 

· within 90 days, and on at least a semiannual basis thereafter, the background and downgradient monitoring wells are resampled and analyses conducted for all constituents in Appendix 9-4 and for those constituents in Appendix 9-5 that are detected in the assessment monitoring program 

· the results of these analyses are placed in the operating record. 

· at least one sample from each well (background and downgradient) is collected and analyzed during these sampling events. 

(NOTE:  The Director of an approved state may specify an alternate monitoring frequency.)

Verify that if the concentrations of all Appendix 9-5 constituents are shown to be at or below background values, using an approved statistical procedure, for two consecutive sampling events, the State Director is notified of the finding and detection monitoring is reinstituted.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.8.US. MSWLFs are subject to notification requirements pertaining to noncompliance with the groundwater protection standard (40 CFR 258.55(g)) [Reviewed March 2000].
	Verify that if during detection monitoring one or more Appendix 9-5 constituents are detected at statistically significant levels above the groundwater protection standards specified according to the following, the State Director and all appropriate local government officials are notified and a notice is placed in the operating record:

· for constituents that have a maximum contamination level (MCL) listed in the Safe Drinking Water Act (SDWA), use the MCL for that constituent 

· for constituents that are not included in the SDWA, use the background level established for that constituent in the detection monitoring program 

· for constituents for which the background level is higher than the MCL identified in the SDWA, use the background concentration. 

Verify that the following steps are also taken:

· the nature and extent of the release is investigated by the installation of additional monitoring wells 

· at least one additional monitoring well is installed at the MSWLF boundary in the direction of contamination migration 

· notification of all persons who own land or reside on land that directly overlies any part of the plume of contamination that has migrated offsite 

· initiation of an assessment of corrective measures within 90 days.

(NOTE:  The facility may demonstrate that a source other than the MSWLF caused the contamination or that the statistically significant increase resulted from error in sampling, analysis, statistical evaluation, or natural variation in groundwater quality.  This demonstration report must be certified by a qualified groundwater scientist or approved by the State Director and be placed in the operating record.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.9.US. MSWLFs are subject to criteria for assessing potential groundwater remediation actions (40 CFR 258.56) [Reviewed March 2000].
	Verify that within 90 days of finding Appendix 9-5 constituents at significant levels exceeding the groundwater protection standards, an assessment of potential remedial actions is made and includes the following:

· analysis of effectiveness of potential corrective measures in meeting all the requirements and objectives of the remedy, such as: 

· the performance, reliability, ease of implementation, and potential impacts of potential remedies 

· the time required to begin and complete the remedy 

· the cost of the remedy implementation 

· state and local requirements affecting remediation 

· discussion of corrective measures with the public or interested parties. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.10.US. The selection of remedial measures for groundwater contamination is subject to specific criteria (40 CFR 258.57(a) through 258.57(c)) [Revised March 2000].
	Verify that corrective measures are selected according to the following criteria:

· they are protective of human health and the environment

· they attain the groundwater protection standard as specified under 40 CFR 258.55(h) or (i)

· they control the source(s) of releases so as to reduce or eliminate further releases of constituents (see Appendix 9-5) into the environment

· they comply with the standards for management of wastes as specified in 40 CFR 258.58(d)

Verify that the following evaluation factors are considered when selecting a remedy to meet the standards of 40 CFR 258.57(b):

· long and short-term effectiveness and protectiveness of the potential remedy along with the degree of certainty that the remedy will prove successful based on the following:

· magnitude of reduction of existing risks

· magnitude of residual risks in terms of further releases of wastes following remediation

· type and degree of long-term management (including monitoring operation and maintenance)

· short term risks to community, workers, or the environment during implementation

· time period until full protection is achieved

· potential for exposure of humans and environmental receptors to remaining wastes

· long-term reliability of the engineering and institutional controls, and

· potential need for replacement of the remedy

· the effectiveness of the remedy in controlling the source to reduce further releases based on consideration of the following factors:

· the extent to which the containment practices will reduce further releases

· the extent to which treatment technologies may be used

· the ease or difficulty of implementing a potential remedy based on the following factors:

· the degree of difficulty associated with constructing the technology

· the expected operational reliability of the technologies

· the need to coordinate with and obtain necessary approvals and permits

· the availability of necessary equipment and specialists, and

· the available capacity of needed treatment, storage and disposal services

· the practical capability of the owner or operator, including a consideration of technical and economic capability

· the degree to which community concerns are addressed by a potential remedy(s).

Verify that the State Director is notified within 14 days of selecting a remedy, and that the selection and the reason for its selection are noted in the operating record.

Verify that remedial activities take place within a reasonable time period

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.70.11.US. Groundwater activities are required to meet specific scheduling requirements (40 CFR 258.57(d)) [Revised March 2000].
	Verify that the initiation of remedial activities occurs within a reasonable period of time depending on:

· extent and nature of contamination 

· practical capabilities of remedial technologies 

· availability of treatment or disposal capacity for wastes managed during the implementation period 

· desirability of utilizing technologies not currently available, but that may offer significant advantages over existing methods 

· potential risks to human health and the environment 

· resource value of the aquifer involved 

· practicable capability of the MSWLF

· other relevant factors. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.70.12.US. Corrective action programs are required to be implemented according to specific parameters (40 CFR 258.58) [Revised March 2000].
	Verify that, based on the established schedule for initiation and completion of activities, the facility:

· establishes and implements a corrective action groundwater monitoring program that: 

· at a minimum meets the assessment monitoring requirements of 40 CFR 258.55 (see checklist items SO.70.7.US. through SO.70.9.US.) 

· indicates the effectiveness of the selected corrective action remedy

· demonstrates compliance with groundwater protection standards 

· implements selected corrective action program 

· takes any interim measure necessary to ensure the protection of human health and the environment. 

Verify that the following factors are considered in determining whether interim measures are necessary:

· time required to develop and implement a final remedy

· actual or potential exposure of nearby populations or environmental receptors

· actual or potential contamination of drinking water supplies or sensitive ecosystems

· further degradation of the ground-water that may occur if the remedial action is not initiated expeditiously

· weather conditions

· risks of fire or explosions, or potential for exposure to hazardous constituents as a result of an accident or failure of a container or handling system, and

· other situations that may pose threats to human health or the environment.

Verify that if it is determined that compliance is not being achieved with the selected remedy, another method or technique is selected that can practicably achieve compliance.

Verify that if compliance cannot be practicably achieved with currently available methods, the following occurs:

· certification of a qualified groundwater scientist or approval of a State Director of an approved state substantiating this claim is obtained

· alternate measures are implemented to control exposure of humans or the environment to residual contamination as necessary to protect human health and the environment

· measures are implemented for control of the sources of contamination, or for removal of decontamination of equipment, units, devices, or structures that are: 

· technically practicable 

· consistent with the overall objective of the remedy 

· the State Director is notified within 14 days that a report justifying the alternative measures prior to implementation has been placed in the operating record. 

Verify that all solid wastes managed in relation to a remedy or an interim measure are managed as follows:

· in a manner that is protective of human health and the environment 

· in a manner that complies with applicable RCRA requirements. 

(NOTE:  Selected remedies shall be considered complete when: 

· the owner or operator complies with the established ground-water protection standards at all points within the plume of contamination that lie beyond the ground-water monitoring well system 

· compliance with the ground-water protection standards has been achieved by demonstrating that concentrations of the constituents listed in Appendix F of this document have not exceeded the ground-water protection standards for a period of three consecutive years using the statistical procedures and performance standards in 40 CFR 258.53(g) and 258.53(h)

· all actions required to complete the remedy have been satisfied.

(NOTE:  The Director of an approved state may specify an alternative length of time during which the owner or operator must demonstrate that concentrations of constituents listed in Appendix 9-5 have not exceeded the groundwater protection standards taking into consideration: 

· extent and concentration of the releases

· behavior characteristics of the hazardous constituents in the ground-water

· accuracy of monitoring or modeling techniques, including any seasonal, meteorological, or other environmental variabilities that may affect the accuracy 

· characteristics of the groundwater. )

Verify that, upon completion of the remedy, the owner or operator notifies the State Director within 14 days that a certification that the remedy has been completed in compliance with the requirements of 40 CFR 258.58(e) has been placed in the operating record. 

Verify that the certification is signed by the owner or operator and by a qualified ground-water scientist or approved by the Director of an approved state.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLF 

SO.75 

Closure Criteria


	

	SO.75.1.US. MSWLFs are subject to specific final cover design requirements (40 CFR 258.60(a) and 258.60(b)) [Reviewed March 2000].
	Determine if there are plans to close a MSWLF.

Verify that the final cover is designed to minimize infiltration and erosion according to the following criteria:

· it has a permeability less than or equal to the permeability of any bottom liner system or natural subsoils present, or a permeability no greater then 1 x 10-4 cm/s, whichever is less 

· it minimizes infiltrations through the closed MSWLF by use of an infiltration layer that contains a minimum 18 in. of earthen material 

· it minimizes erosion of the final cover by the use of an erosion layer that contains a minimum 6 in. of earthen material that is capable of sustaining native plant growth. 

(NOTE:  The Director of an approved state may approve alternate final cover design.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.75.2.US. MSWLFs are subject to specific closure plan requirements (40 CFR 258.60(c)) [Reviewed March 2000].
	Verify that a written closure plan has been prepared that includes the following information:

· a description of the final cover, and methods and procedures to be used to install the cover

· an estimate of the largest area of the MSWLF unit ever requiring a final cover any time during its active life

· an estimate of the maximum inventory of wastes ever onsite over its active life

· a schedule for completing all activities necessary to satisfy closure requirements. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.75.3.US. MSWLFs are subject to specific closure notification requirements (40 CFR 258.60(d)) [Reviewed March 2000].


	Verify that the State Director has been notified of the intent to close the MSWLF.

Verify that the notice of intent to close has been placed in the operating record.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.75.4.US. MSWLFs are subject to specific closure criteria (40 CFR 258.60(f) and 258.60(g)) [Reviewed March 2000].
	Verify that closure activities begin no later than 30 days after the date the MSWLF receives the final receipt of waste, or no later than 1 yr after the most recent receipt of waste if the unit has remaining capacity.

Verify that closure activities of each MSWLF unit are completed within 180 days following the beginning of closure.

 (NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.75.5.US. MSWLFs are subject to specific post- closure notification requirements (40 CFR 258.60(h)) [Reviewed March 2000].
	Verify that the State Director is notified that a certification signed by an independent registered professional engineer has been completed and placed in the operating record.

Verify that a notation is recorded on the deed to the landfill facility property, (or equivalent instrument examined in a title search), that the property has been used as a landfill, and its use is restricted. 

Verify that the notation is placed in the operating record, and the State Director is notified of its placement.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLF 

SO.80. 

Postclosure Care Requirements


	

	SO.80.1.US. MSWLFs are subject to specific post closure care requirements (40 CFR 258.61(a)) [Reviewed March 2000].
	Verify that postclosure care of a MSWLF is conducted in the following manner for 30 yr:

· maintains the integrity and effectiveness of any final cover, including making repairs to the cover as necessary to correct the effects of settlement, subsidence, erosion, or other events, and to prevent run-on and runoff from eroding or otherwise damaging the final cover 

· maintains and operates the leachate collection system 

· monitors the groundwater and maintains the groundwater monitoring system 

· maintains and operates the gas monitoring system. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.80.2.US. MSWLFs are subject to specific post- closure plan criteria (40 CFR 258.61(c) and 258.61(d)) [Reviewed March 2000].
	Verify that a postclosure plan has been prepared that includes the following information:

· a description of the monitoring and maintenance activities 

· the name, address, and telephone number of the person or office to contact about the facility during the postclosure period 

· a description of the planned uses of the property during the postclosure period.

Verify that the postclosure plan has been placed in the operating record and the State Director has been notified of its placement. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.80.3.US. MSWLFs are subject to specific post- closure certification requirements (40 CFR 258.61(e)) [Reviewed March 2000].
	Verify that following completion of the postclosure care period, a certification signed by an independent registered professional engineer is completed, placed in the operating record, and the State Director is notified of its placement. 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MSWLF 

SO.85

Documentation


	

	SO.85.1.US. MSWLFs are required to maintain records (40 CFR 258.29(a) and 258.29(c)) [Reviewed March 2000; Moved April 2003].
	Verify that the following records are retained in an operating record near the MSWLF or at an approved alternate location:

· any location restriction demonstration 

· inspection records, training procedures, and notification procedures 

· gas monitoring results from monitoring and any remediation plans 

· any MSWLF unit design documentation for placement of leachate or gas condensate in MSWLF 

· any demonstration, certification, finding, monitoring, testing, or related analytical data

· closure and postclosure care plans and any monitoring, testing, or related analytical data 

· any information demonstrating compliance with small community exemption. 

Verify that the State Director is notified when the above listed documents have been placed in or added to the operating record.

(NOTE:  The State Director of an approved state can set alternative schedules for recordkeeping and notification requirements.) 

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.85.2.US. MSWLF records are subject to inspection by certain authorities (40 CFR 258.29(b)) [Reviewed March 2000; Moved April 2003].
	Verify that all information in the operating record is furnished upon request from the State Director and is available at all times for inspection by the State Director.

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.85.3.US. MSWLFs with a design capacity of less than 2.5 million Mg by mass or 2.5 million m3 by volume are required to submit an initial design capacity report (40 CFR 60.750, 60.752(a) and 60.757(a)) [Revised June 1998; Reviewed March 2000; Moved April 2003].
	Verify that an initial design capacity report has been submitted:

· no later than 10 June 1996 for landfills that commenced construction, modification, or reconstruction on or after 30 May 1991 but before 12 March 1996

· 90 days after the date of commenced construction, modification, or reconstruction for landfills that commence construction, modification, or reconstruction on or after 12 March 1996.

Verify that the report contains the following information:

· a map or plot of the landfill providing the size and location of the landfill, and identifying all areas where solid waste may be landfilled according to the permit

· the maximum design capacity of the landfill (if specified in the permit, a copy of the permit may be submitted)

· if done, the calculation and relevant parameters used to determine maximum design capacity.

Verify that an amended design capacity report is submitted within 90 days of an increase in the maximum design capacity to or above 2.5 million Mg or 2.5 million m3.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.85.4.US. If the NMOC emissions rate is equal to or greater than 50 Mg/yr, a collection and control system design plan must be submitted which meets specific parameters (40 CFR 60.750, 60.752(b)(2)(i) and 60.757(c)) [Added March 1996; Reviewed March 2000; Moved April 2003].


	Verify that the collection and control system design plan is submitted to the Administrator within 1 yr of the first NMOC emissions rate report documenting an emission rate equal to or greater than 50 Mg/yr.

Verify that the plan includes any alternatives to the operational standards, test methods, procedures, compliance measures, monitoring, recordkeeping, or reporting provisions of these regulations.

(NOTE:  This is not required if the NMOC emission rate is recalculated after Tier 2 or Tier 3 NMOC sampling and analysis results in a rate less than 50 Mg/yr.  In that case, annual NMOC reporting resumes.)

Verify that the revised NMOC emission rate report with the Tier 2 recalculated emission rate based on NMOC sampling and analysis is submitted within 180 days of the first calculated exceedance of 50 Mg/yr.

Verify that the revised NMOC emission rate report with the Tier 3 recalculated emission rate based on NMOC sampling and analysis is submitted within 1 yr of the first calculated exceedance of 50 Mg/yr.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)

	SO.85.5.US. Several reports are required to be submitted pertaining to the operation and/or closure of the MSWLF (40 CFR 60.750, 60.757(d) through 60.757(g)) [Citation Revised June 1998; Reviewed March 2000; Moved April 2003].


	Determine if the MSWLF has stopped accepting waste.

Verify that a closure report was submitted to the Administrator within 30 days of the last waste being accepted.

(NOTE:  If a closure report has been submitted, no additional wastes may be placed into the landfill without filing a notification or modification.)

Verify that an equipment removal report is submitted to the Administrator 30 days prior to removal or cessation of operation of the control equipment and the reports contains the following:

· a copy of the closure report 

· a copy of the initial performance test report demonstrating that the 15 yr mini mum control period has expired

· dated copies of three successive NMOC emission rate reports demonstrating that the landfill is no longer producing 50 Mg/yr or greater of NMOC.

Verify that, when an active collection system is used, annuals reports of the following recorded information are submitted to the Administrator:

· value and length of time for exceedance of applicable monitored parameters

· description and duration of all periods when the gas stream is diverted from the control device through a bypass line or the indication of bypass flow

· description and duration of all periods when the control device was not operating for a period exceeding 1 h and length of time the control devices was not operating

· all periods when the collection system was not operating in excess of 5 days

· the location of each exceedance of the 500 ppm methane concentration and the concentration recorded at each location for which an exceedance was noted in the previous month

· the date of installation and the location of each well or collection system expansion.

Verify that the following information is included in initial performance test reports:

· a diagram of the collection system showing collection system positioning, including all wells, horizontal collectors, surface collectors, or other gas extraction devices, the locations of any areas excluded from collection and the proposed sites for the future collection system expansion

· the data upon which the sufficient density of wells, horizontal collectors, surface collectors, or other gas extraction devices and the gas mover equipment sizing are based

· the documentation of the presence of asbestos or nondegradable material for each area from which collection wells have been excluded based on the presence of asbestos or nondegradable materials

· the sum of the gas generation flow rates for all areas from which collection wells have been excluded based on nonproductivity and the calculations of gas generation flow rate for each excluded area

· the provisions for increasing gas mover equipped capacity with increased gas generation flow rate, if the present gas mover equipment is inadequate to move the maximum flow rate expected over the life of the landfill

· the provisions for the control of offsite migration.

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.85.6.US. Certain records pertaining to emissions must be kept at MSWLFs with a design capacity of less than 2.5 million Mg by mass or 2.5 million m3 by volume (40 CFR 60.750 and 60.758) [Revised June 1998; Reviewed March 2000; Revised July 2000; Moved April 2003].


	Verify that the following records are kept onsite for at least 5 yr and are up to date and readily accessible:

· maximum design capacity

· current amount of solid waste in place

· year by year waste acceptance rate.

(NOTE: The above records may be kept offsite if they are retrievable within 4 h.  Either paper or electronic formats are acceptable.)

Verify that up-to-date and readily accessible records of the following information are kept for the life of the control equipment as measured during the initial performance test or compliance determination:

· demonstration of compliance by the collection system for:

· the maximum expected gas generation flow rate

· the density of wells, horizontal collectors, surface collectors, or other gas extraction devices

· demonstration of compliance with control system requirements through use of an enclosed combustion device other than a boiler or process heater with a design heat input capacity equal to or greater than 44 megawatts:

· the average combustion temperature measured every 15 min and averaged over the same time period of the performance test

· the percent reduction of NMOC achieved by the control device

· demonstration of compliance by the use of a boiler or process heater of any size including a description of the location at which the collected gas vent stream is introduced into the boiler of process heater over the same time period of the performance testing

· demonstration of compliance by the use of an open flame including:

· all visible emission readings, best content determination, flow rate or bypass flow rate measurements, and exit velocity determinations made during the performance test

· continuous records of the flare pilot flame or flare flame monitoring and record of all periods of operations during which the pilot flame on the flare fame is absent.

Verify that, for controlled landfills, the following records are kept for 5 yr:

· continuous records of the equipment operating parameters

· periods of operation during which the parameter boundaries established during the most recent performance test are exceeded.

(NOTE:  The following are exceedances which are to be recorded:

· for enclosed combustors, except for boilers and process heaters with design heat input capacity of 44 MW (150 MBtu/h) or greater, all 3-h periods of operation during which the average combustion temperature was more than 28 degrees C below the average combustion temperature during the most recent performance test at which compliance was determined

· for boilers or process heaters, whenever there is a change in the location at which the vent stream is introduced into the flame zone.)

Verify that the following are kept for 5 yr:

· continuous records of the indication of flow to the control device of the indication of bypass flow

· records of monthly inspections of car seals or lock and key configurations used to seal bypass lines.

Verify that, if a boiler or process heater with a design heat input capacity of 44 MW or greater is used, up-to-date, readily accessible records of all periods of operation are maintained.

Verify that, if an open flame or flare pilot flame is used, up to date, readily accessible continuous records of the flame or flare pilot flame monitoring and records of all periods of operation in which the flame or flare pilot flame is absent are maintained.

Verify that, for the life of the collection system, a plot map showing each existing and planned collector in the system and providing a unique identification location label for each collector is maintained.

Verify that up-to-date, readily accessible records of the installation date and location of all newly installed collectors is maintained.

Verify that readily accessible documentation is available of the nature, date of deposition, amount, and location of asbestos containing or nondegradable waste excluded from collection as well as any unproductive areas excluded from collection.

Verify that, for at least 5 yr, up-to-date, readily accessible records are kept of all collection and control system exceedances of the operational standards, the reading the subsequent month, whether or not the second reading is an exceedance, and the location of each exceedance.

Verify that landfill owners or operators who convert design capacity from volume to mass or mass to volume to demonstrate that landfill design capacity is less than 2.5 million Mg or 2.5 million ft3, keep readily accessible, onsite records of the annual recalculation of site-specific density, design capacity, and the supporting documentation. 

(NOTE:  Offsite records may be maintained if they are retrievable within 4 h. Either paper copy or electronic formats are acceptable.)

(NOTE:  These requirements apply to MSWLFs that started construction, reconstruction, or modification on or after 30 May 1991.  For the purpose of these requirements, physical or operational changes made to an existing MSWLF in order to comply with the State Plan are not considered construction, reconstruction, or modification.  Activities require by or conducted pursuant to a CERCLA, RCRA, or State remedial action are not considered construction, reconstruction, or modification.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.85.7.US.  Owners or operators of a MSW landfill that has accepted waste since 8 November 1987 which is not in compliance with operating conditions for control systems is required to develop and implement a startup, shutdown, and malfunction (SSM) plan (40 CFR 63.1935, 63.1940, and 63.1960) [Added April 2003].
	Verify that the owner or operator of a MSW landfill that has accepted waste since 8 November 1987 which is not in compliance with operating conditions for control systems develops and implements a written SSM plan that describes in detail:

· procedures for operating and maintaining the source during periods of startup, shutdown, and malfunction

· a program of corrective action for malfunctioning process

· air pollution control and monitoring equipment used to comply with the relevant standard. 

(NOTE:  The purpose of the SSM plan is to:

· ensure that, at all times, the owner or operator operates and maintains affected sources, including associated air pollution control and monitoring equipment, in a manner consistent with safety and good air pollution control practices for minimizing emissions to the levels required by the relevant standards

· ensure that owners or operators are prepared to correct malfunctions as soon as practicable after their occurrence in order to minimize excess emissions of hazardous air pollutants

· reduce the reporting burden associated with periods of startup, shutdown, and malfunction (including corrective action taken to restore malfunctioning process and air pollution control equipment to its normal or usual manner of operation).)

Verify that a copy of the SSM plan is maintained onsite.  

(NOTE:  This checklist item applies to owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition and meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to or greater than 2.5 million megagrams (Mg) and 2.5 million m3 and has estimated uncontrolled emissions equal to or greater than 50 megagrams per year (Mg/yr) NMOC as calculated according to 40 CFR 60.754(a) [see text], the Federal plan, or an USEPA approved and effective State or tribal plan that applies to the landfill.)

This checklist item also applies to owner or operators of a MSWLF that has accepted waste since 8 November 1987 or has additional capacity for waste deposition, including a bioreactor, and that meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to our greater than 2.5 million Mg and 2.5 million m3 and that is not permanently closed as of 16 January 2003.)

(NOTE:  The affected source includes the entire disposal facility in a contiguous geographic space where household waste is placed in or on land, including any portion of the MSW landfill operated as a bioreactor.  A new affected source is an affected source that commenced construction or reconstruction after 7 November 2000. An affected source is reconstructed if it meets the definition of reconstruction.  An affected source is existing if it is not new.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	SO.85.8.US.  Owners or operators of a MSW landfill that has accepted waste since 8 November 1987 but are not in compliance with operating conditions for control systems are required to develop and implement a startup, shutdown, and malfunction (SSM) plan (40 CFR 63.1935, 63.1940, and 63.1980) [Added April 2003].
	Verify that records and reports are kept in one of the following ways:

· as specified in 40 CFR 60, subpart WWW (see checklist item SO.

· in the Federal plan, USEPA approved State plan or tribal plan that implements 40 CFR 60, subpart Cc.

(NOTE:  There is one exception, the annual report described in 40 CFR 60.757(f) (see checklist item SO.85.5.US) must be submitted every 6 mo.)

Verify that records and reports are kept as specified in the general provisions of 40 CFR 60 and as shown in Table 1 of 40 CFR 63, Subpart AAAA [see text].

Verify that, for bioreactors at new affected sources, the initial semiannual compliance report and performance test results are submitted within 180 days after the date the facility is to begin operating the gas collection and control system.

Verify that, for bioreactors at existing affected sources, the initial semiannual compliance report and performance test results are submitted within 180 days after the compliance date unless there is a previously submitted a compliance report for the bioreactor required by 40 CFR 60, subpart WWW, the Federal plan, or an USEPA approved and effective State plan or tribal plan.

Verify that, for bioreactors that are located at existing affected sources, but do not initiate liquids addition until later than the compliance, the initial semiannual compliance report and performance tests results described in 40 CFR 60.757(f) (see checklist item SO.85.5.US) are submitted within 180 days after the date the facility is required to begin operating the gas collection and control system (see Appendix 9-2a for compliance dates).

(NOTE:  If a semiannual compliance report is required for a bioreactor as well as a semiannual compliance report for a conventional portion of the same landfill, submittal of a subsequent semiannual compliance report for the bioreactor may be delayed as follows so that the reports may be submitted on the same schedule:

· after submittal of the initial semiannual compliance report and performance test results for the bioreactor, the submittal of the subsequent semiannual compliance report for the bioreactor may be delayed until the date the initial or subsequent semiannual compliance report is due for the conventional portion of the landfill

· submittal of the subsequent semiannual compliance report may be delayed by no more than 12 mo after the due date for submitting the initial semiannual compliance report and performance test results described in 40 CFR 60.757(f) (see checklist item SO.85.5.US) for the bioreactor (NOTE:  The report shall cover the time period since the previous semiannual report for the bioreactor, which would be a period of at least 6 mo and no more than 12 mo.)

· after the delayed semiannual report, all subsequent semiannual reports for the bioreactor must be submitted every 6 mo on the same date the semiannual report for the conventional portion of the landfill is due.)

Verify that, if any liquids other than leachate are added in a controlled fashion to the waste mass and do not comply with the bioreactor requirements in 40 CFR 63.1947 (see Appendix 9-2a), 63.1955(c) (see checklist item SO.67.11.US) and 63.1980(c) through 63.1980(f) (see checklist item SO.85.8.US), a record is kept of calculations showing that the percent moisture by weight expected in the waste mass to which liquid is added is less than 40 percent. 

(NOTE:  This calculation must consider the waste mass, moisture content of the incoming waste, mass of water added to the waste including leachate recirculation and other liquids addition and precipitation, and the mass of water removed through leachate or other water losses. Moisture level sampling or mass balances calculations can be used. Document the calculations and the basis of any assumptions. Keep the record of the calculations until ceasing liquids addition.)

Verify that, if moisture content is calculated to establish the date the bioreactor is required to begin operating the collection and control system, a record is kept of the calculations for 5 yr. 

Verify that, within 90 days after the bioreactor achieves 40 percent moisture content, the following are reported:

· the results of the calculation

· the date the bioreactor achieved 40 percent moisture content by weight 

· the date planned to begin collection and control system operation.

(NOTE:  This checklist item applies to owners or operators of a MSW landfill that has accepted waste since 8 November 1987 or has additional capacity for waste deposition and meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to or greater than 2.5 million megagrams (Mg) and 2.5 million m3 and has estimated uncontrolled emissions equal to or greater than 50 megagrams per year (Mg/yr) NMOC as calculated according to 40 CFR 60.754(a) [see text], the Federal plan, or an USEPA approved and effective State or tribal plan that applies to the landfill.)

This checklist item also applies to owner or operators of a MSWLF that has accepted waste since 8 November 1987 or has additional capacity for waste deposition, including a bioreactor, and that meets any one of the following criteria:

· the MSW landfill is a major source as defined in 40 CFR 63.2 

· the MSW landfill is collocated with a major source 

· the MSW landfill is an area source landfill that has a design capacity equal to our greater than 2.5 million Mg and 2.5 million m3 and that is not permanently closed as of 16 January 2003.)

(NOTE:  The affected source includes the entire disposal facility in a contiguous geographic space where household waste is placed in or on land, including any portion of the MSW landfill operated as a bioreactor.  A new affected source is an affected source that commenced construction or reconstruction after 7 November 2000. An affected source is reconstructed if it meets the definition of reconstruction.  An affected source is existing if it is not new.)

(NOTE:  See Appendix 9-2 for a list of MSWLFs that are exempt from meeting the standards found in 40 CFR 258, except for the standards for final cover in 40 CFR 258.60(a), see checklist item SO.75.1.US. See Appendix 9-1 for a list of compliance dates for nonexempt MSWLFs.)



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.90. 

THERMAL PROCESSING FACILITIES


	

	SO.90.1.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.2.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.3.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.4.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.5.US. Owners/operators of thermal processing facilities are required consider certain parameters for site selection (40 CFR 240.100(a), 240.202-1) [Revised March 2000]. Checklist item deleted 
	Verify that site selection and utilization is consistent with public health and welfare, and air and water quality standards and adaptable to appropriate land-use plans.

(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures.)

	SO.90.6.US. Owners/operators of thermal processing facilities are required to have a plan for the design of new facilities or modifications (40 CFR 240.100(a), 240.203-1) [Revised March 2000].
	Verify that a plan for the design of new facilities or modifications to existing facilities is prepared or approved by a professional engineer. 

Verify that a list of major considerations and the rationale for the decision on each consideration is approved by the responsible regulatory agency prior to authorization for construction. 

Verify that the information remains available for review.

(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures.)

	SO.90.7.US. Owners/ operators of thermal processing facilities are required to meet certain requirements for air and water quality (40 CFR 240.100(a), 240.204-1, and 240.205-1) [Revised March 2000].
	Verify that all waters discharged from the facility are sufficiently treated to meet the most stringent of applicable water quality standards, established in accordance with or effective under the provisions of the Federal Water Pollution Control Act, as amended.

Verify that emissions do not exceed applicable existing emission standards established by the USEPA (as published in 40 CFR 52, 60, 61 and 76) under the authority of the CAA, as amended, or state or local emission standards effective under that Act, if the latter are more stringent.

(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures.)

	SO.90.8.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.9.US. Owners/ operators of thermal processing facilities are required to meet certain operational requirements (40 CFR 240.100(a), 240.206-1, 240.207-1, 240.209-1, 240.210-1, and 240.211-1).
	Verify that conditions are maintained that are unfavorable for the harboring, feeding, and breeding of vectors.

Verify that the incinerator facility is designed and operated at all times in an aesthetically acceptable manner.

Verify that incinerators are designed, operated, and maintained in a manner to protect the health and safety of personnel associated with the operation of the facility. 

(NOTE:  Pertinent provisions of the Occupational Safety and Health Act of 1970 (Pub. L. 91-596) and regulations promulgated thereunder shall apply.)

Verify that the thermal processing facility is operated and maintained in a manner that assures it will meet the design requirements. 

Verify that an operations manual describing the various tasks to be performed, operating procedures, and safety precautions for various areas of the facility is developed and is readily available for reference by plant personnel.

Verify that the owner/operator of the thermal processing facility provides records and monitoring data as required by the responsible agency.

(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures [Added March 2000].)

	SO.90.10.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.11.US. Owners/ operators of thermal processing facilities are required to meet certain requirements for the disposal of residue and other solid waste products (40 CFR 240.100(a), 240.100(c), and 240.208-1) [Revised March 2000]. Checklist item deleted 
	Verify that residue and other solid waste products resulting from a thermal process are disposed of in an environmentally acceptable manner. 

(NOTE:  Where land disposal is employed, practices must be in conformance with the USEPA's Guidelines for the Land Disposal of Solid Wastes.)

(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures.)

	SO.90.12.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.13.US. Checklist item deleted [Deleted March 2000]. deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.14.US. Checklist item deleted [Deleted March 2000]. Checklist item deleted 
	This checklist item was deleted as a result of USEPA review of this document.

	SO.90.15.US. Owners and operators of thermal processing facilities should follow recommended design procedures (MP) [Added March 2000].
	(NOTE:  The prescribed guidelines are applicable to thermal processing facilities designed to process or which are processing 50 tons or more per day of municipal-type solid wastes. The application of this capacity criterion will be interpreted to mean any facility designed to process or actually processing 50/24 tons or more per hour. However, the guidelines do not apply to hazardous, agricultural, and mining wastes because of the lack of sufficient information upon which to base recommended procedures.) 

(NOTE:  These recommended procedures are based on the texts of 40 CFR 240.200-2, 240.201-2, 240.202-2, 240.203-2, 240.204-2, 240.205-2, 240.206-2, 240.208-2, 240.209-2, 240.211-2.)

Verify that, if the facility is designed to handle special wastes, special areas are provided where appropriate for storage while they await processing.

(NOTE:  In addition to the residential and commercial wastes normally processed at municipal-scale incinerators, certain special wastes might be considered for processing. These include: Certain bulky wastes (e.g., combustible demolition and construction debris, tree stumps, large timbers, furniture, and major appliances), digested and dewatered sludges from waste water treatment facilities, raw sewage sludges, and septic tank pumpings.)

Verify that provisions for storing, handling, and removing hazardous or excluded wastes inadvertently left at the facility are considered in design.

(NOTE:  Examples of wastes that should be considered for exclusion from the facility include: Hazardous wastes, very large carcasses, automobile bodies, dewatered sludges from water treatment plants, and industrial process wastes.)

Verify that, whenever possible, thermal processing facilities are located in areas zoned for industrial use and having adequate utilities to serve the facility.

Verify that the site is accessible by permanent roads leading from the public road system.

Verify that environmental factors, climatological conditions, and socioeconomic factors should be given full consideration as site selection criteria.

Verify that the types, amounts (by weight and volume), and characteristics of all solid wastes expected to be processed are determined by survey and analysis. 

Verify that the gross calorific value of the solid wastes to be processed is determined to serve as a basis for design.

Verify that resource recovery in the form of heat utilization or direct recovery of materials is considered in the design.

Verify that the facility is designed to be compatible with the surrounding area, easy to maintain, and consistent with the land use of the area.

Verify that employee convenience facilities and plant maintenance facilities are provided and adequate lighting provided throughout the facility.

Verify that the corrosive and erosive action of once-through and recirculated process waters is controlled either by treating them or by using materials capable of withstanding the adverse effects of the waters.

Verify that facility design capacity considers such items as waste quantity and characteristics, variations in waste generation, equipment downtime, and availability of alternate storage, processing, or disposal capability.

Verify that facility systems and subsystems are designed to assure standby capability in the event of breakdown. 

Verify that provision for standby water and power is also considered.

Verify that instrumentation is provided to determine such factors as: 

· the weight of incoming and outgoing materials (the same scale system may be used for both)

· total combustion airflow rates

· underfire and overfire airflows and the quantitative distribution of each

· selected temperatures and pressures in the furnace, along gas passages, in the particulate collection device, and in the stack

· electrical power and water consumption of critical units

· rate of operation. 

Verify that the smoke density, the concentration of carbon monoxide, or the concentration of hydrocarbons in the stack gases is monitored and measurement of the pH is considered for effluent waters. 

Verify that continuously recording instrumentation is used as much as possible.

Verify that audible signals are provided to alert operating personnel of critical operating unit malfunctions.

Verify that sampling capability is designed into the facility so that each process stream can be sampled, and the utilities required to do so are close at hand. 

Verify that the sampling sites are so designed that personnel can sample safely without interfering with normal plant operations.

Verify that a laboratory is included in the design, or provision is made for laboratory analyses to be performed by an outside source acceptable to the responsible regulatory agency.

Verify that effluent waters are not discharged indiscriminately and consideration is given to onsite treatment of process and wastewaters before discharge.

Verify that recirculation of process waters is considered.

Verify that air emissions requirements are met by using appropriate air pollution control technology.

Verify that all emissions, including dust from vents, are controlled.

Verify that thermal processing facilities are designed for ease of cleaning and areas favorable for breeding of vectors are avoided.

Verify that the facility should be designed so that it is physically attractive and the tipping, residue discharge, and waste salvage areas are screened from public view, and the grounds landscaped.

Verify that thermal processing facilities are designed so as to allow for removal from the site of residue or other solids in a manner that protects the environment.

Verify that attention is given to the safety of operators and vehicles through the provision of safety devices.

Verify that fire control equipment is provided.

Verify that methods and/or equipment for removal of an injured person from the storage pit are available.

Verify that continuously recording instrumentation is used as much as possible.



	SO.90.16.US. Owners and operators of thermal processing facilities should follow recommended operational procedures (MP) [Added March 2000].
	(NOTE:  These recommended procedures are based on the texts of 40 CFR, 240.200-3, 240-201-3, 240.204-3, 240.205-3, 240.206-3, 240.208-3, 240.209-3, 240.210-3, 240.211-3.)

Verify that storage areas for special wastes are clearly marked.

Verify that facility personnel are thoroughly trained in any unusual handling required by acceptance of special wastes.

Verify that regular users of the facility are given a list of excluded materials and the list is also displayed prominently at the facility entrance. 

Verify that, if a regular user persists in making unacceptable deliveries, he is barred from the installation and reported to the responsible regulatory agency.

Verify that the operating plan specifies the procedures and precautions to be taken if unacceptable wastes are delivered to the facility or are improperly left there.

(NOTE:  Operating personnel should be thoroughly trained in such procedures.)

Verify that, when monitoring instrumentation indicates excessive discharge contamination, appropriate adjustments is made to lower the concentrations to acceptable levels.

Verify that, in the event of an accidental spill, the local regulatory agency is notified immediately.

Verify that, when monitoring instrumentation indicates excessive emissions, appropriate adjustments are made to lower the emission to acceptable levels.

Verify that a housekeeping schedule is established and maintained. 

Verify that, as a minimum, the housekeeping schedule provides for cleaning the tipping and residue areas as spillages occur, emptying the solid waste storage area at least weekly, and routinely cleaning the remainder of the facility.

Verify that solid waste and residue are not allowed to accumulate at the facility for more than one week.

Verify that a routine housekeeping and litter removal schedule is established and implemented so that the facility regularly presents a neat and clean appearance.

Verify that solid wastes that cannot be processed by the facility are removed from the facility at least weekly. 

(NOTE:  Open burning or open dumping of this material should be prohibited.)

Verify that the furnace operator visually observes the quality of the bottom ash at least twice per shift and record in the operating log the estimated percentage of unburned combustibles.

Verify that, if residue or fly ash is collected in a wet condition, it is drained of free moisture. 

Verify that transportation of residue and fly ash is by means that prevent the loads from shifting, falling, leaking, or blowing from the container.

Verify that detailed procedures are developed for operation during such emergency situations as power failure, air or water supply failure, equipment breakdowns, and fire and that these procedures are posted in prominent locations, implemented by the staff as required, and upgraded and revised periodically.

Verify that approved respirators or self-contained breathing apparatus are available at convenient locations and their use is reviewed periodically with facility personnel. 

(NOTE:  Information on respirators or self-contained breathing apparatus can be obtained from the Appalachian Laboratory for Occupational Respiratory Disease, National Institute for Occupational Safety and Health, Morgantown, W. Va.)

Verify that training in first aid practices and emergency procedures is given to all personnel.

Verify that personal safety devices such as hard hats, gloves, safety glasses, and footwear are provided for facility employees.

Verify that, if a regular user or employee persistently poses a safety hazard, he is barred from the facility and reported to the responsible agency.

Verify that the facility supervisor is experienced in the operation of the type of facility designed or, in the case of an innovated design; be adequately trained by responsible personnel in the operation of the facility.

Verify that alternate and standby disposal and operating procedures are established for implementation during emergencies, air pollution episodes, and shutdown periods.

Verify that, upon completion of facility construction, provision is made for instruction of the staff in proper operation and maintenance procedures.

Verify that a routine maintenance schedule is established and followed.

Verify that as-built engineering drawings of the facility are provided at the conclusion of construction of the facility. 

(NOTE: As-built engineering drawings should be updated to show modifications by the owner as changes are made.  These drawing should be readily available and, a schematic showing the relationships of the various subsystems should also be available.)

Verify that key operational procedures are prominently posted.

Verify that equipment manuals, catalogs, spare parts lists, and spare parts are readily available at the facility.

Verify that training opportunities for facility operating personnel are provided.

Verify that extensive monitoring and recordkeeping is practiced during the first 12 to 18 mo of operation of a new or renovated facility, during periods of high air pollution, and during periods of upset conditions at the facility.

(NOTE:  During other periods of more normal operation of the facility, less extensive monitoring and record keeping may be practiced if approved by the responsible agency.)

Verify that operating records are kept in a daily log and include as a minimum:

· the total weight and volume (truck capacities may be used for volume determination) of solid waste received during each shift, including the number of loads received, the ownership or specific identity of delivery vehicles, the source and nature of the solid wastes accepted

· furnace and combustion chamber temperatures recorded at least every 60 min and as changes are made, including explanations for prolonged, abnormally high and low temperatures

· rate of operation, such as grate speed

· overfire and underfire air volumes and pressure and distribution recorded at least every 60 min and as changes are made

· weights of bottom ash, grate siftings, and fly ash, individually or combined, recorded at intervals appropriate to normal facility operation

· estimated percentages of unburned material in the bottom ash

· water used on each shift for bottom ash quenching and scrubber operation (NOTE:  Representative samples of process waters should be collected and analyzed as recommended by the responsible regulatory agency.)

· power produced and utilized each shift (NOTE:  If steam is produced, quality, production totals and consumption rates should be recorded.)

· auxiliary fuel used each shift

· gross calorific value of daily representative samples of bottom ash, grate siftings, and fly ash. (Sampling time should be varied so that all shifts are monitored on a weekly basis.)

· emission measurements and laboratory analyses required by the responsible regulatory agency

· complete records of monitoring instruments

· problems encountered and methods of solution.

Verify that an annual report is prepared which includes at least the following information:

· minimum, average, and maximum daily volume and weight of waste received and processed, summarized on a monthly basis

· a summary of the laboratory analyses including at least monthly averages

· number and qualifications of personnel in each job category; total man hours per week; number of state certified or licensed personnel; staffing deficiencies; and serious injuries, their cause and preventive measures instituted

· an identification and brief discussion of major operational problems and solutions

· adequacy of operation and performance with regard to environmental requirements, the general level of housekeeping and maintenance, testing and reporting proficiency, and recommendations for corrective actions

· a copy of all significant correspondence, reports, inspection reports, and any other communications from enforcement agencies.

Verify that methodology for evaluating the facility's performance is developed and evaluation procedures recommended by the USEPA are used whenever possible.



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.95. 

RESOURCE RECOVERY FACILITIES


	

	SO.95.1.US. Checklist item deleted [Deleted February 1997].
	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 245 by the USEPA as published in the 31 December 1996 Federal Register.)

	SO.95.2.US. Checklist item deleted [Deleted February 1997]. 


	(NOTE:  This checklist item has been removed due to the deletion of 40 CFR 245 by the USEPA as published in the 31 December 1996 Federal Register.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.100. 

DISPOSAL OF REFUSE FROM OUTSIDE THE UNITED STATES


	


(NOTE:  Garbage on or removed from a means of conveyance is regulated garbage, if, when the garbage is on or removed from the means of conveyance, the means of conveyance has been in any port outside the United States and Canada within the previous 2-yr period, with two exceptions:


garbage on or removed from an aircraft 

is exempt from the requirements in this checklist item if the following


garbage on or removed in the United States from a means of conveyance other than an aircraft is exempt from requirements in this checklist item if the 

following conditions are met when the garbage is on or removed from the 


since being cleaned and disinfected, the means of conveyance has not been in a non-Canadian foreign port.)


garbage on or removed from an aircraft 

is exempt from requirements in this checklist item if the following two conditions are met when the garbage is on or removed from 


after being cleared of the garbage and stores, the means of conveyance has not moved to the continental United States from any territory or possession or from Hawaii; to any territory or possession from any other territory or possession or from Hawaii; or to Hawaii from any territory or possession.)

	(NOTE:  The Plant Protection and Quarantine Programs and Veterinary Services, Animal, and Plant Health Inspection Service, will cooperate with other Federal, State, and local agencies responsible for enforcing other statutes and regulations governing disposal of the regulated garbage to the end that such disposal shall be adequate to prevent the dissemination of plant pests and livestock or poultry diseases and comply with applicable laws for environmental protection. The 

inspectors, in maintaining surveillance over regulated garbage movements and disposal, shall coordinate their activities with the activities of representatives of the Environmental Protection Agency and other Federal, State, and local agencies also having jurisdiction over such regulated garbage.)


	

	SO.100.2.US. Garbage generated onboard a conveyance during international or interstate movement must be managed according to specific condition (7 CFR 330.401) [Added July 2006].
	(NOTE: This checklist item applies to garbage generated onboard any means of conveyance during international or interstate movements as provided in this section and includes food scraps, table refuse, galley refuse, food wrappers or packaging materials, and other waste material from stores, food preparation areas, passengers' or crews' quarters, dining rooms, or any other areas on the means of conveyance. This section also applies to meals and other foods that were available for consumption by passengers and crew on an aircraft but were not consumed.)

Verify that regulated garbage is subject to general surveillance for compliance by inspectors and to disposal measures authorized by the Plant Protection Act and the Animal Health Protection Act to prevent the introduction and dissemination of pests and diseases of plants and livestock.

Verify that all regulated garbage is contained in tight, covered, leak-proof receptacles during storage on board a means of conveyance while in the territorial waters, or while otherwise within the territory of the United States. 

Verify that all receptacles are contained inside the guard rail if on a watercraft. 

Verify that regulated garbage is not unloaded from such means of conveyance in the United States unless the regulated garbage is removed in tight, covered, leak-proof receptacles under the direction of an inspector to an approved facility for incineration, sterilization, or grinding into an approved sewage system, under direct supervision by such an inspector, or the regulated garbage is removed for other handling in such manner and under supervision as may, upon request in specific cases, be approved by the Administrator as adequate to prevent the introduction and dissemination of plant pests and animal diseases and sufficient to ensure compliance with applicable laws for environmental protection. 

(NOTE:  A cruise ship may dispose of regulated garbage in landfills at Alaskan ports only, if and only if the cruise ship does not have prohibited or restricted meat or animal products on board at the time it enters Alaskan waters for the cruise season, and only if the cruise ship, except for incidental travel through international waters necessary to navigate safely between ports, remains in Canadian and U.S. waters off the west coast of North America, and calls only at continental U.S. and Canadian ports during the entire cruise season.)

Verify that application for approval of a facility or sewage system is made in writing by the authorized representative of any carrier or by the official having jurisdiction over the port or place of arrival of the means of conveyance to the Administrator, Animal and Plant Health Inspection Service, U.S. Department of Agriculture, Washington, DC 20250. 

Verify that the application is endorsed by the operator of the facility or sewage system.

(NOTE:  Not all garbage generated onboard a means of conveyance is regulated for the purposes of this checklist item. Garbage that is commingled with regulated garbage is also regulated garbage.  Garbage on or removed from a means of conveyance is regulated garbage, if, when the garbage is on or removed from the means of conveyance, the means of conveyance has been in any port outside the United States and Canada within the previous 2-yr period. There are, however, two exceptions to this provision:

· garbage on or removed from an aircraft is exempt from requirements previously stated in this checklist item if the following conditions are met when the garbage is on or removed from the aircraft:

· the aircraft had previously been cleared of all garbage and of all meats and meat products, whatever the country of origin, except meats that are shelf-stable; all fresh and condensed milk and cream from countries designated in 9 CFR 94.1 as those in which foot-and-mouth disease exists; all fresh fruits and vegetables; and all eggs; and the items previously cleared from the aircraft as prescribed by this paragraph have been disposed of according to the procedures for disposing of regulated garbage, as previously specified

· after the garbage and stores were removed, the aircraft has not been in a non-Canadian foreign port

· garbage on or removed in the United States from a means of conveyance other than an aircraft is exempt from previously stated requirements if the following conditions are met when the garbage is on or removed from the means of conveyance:

· the means of conveyance is accompanied by a certificate from an inspector stating the following:

· that the means of conveyance had previously been cleared of all garbage and of all meats and meat products, whatever the country of origin, except meats that are shelf-stable; all fresh and condensed milk and cream from countries designated in 9 CFR 94.1 as those in which foot-and-mouth disease exists; all fresh fruits and vegetables; and all eggs; and the items previously cleared from the means of conveyance as prescribed by this paragraph have been disposed of according to the procedures for disposing of regulated garbage

· that the means of conveyance had then been cleaned and disinfected in the presence of the inspector 

· since being cleaned and disinfected, the means of conveyance has not been in a non-Canadian foreign port.)

(NOTE:  Garbage on or removed from a means of conveyance is regulated garbage, if at the time the garbage is on or removed from the means of conveyance, the means of conveyance has moved during the previous 1-yr period, either directly or indirectly, to the continental United States from any territory or possession or from Hawaii, to any territory or possession from any other territory or possession or from Hawaii, or to Hawaii from any territory or possession. There are, however, two exceptions to this provision:

· garbage on or removed from an aircraft is exempt from requirements previously stated if the following two conditions are met when the garbage is on or removed from the aircraft:

· the aircraft had been previously cleared of all garbage and all fresh fruits and vegetables, and the items previously cleared from the aircraft have been disposed of according to the procedures for disposing of regulated garbage

· after the garbage and stores were removed, the aircraft has not moved to the continental United States from any territory or possession or from Hawaii; to any territory or possession from any other territory or possession or from Hawaii; or to Hawaii from any territory or possession

· garbage on or removed from a means of conveyance other than an aircraft is exempt from the previously stated requirements if the following two conditions are met when the garbage is on or removed from the means of conveyance:

· the means of conveyance is accompanied by a certificate from an inspector stating that the means of conveyance had been cleared of all garbage and all fresh fruits and vegetables; and the items previously cleared from the means of conveyance as prescribed by this paragraph have been disposed of according to the procedures 

· after being cleared of the garbage and stores, the means of conveyance has not moved to the continental United States from any territory or possession or from Hawaii; to any territory or possession from any other territory or possession or from Hawaii; or to Hawaii from any territory or possession.)

(NOTE:  The Plant Protection and Quarantine Programs and Veterinary Services, Animal, and Plant Health Inspection Service, will cooperate with other Federal, State, and local agencies responsible for enforcing other statutes and regulations governing disposal of the regulated garbage to the end that such disposal shall be adequate to prevent the dissemination of plant pests and livestock or poultry diseases and comply with applicable laws for environmental protection. The 

inspectors, in maintaining surveillance over regulated garbage movements and disposal, shall coordinate their activities with the activities of representatives of the Environmental Protection Agency and other Federal, State, and local agencies also having jurisdiction over such regulated garbage.)




the garbage is processed, packaged, safeguarded, and 

	· disposed of using a methodology that the Administrator has determined is adequate to prevent the introduction or dissemination of plant pests into non-infested areas of the United States

· the garbage is moved under a compliance agreement in accordance with 7 CFR 330.403. APHIS will only enter into a compliance agreement when the Administrator is satisfied that the Agency has first satisfied all its obligations under the NEPA and all applicable Federal and State statutes to fully assess the impacts associated with the movement of garbage under the compliance agreement

· all such garbage moved interstate from Hawaii to any of the continental United States is moved in compliance with all applicable laws for environmental protection.


	

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MEDICAL WASTE 

SO.110. 

Containers/ Labeling/Storage Areas


	

	SO.110.1.US. Contaminated reusable sharps must be placed in containers that meet specific requirements as soon as possible after use until properly reprocessed (29 CFR 1910.1030(d)(2)(viii) and 1910.1030(d)(4)(ii)(E)). 


	Verify that contaminated reusable sharps are placed in containers that are:

· puncture resistant 

· labeled or color coded 

· leakproof on the sides and bottom. 

Verify that reusable sharps that are contaminated with blood or other potentially infectious materials are not stored or processed in a manner that requires employees to reach by hand into the containers.

	SO.110.2.US. Specimens of blood or other potentially infectious material are required to be placed in a container that prevents leakage during collection, handling, processing, storage, transport, or shipping and specific labeling and handling requirements followed (29 CFR 1910.1030(d)(2)(xiii)).
	Verify that containers are:

· labeled and color coded

· closed prior to being stored, transported or shipped.

(NOTE:  When universal precautions are utilized in the handling of all specimens, the labeling/color coding of specimens is not necessary if the containers are recognizable as containing specimens.) 

Verify that if outside contamination of the primary container occurs it is placed in a second container.

Verify that if the specimens could puncture the primary container, the primary container is placed in a secondary container that is puncture resistant. 



	SO.110.3.US. Contaminated sharps are to be discarded immediately in containers meeting specific requirements (29 CFR 1910.1030(d)(4)(iii)(A)).
	Verify that contaminated sharps are placed in containers that are:

· closeable 

· puncture resistant 

· leakproof on sides and bottoms 

· labeled or color coded. 

Verify that during use, containers for contaminated sharps are:

· easily accessible 

· maintained upright throughout use 

· replaced routinely and not be allowed to overfill. 

Verify that, when the containers of contaminated sharps are being moved from the area of use, the containers:

· are closed 

· placed in a secondary container that meets the following criteria if leakage is possible:

· closeable 

· constructed to contain all contents and prevent leakage of fluids 

· labeled or color coded.

Verify that reusable containers are not opened, emptied, or cleaned manually or handled in any other manner that would expose employees to risk of cuts or abrasions.

(NOTE:  Self-sheathing needles, after use, shall be disposed of in sharps containers.)



	SO.110.4.US. Regulated wastes other than sharps (see definitions) are required to be handled and placed in containers that meet specific standards (29 CFR 1910.1030(d)(4)(iii)(B)).
	Verify that regulated wastes are placed in containers that are:

· closeable 

· constructed to contain all contents and prevent leakage of fluids 

· labeled or color coded 

· closed prior to removal. 

(NOTE:  Regulated wastes that have been decontaminated need not be labeled or color-coded.) 

Verify that if outside contamination of the regulated waste occurs, it is placed in a secondary container that meets the following criteria:

· closeable 

· constructed to contain all contents and prevent leakage of fluids 

· labeled or color coded. 



	SO.110.5.US. All bins, pails, cans, and similar receptacles intended for reuse, that have the likelihood of becoming contaminated with blood or other potentially infectious materials are required to be inspected and decontaminated on a regularly scheduled basis (29 CFR 1910.1030(d)(4)(ii)(C)). 


	Verify that receptacles with the potential for contamination are regularly inspected and decontaminated.

	SO.110.6.US. Labels affixed to containers of regulated wastes, refrigerators and freezers containing blood or other potentially infectious materials, and other containers used to store, transport, or ship blood or other potentially infectious materials must meet specific standards (29 CFR 1910.1030(g)(1)(i)).
	Verify that the labels:

· include the biohazard symbol

· are fluorescent orange or orange-red or predominantly so, with lettering and symbols in contrasting color 

· are affixed as closely as possible to the container by adhesive or wire to prevent loss or removal.

(NOTE:  Red bags or containers may be used as a substitute for labels.)

(NOTE:  The following are exempt from labeling requirements:

· containers of blood, blood components, or blood products that are labeled as to their contents and have been released for transfusion or other clinical use 

· individual containers of blood or other potentially infectious materials that are placed in a labeled container during storage, transport, shipment, or disposal.) 

(NOTE:  Regulated waste that has been decontaminated need not be labeled and color coded.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	MEDICAL WASTE 

SO.115

Transportation


	

	SO.115.1.US. Bulk packaging containing a regulated medical waste is required to be marked BIOHAZARD (49 CFR 172.323) [Added January 2003].

	Verify that, in addition to other requirements of this subpart, after 30 September 2003 a bulk packaging containing a regulated medical waste, is marked with a BIOHAZARD marking conforming to 29 CFR 1910.1030(g)(1)(i) (see checklist item SO.110.6.US) as follows:

· on two opposing sides or two ends other than the bottom if the packaging has a capacity of less than 3,785 L (1,000 gal)

· on each end and each side if the packaging has a capacity of 3,785 L (1,000 gal) or more. 

Verify that the BIOHAZARD marking measures at least 152.4 mm (6 in) on each side and is visible from the direction it faces.

Verify that, for a bulk packaging contained in or on a transport vehicle or freight container, if the BIOHAZARD marking on the bulk packaging is not visible, the transport vehicle or freight container is marked with a BIOHAZARD marking conforming to 29 CFR 1910.1030(g)(1)(i) (see checklist item SO.110.6.US) on each side and each end.

Verify that the background color for the BIOHAZARD marking is orange and the symbol and letters are black. 

(NOTE:  See the text of 49 CFR 172.323(c) for an example of the marking.)

Verify that the BIOHAZARD marking is displayed on a background of contrasting color. 

(NOTE:  It may be displayed on a plain white square-on-point configuration having the same outside dimensions as a placard.)



	SO.115.2.US. Infectious substances packaging for transport must meet specific requirements (49 CFR 173.196) [Added January 2003; Revised July 2006].

	Verify that Division 6.2 material that is a Category A infectious substance meets the test standards of 49 CFR 178.609 and is marked in conformance with 49 CFR 178.503(f) (see actual text).

Verify that packaging for a Category A infectious substance is a triple packaging consisting of the following components:

· a watertight primary receptacle

· a watertight secondary packaging such that if multiple fragile primary receptacles are placed in a single secondary packaging, they are either wrapped individually or separated to prevent contact between them

· a rigid outer packaging of adequate strength for its capacity, mass and intended use such that the outer packaging measures not less than 100 mm (3.9 in) at its smallest overall external dimension

· for a liquid infectious substance, an absorbent material is placed between the primary receptacle and the secondary packaging and the absorbent material is sufficient to absorb the entire contents of all primary receptacles

· an itemized list of contents enclosed between the secondary packaging and the outer packaging

· the primary receptacle or secondary packaging used for infectious substances is capable of withstanding, without leakage, an internal pressure producing a pressure differential of not less than 95 kPa (0.95 bar, 14 psi)

· the primary receptacle or secondary packaging used for infectious substances is capable of withstanding without leakage temperatures in the range of -40 °C to +55 °C (-40 °F to +131 °F).

Verify that Category A infectious substances are packaged according to the following requirements, depending on the physical state and other characteristics of the material:

· infectious substances are shipped at ambient temperatures or higher

· primary receptacles are made of glass, metal, or plastic

· positive means of ensuring a leakproof seal is provided, such as heat seal, skirted stopper, or metal crimp seal

· if screw caps are used, they are secured by positive means, such as with adhesive tape, paraffin sealing tape, or manufactured locking closure

· lyophilized substances may be transported in primary receptacles that are flame-sealed with glass ampoules or rubber-stoppered glass vials fitted with metal seals

· for infectious substances shipped refrigerated or frozen (ice, pre-frozen packs, dry ice: 

· ice, dry ice, or other refrigerant is placed around the secondary packagings or in an overpack with one or more complete packages marked in accordance with 49 CFR178.503

· interior supports are provided to secure the secondary packagings in the original position after the ice or dry ice has dissipated

· if ice is used, the outer packaging or overpack is leakproof

· if dry ice is used, the outer packaging or overpack permits the release of carbon dioxide gas and otherwise meet the provisions in 49 CFR 173.217
· the primary receptacle and the secondary packaging maintain their integrity at the temperature of the refrigerant used, as well as the temperatures and pressures of transport by aircraft to which they could be subjected if refrigeration were lost

· for infectious substances shipped in liquid nitrogen:

· the primary receptacle and the secondary packaging maintain their integrity at the temperature of the liquid nitrogen as well as the temperatures and pressures of transport by aircraft to which they could be subjected if refrigeration were lost

· refrigerated liquid nitrogen packagings are metal vacuum insulated vessels or flasks vented to the atmosphere to prevent any increase in pressure within the packaging

· there is no use of safety relief valves, check valves, frangible discs, or similar devices in the vent lines

· fill and discharge openings are protected against the entry of foreign materials that might cause an increase in the internal pressure

· the package orientation markings specified in 49 CFR 172.312(a) are marked on the packaging

· the packaging is designed to prevent the release of any refrigerated liquid nitrogen irrespective of the packaging orientation.

Verify that live animals are not used to transport infectious substances unless such substances cannot be sent by any other means. 

(NOTE:  An animal containing or contaminated with an infectious substance must be transported under terms and conditions approved by the Associate Administrator for Hazardous Materials Safety.)

Verify that body parts, organs or whole bodies meeting the definition of Division 6.2 material is packaged as follows:

· in Division 6.2 packaging 

· in packaging meeting the requirements of 49 CFR 173.197.



	SO.115.3.US. Regulated medical waste packaging for transport must meet specific requirements (49 CFR 173.197) [Added January 2003; Revised July 2006].


	Verify that non-bulk packagings, large Packagings, and non-specification bulk outer packagings used for the transportation of regulated medical waste rigid containers meet the provisions of 49 CFR 173.21 through  173.40.

Verify that, except as provided in 49 CFR 173.134(c), non-bulk packagings for regulated medical waste are UN standard packagings conforming to the requirements of 49 CFR 178 at the Packing Group II performance level. 

Verify that a non-bulk packaging used as a sharps container is puncture-resistant for sharps and sharps with residual fluid as demonstrated by conducting the performance tests in 40 CFR 178, subpart M on packagings containing materials representative of the sharps and fluids (such as sterile sharps) intended to be transported in the packagings. 

Verify that sharps containers are securely closed to prevent leaks or punctures in conformance with the instructions provided by the packaging manufacturer.

(NOTE:  Large Packaging constructed, tested, and marked in accordance with the requirements of the UN Recommendations and conforming to other requirements outlined in this checklist item for Large Packaging may be used for the transportation of regulated medical waste, provided the waste is contained in conforming inner packaging.)

Verify that each Large Packaging:

· is capable of meeting the vibration test specified in 49 CFR 178.819. 

· meets the periodic design requalification requirements for intermediate bulk containers in 49 CFR 178.801(e) 

· meets the proof of compliance requirements of 49 CFR 178.801(j) 

· meets record retention requirements of 49 CFR 178.801(l). 

Verify that inner packagings used for liquids are rigid.

(NOTE:  Only the following Large Packagings are authorized for the transportation of liquid or solid regulated medical waste:

· metal: 50A, 50B, or 50N

· rigid plastic: 50H.)

Verify that each Large Packaging used to transport liquid regulated medical waste contains absorbent material in sufficient quantity and appropriate location to absorb the entire amount of liquid present in the event of an unintentional release of contents. 

Verify that each Large Packaging design intended for the transportation of sharps containers is: 

· puncture resistant and capable of retaining liquids

· tested and certified as meeting the performance tests specified for intermediate bulk containers intended for the transportation of liquids in subpart O of 49 CFR 178.

Verify that, when transporting regulated medical waste in wheeled carts or bulk outer packaging (BOPs):

· regulated medical waste in each cart or BOP is contained in non-bulk inner packagings conforming to paragraph (e)

· each cart or BOP has smooth, non-porous interior surfaces free of cracks, crevices, and other defects that could damage plastic film inner packagings or impede disinfection operations

· each cart or BOP is used exclusively for the transportation of regulated medical waste

· prior to reuse, each cart or BOP is disinfected by any means effective for neutralizing the infectious substance the packaging previously contained.

(NOTE:  The following may not be transported in a cart or BOP:

· Division 6 Untreated concentrated stock cultures of infectious substances containing Category A materials 

· 6.1 toxic waste or Class 7 radioactive waste, with the exception of chemotherapeutic waste.)

Verify that, if Division 6.1 or Class 7 chemotherapeutic waste; untreated concentrated stock cultures of infectious substances containing Category B infectious substances; unabsorbed liquids; and sharps containers are transported in a Cart or BOP, the waste is packaged in rigid non-bulk packagings.

Verify that wheeled carts used as an outer packaging for the transportation of regulated medical waste conforms to the following requirements:

· the cart consists of a solid, one-piece body with a nominal volume not exceeding 1,655 L (437 gal)

· the cart is constructed of metal, rigid plastic, or fiberglass fitted with a lid to prevent leakage during transport

· each cart is capable of meeting the requirements of 49 CFR 178.810 (drop test) at the Packing Group II performance level

· inner packagings are placed into a cart and restrained in such a manner as to minimize the risk of breakage.

Verify that BOPs used as an outer packaging for regulated medical waste conforms to the following requirements:

· each BOP is constructed of metal or fiberglass and have a capacity of at least 3.5 cubic m (123.6 cubic ft) and not more than 45 cubic m (1,590 cubic ft)

· each BOP has bottom and side joints of fully welded or seamless construction and a rigid, weatherproof top to prevent the intrusion of water (e.g., rain or snow)

· each opening in a BOP is fitted with a closure to prevent the intrusion of water or the release of any liquid during all loading, unloading, and transportation operations

· in the upright position, each BOP is leakproof and able to contain a liquid quantity of at least 300 L (79.2 gal) with closures open

· inner packagings are placed in a BOP in such a manner as to minimize the risk of breakage

· rigid inner packagings are not placed in the same BOP with plastic film bag inner packagings unless separated from each other by rigid barriers or dividers to prevent damage to the packagings caused by load shifting during normal conditions of transportation.

Verify that, Division 6.1 or Class 7 chemotherapeutic waste, untreated concentrated stock cultures of infectious substances containing Category B infectious substances, unabsorbed liquids, and sharps are transported in a BOP only if:

· the inner packagings are placed in a BOP in such a manner as to minimize the risk of breakage

· rigid inner packagings is not placed 

· in the same BOP with plastic film bag inner packagings unless separated from each other by rigid barriers or dividers to prevent damage to the packagings caused by load shifting during normal conditions of transportation.

Verify that inner packagings are durably marked or tagged with the name and location (city and state) of the offeror, except when the entire contents of the Large Packaging, Cart, or BOP originates at a single location and is delivered to a single location.

Verify that, when using a plastic film bag as an inner packaging for solid regulated medical waste transported in a Cart, Large Packaging, or BOP, the following parameters are met:

· waste material containing absorbed liquid is 

· packaged as a solid in a plastic film bag only if the bag contains sufficient absorbent material to absorb and retain all liquid during transportation

· the film bag does not exceed a volume of 175 L (46 gal)

· the film bag is marked and certified by its manufacturer as having passed the tests prescribed for tear resistance in ASTM D 1709-01, Standard Test Methods for Impact Resistance of Plastic Film by the Free-Falling Dart Method, and for impact resistance in ASTM D 1922-00a, Standard Test Method for 

· Propagation Tear Resistance of Plastic Film and Thin Sheeting by Pendulum Method 

· the film bag meets an impact resistance of 165 grams and a tearing resistance of 480 grams in both the parallel and perpendicular planes with respect to the length of the bag

· the plastic film bag is closed with a minimum of entrapped air to prevent leakage in transportation

· the bag is capable of being held in an inverted position with the closed end at the bottom for a period of 5 min without leakage

· when used as an inner packaging for Carts or BOPs, a plastic film bag does not weigh more than 10 kg (22 lbs.) when filled.

Verify that liquid regulated medical waste transported in a Large Packaging, Cart, or BOP is packaged in a rigid inner packaging conforming to the provisions of 40 CFR 173.21 through 173.40. 

(NOTE:  Liquid materials are not authorized for transportation in inner packagings having a capacity greater than 19 L (5 gal).)

Verify that sharps transported in a Large Packaging, Cart, or BOP are packaged in a puncture-resistant inner packaging (sharps container). 

Verify that each sharps container is securely closed to prevent leaks or punctures in conformance with instructions provided by the packaging manufacturer. 

Verify that each sharps container exceeding 76 L (20 gal) in volume is capable of passing the performance tests in 49 CFR 178, subpart M, at the Packing Group II 

performance level. 

Verify that a sharps container is not reused unless it conforms to the following criteria:

· it is specifically approved and certified by the U.S. Food and Drug Administration as a medical device for reuse.

· it is permanently marked for reuse

· it is disinfected prior to reuse by any means effective for the infectious substance the container previously contained.

· it has a capacity greater than 7.57 L 

· (2 gal) and not greater than 151.42 L (40 gal) in volume.



	SO.115.4.US. Diagnostic specimen and used health care product packaging for transport must meet specific requirements (49 CFR 173.199) [Added January 2003; Revised July 2006].


	(NOTE:  Category B infectious substances are excepted from all other requirements 49 CFR 173 when offered for transportation or transported in accordance with 49 CFR 173.199. Category B infectious  substances offered for transportation or transported under the provisions 49 CFR 173.199 are subject to the incident reporting requirements in 49 CFR  171.15 and 171.16 and to 

the requirements in 49 CFR 175.85 concerning cargo location. Except as indicated below, a Category B infectious substance meeting the definition of a hazard class other than Division 6.2 must be offered for transportation or transported in accordance with applicable requirements of this subchapter.)

Verify that Category B infectious substances are packaged in a triple packaging consisting of a primary receptacle, a secondary packaging, and a rigid outer packaging.

Verify that primary receptacles are packed in secondary packaging in such a way that, under normal conditions of transport, they cannot break, be punctured, or leak their contents into the secondary packaging.

Verify that secondary packaging is secured in rigid outer packagings with suitable cushioning material such that any leakage of the contents will not impair the protective properties of the cushioning material or the outer packaging.

Verify that the completed package is designed, constructed, maintained, filled, its contents limited, and closed so that under conditions normally encountered in transportation, including removal from a pallet or overpack for subsequent handling, there is no release of hazardous material into the environment. 

Verify that package effectiveness is not substantially reduced for minimum and maximum temperatures, changes in humidity and pressure, and shocks, loadings and vibrations normally encountered during transportation. 

Verify that the packaging is capable of successfully passing the drop tests in 49 CFR 178.609(d) and (h) at a drop height of at least 1.2 m (3.9 ft) such that following the drop tests, there is no leakage from the primary receptacle, which remains protected by absorbent material, when required, in the secondary packaging and at least one surface of the outer packaging has a minimum dimension of 100 mm by 100 mm (3.9 in).

Verify that the marking is displayed on the outer packaging on a background of contrasting color; the width of the line is at least 2 mm (0.08 in) and the letters and numbers at least 6 mm (0.24 in) high; the size of the mark is such that no side of the diamond is less than 50 mm (1.97 in length; and the proper shipping name “Biological substances, Category B” is marked on the outer packaging adjacent to the diamond-shaped mark in letters that are at least 6 mm (0.24 in) high.

Verify that, when packages are placed in an overpack, the required package markings are either clearly visible or reproduced on the outside of the overpack.

Verify that the name and telephone number of a person who is either knowledgeable about the material being shipped and has comprehensive emergency response and incident mitigation information for the material, or has immediate access to a person who possesses such knowledge and information, is included on a written document (such as an air waybill or bill of lading) or on the outer packaging.

Verify that, for transportation by aircraft, each package, overpack, pallet, or unit load device containing a Category B infectious substance is inspected for leakage when it is unloaded from the aircraft. 

Verify that, if evidence of leakage is found, the cargo compartment in which the package, overpack, pallet, or unit load device was transported is disinfected. 

(NOTE:  Disinfection may be by any means that will make the material released ineffective at transmitting disease.)

Verify that a packaging containing inner packagings of Category B infectious substances does not contain other hazardous materials except:

· refrigerants, such as dry ice or liquid nitrogen

· anticoagulants used to stabilize blood or plasma

· small quantities of Class 3, Class 8, Class 9, or other materials in Packing Groups II and III used to stabilize or prevent degradation of the sample, provided the quantity of such materials does not exceed 30 mL (1 ounce) or 30 g (1 ounce) in each inner packaging (NOTE:  Such preservatives are not subject to the requirements of this subchapter.)

Verify that clear instructions on filling and closing a packaging used to transport a Category B infectious substance is provided by the packaging manufacturer and subsequent distributors to the consignor or person who prepares the package to enable the package to be correctly prepared for transport. 

Verify that a copy or electronic image of the instructions are retained by the manufacturer and subsequent distributors for at least 1 yr from the date of issuance, and made available for inspection by a Federal or state government representative upon request. 

Verify that packagings are filled and closed in accordance with the information provided by the packaging manufacturer or subsequent distributor.

Verify that liquid diagnostic specimens are packaged in conformance with the following provisions:

· the primary receptacle is leakproof

· absorbent material is placed between the primary receptacle and secondary packaging

· if several fragile primary receptacles are placed in a single secondary packaging, they are  either individually wrapped or separated to prevent contact between them

· the absorbent material is of sufficient quantity to absorb the entire contents of the primary receptacles and not compromise the integrity of the cushioning material or the outer packaging

· the secondary packaging is leakproof

· for shipments by aircraft, the primary receptacle or the secondary packaging is capable of withstanding without leakage an internal pressure producing a pressure differential of not less than 95 kPa (0.95 bar, 14 psi)

· for shipments by aircraft, the maximum quantity contained in each primary receptacle, including any material used to stabilize or prevent degradation of the sample, does not exceed 1 l (34 oz), and the maximum quantity contained in each outer packaging, including any material used to stabilize or prevent degradation of the samples, does not exceed 4 L (1 gal)

· for shipments by aircraft, the outer packaging limitation does not include ice, dry ice, or liquid nitrogen when used to maintain the integrity of the material.

Verify that Solid Category B infectious substances are packaged in a triple packaging, consisting of a primary receptacle, secondary packaging, and outer packaging, conforming to the following provisions:

· the primary receptacle is siftproof

· if several fragile primary receptacles are placed in a single secondary packaging, they are either individually wrapped or separated to prevent contact between them

· the secondary packaging is siftproof

· if residual liquid may be present in the primary receptacle during transportation, then the material is transported in accordance with requirements for liquid diagnostic specimens

· a solid material that may become liquid during transportation must be transported in accordance with requirements for liquid diagnostic specimens

· except for packages containing body parts, organs, or whole bodies, for shipment by aircraft, the outer packaging does not contain more than 4 kg (8.8 pounds), including any material used to stabilize or prevent degradation of the samples (NOTE:  The outer packaging limitation does not include ice, dry ice, or liquid nitrogen when used to maintain the integrity of the material.)

Verify that, for refrigerated or frozen specimens:

· ice or dry ice must be placed outside the secondary packaging or in an overpack

· interior supports must be provided to secure the secondary packagings in the original position after the ice or dry ice has dissipated

· if ice is used, the outside packaging is leakproof or has a leakproof liner

· if dry ice is used, the outside packaging permits the release of carbon dioxide gas and otherwise meets the provisions in 49 CFR 173.217

· the primary receptacle and secondary packaging maintain their integrity at the temperature of the refrigerant used, as well as the temperatures and pressures of transport by aircraft they could be subjected to if refrigeration were lost, and sufficient absorbent material is provided to absorb all liquid, including melted ice

· the package is marked “Carbon dioxide, solid” or “Dry ice” and an indication that the material being refrigerated is used for diagnostic treatment purposes (e.g., frozen medical specimens).

Verify that each person who offers or transports a Category B infectious substance knows about the requirements of this checklist item.



	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.130. 

SOLID WASTE FROM SHIPS


	

	SO.130.1.US. The control and discharge of garbage must be done according to specific parameters (33 CFR 151.51, 151.66, and 151.67).
	Verify that no garbage is discharged into the navigable waters of the United States. 

Verify that no plastic or garbage mixed with plastic is discharged into the navigable waters of the United States; including synthetic ropes, fishing nets, and plastic garbage bags. 

Verify that all garbage containing plastic is discharged ashore or incinerated. 

(NOTE:  These requirements apply to: 

· each ship that is of U.S. registry or nationality, or one operated under the authority of the United States, including recreational vessels and uninspected vessels 

· each ship that is in the navigable waters of the exclusive economic zone of the United States.) 

(NOTE:  These requirements do not apply to:  a warship, naval auxiliary or other ship owned or operated by the United States when in engaged in noncommercial service; or another ship specifically exempted by MARPOL 73/78. But Corps policy requires compliance with these regulations.)

	
	


	COMPLIANCE CATEGORY:

SOLID WASTE MANAGEMENT

U.S. TEAM GUIDE

	REGULATORY REQUIREMENTS:
	REVIEWER CHECKS:

March 2009


	SO.200
LAND APPLICATION OF SOLID WASTE

	

	SO.200.1.US. Application of solid waste to land used for the production of food-chain crops (interim final) must not pose a reasonable probability of adverse effects on health or the environment (40 CFR 257.1, 257.3, 257.3-5(a), and 257.3-5(b)) [Added July 2008].
	(NOTE:  This was previously checklist item SO.30.11.US).

Verify that a facility or practice concerning application of solid waste to within 1 m (3 ft) of the surface of land used for the production of food-chain crops does not exist or occur, unless in compliance with all of the following requirements:

· the pH of the solid waste and soil mixture is 6.5 or greater at the time of each solid waste application, except for solid waste containing cadmium at concentrations of 2 mg/kg (dry weight) or less

· the annual application of cadmium from solid waste does not exceed 0.5 kg/ha on land used for production of tobacco, leafy vegetables, or root crops grown for human consumption

· for food-chain crops other than tobacco, leafy vegetables, or root crops grown for human consumption, the annual cadmium application rate does not exceed:

· 2.0 kg/ha prior to 30 June 1984

· 1.25 kg/ha 1 July 1984 to 31 December 1986

· 0.5 kg/ha after 1 January 1987

· the cumulative application of cadmium from solid waste does not exceed either of the following maximum cumulative application levels: 

· when the background soil pH is less than 6.5 and the soil cation exchange capacity is less than 5 meq/100 g: 5 kg/ha

· when the background soil pH is less than 6.5 and the soil cation exchange capacity is 5 to 15 meq/100 g: 5 kg/ha

· when the background soil pH is less than 6.5 and the soil cation exchange capacity is more than 15 meq/100 g: 5 kg/ha

· when the background soil pH is more than 6.5 and the soil cation exchange capacity is less than 5 meq/100 g: 5 kg/ha

· when the background soil pH is more than 6.5 and the soil cation exchange capacity is 5 to meq/100 g: 10 kg/ha

· when the background soil pH is more than 6.5 and the soil cation exchange capacity is more than 15 meq/100 g: 20 kg/ha

· for soils with a background pH of less than 6.5, the cumulative cadmium application rate does not exceed the levels below provided that the pH of the solid waste and soil mixture is adjusted to and maintained at 6.5 or greater whenever food-chain crops are grown:

· 5 ka/ha when the soil cation exchange capacity is less than 5 meq/100 g

· 10 ka/ha when the soil cation exchange is 5 to 15 meq/100 g

· 20 ka/ha when the soil cation exchange is more than 15 meq/100 g.

(NOTE:  As an alternative to the above standards, the following may be met:

· the only food-chain crop produced is animal feed

· the pH of the solid waste and soil mixture is 6.5 or greater at the time of solid waste application or at the time the crop is planted, whichever occurs later, and this pH level is maintained whenever food-chain crops are grown

· there is a facility operating plan which demonstrates how the animal feed will be distributed to preclude ingestion by humans and the facility operating plan describes the measures to be taken to safeguard against possible health hazards from cadmium entering the food chain, which may result from alternative land uses

· future property owners are notified by a stipulation in the land record or property deed which states that the property has received solid waste at high cadmium application rates and that food-chain crops should not be grown, due to a possible health hazard.
Verify that solid waste containing concentrations of PCBs equal to or greater than 10 mg/kg (dry weight) is incorporated into the soil when applied to land used for producing animal feed, including pasture crops for animals raised for milk. 

(NOTE:  Incorporation of the solid waste into the soil is not required if it is assured that the PCB content is less than 0.2 mg/kg (actual weight) in animal feed or less than 1.5 mg/kg [fat basis] in milk.)

(NOTE:  The criteria in 40 CFR 257.1 through 257.4 are for determining which solid waste disposal facilities and practices pose a reasonable probability of adverse effects on health or the environment under sections 1008(a)(3) and 4004(a) of RCRA. Facilities and practices failing to satisfy the criteria in 40 CFR 257.1 through 257.4 result in open dumping.)

(NOTE:  These criteria also provide guidelines for the disposal of sewage sludge on the land when the sewage sludge is not used or disposed through a practice regulated in 40 CFR 503.)

(NOTE:  These criteria apply to all solid waste disposal facilities and practices with the following exceptions:

· the criteria do not apply to agricultural wastes, including manures and crop residues, returned to the soil as fertilizers or soil conditioners

· the criteria do not apply to overburden resulting from mining operations intended for return to the mine site

· the criteria do not apply to the land application of domestic sewage or treated domestic sewage

· the criteria do not apply to the location and operation of septic tanks. The criteria do, however, apply to the disposal of septic tank pumpings

· the criteria do not apply to solid or dissolved materials in irrigation return flows

· the criteria do not apply to industrial discharges which are point sources subject to permits under section 402 of the CWA, as amended

·  the criteria do not apply to source, special nuclear or byproduct material as defined by the AEA, as amended (68 Stat. 923)

· the criteria do not apply to hazardous waste disposal facilities which are subject to regulation under subtitle C of RCRA

· the criteria do not apply to disposal of solid waste by underground well injection subject to the regulations (40 CFR part 146) for the Underground Injection Control Program (UICP) under the SDWA, as amended, 42 U.S.C. 3007 et seq

· the criteria of this part do not apply to municipal solid waste landfill units, which are subject to the revised criteria contained in 40 CFR 258

· the criteria do not apply to the use or disposal sewage sludge on the land when the sewage sludge is used or disposed in accordance with 40 CFR 503.)



	
	


Appendix 9-1

Compliance Dates for MSWLFs and 40 CFR 258
 (40 CFR 258.1(e)) 

[Reviewed March 2000]


In general compliance with 40 CFR 258 is required by 9 October 1993.  The following is a list of MSWLFs which have had their compliance deadline with 40 CFR 258 extended.

1.
9 April 1994 for existing MSWLF units or a lateral expansion of an existing MSWLF that meets the following conditions: 

a.
the MSWLF unit disposed of 100 tons per day or less of solid waste during a representative period prior to 9 October 1993

b.
the unit does not dispose of more than an average of 100 TPD of solid waste each month between 9 October 1993 and 9 April 1994

c.
the MSWLF is located in a state that has submitted an application for permit program approved by the USEPA by 9 October 1993, is located in the State of Iowa, or is located on Indian Lands or Indian Country

d.
the MSWLF is not on the National Priorities List (NPL).

2.
The compliance date has been extended for existing MSWLF unit or lateral expansion if an existing MSWLF units receiving flood-related waste from the Federally-designated areas within the major disasters declared for the states of Iowa, Illinois, Minnesota, Wisconsin, Missouri, Nebraska, Kansas, North Dakota, and South Dakota by the President during the summer of 1993:

a.
Until 9 April 1994 if the state in which the MSWLF is located has determined that the MSWLF unit is needed to receive flood-related wastes from a Federally designated disaster area. 

b.
Until 9 October 1994 if the MSWLF has an extension and the state in which the MSWLF is located has determined that the MSWLF unit is needed to receive flood-related wastes from a Federally designated disaster area.

3.
9 October 1995 for new MSWLF units, existing MSWLF units, and lateral expansions that dispose of less than 20 tons of municipal solid waste daily, based on an annual average. 

Appendix 9-1a

Open Dumping
 (40 CFR 257.1 through 257.3-8) 

[Reviewed March 2000; Deleted April 2004]

Appendix 9-2

MSWLF Units Exempt From Compliance With 40 CFR 258
 (40 CFR 258.1(c) and 258.1(d))

[Reviewed March 2000]

1.
MSWLFs that did not receive waste after 9 October 1991. 

2.
Existing MSWLF units or a lateral expansion of an existing MSWLF that received waste after 9 October 1991 but stopped receiving waste before 9 April 1994 that meets the following conditions: 

a.
the MSWLF unit disposed of 100 tons per day or less of solid waste during a representative period prior to 9 October 1993

b.
the unit does not dispose of more than an average of 100 TPD of solid waste each month between 9 October 1993 and 9 April 1994

c.
the MSWLF is in a state that has submitted an application for permit program approved by the USEPA by 9 October 1993, is in the State of Iowa, or is on Indian Lands or Indian Country

d.
the MSWLF is not on the National Priorities List (NPL). 


(NOTE: If these units have not installed a final cover according to the standards in 40 CFR 258.60(a) by 9 October 1994, the unit is required to meet all the requirements found in 40 CFR 258.)

3.
Existing MSWLF units or lateral expansions if an existing MSWLF unit is receiving flood-related waste from the Federally-designated areas within the major disasters declared for the states of Iowa, Illinois, Minnesota, Wisconsin, Missouri, Nebraska, Kansas, North Dakota, and South Dakota by the President during the summer of 1993 and receive waste after 9 October 1991 but stops receiving waste before the date designated by the state.


(NOTE: If these units have not installed a final cover according to the standards in 40 CFR 258.60(a) within 1 yr of the date designated by the state, the unit is required to meet all the requirements in 40 CFR 258.) 

4.
New MSWLF units, existing MSWLF units and lateral expansions that dispose of less than 20 tons of municipal solid waste daily, based on an annual average that receive waste after 9 October 1991 but stopped receiving waste before 9 October 1997. 


(NOTE: If these units have not installed a final cover according to the standards in 40 CFR 258.60(a) by 9 October 1998, the unit is required to meet all the requirements of 40 CFR 258.) 

5. MSWLF units that receive waste after 9 October 1991 but stop receiving wastes before 9 October 1993. 


(NOTE: If these units have not installed a final cover according to the standards in 40 CFR 258.60(a) by 9 October 1994, the unit is required to meet all the requirements of 40 CFR 258.)

Appendix 9-2a

MSW Landfill Compliance Dates

(40 CFR 63.1945, 63.1947, 63.1950, 63.1952)

[Added April 2003]

	Compliance Date for 40 CFR 63.1930 through 63.1990

(SO.67.10.US through SO.67.12.US, SO.85.7.US and SO.85.8.US)


	New MSW Landfills



	16 January 2003 or at the time operation begins, whichever is last.
	A new affected source.

	The date the landfill is required to install a collection and control system
	A new affected source and is a major source or is collocated with a major source, you must comply with the requirements in 40 CFR 63.1955(b) and 63.1960 through 63.1980

	The date the landfill is required to install a collection and control system by 40 CFR 60.752(b)(2) of subpart WWW.


	a new affected source and is an area source meeting the criteria in 40 CFR 63.1935(a)(3), you must comply with the requirements of 40 CFR 63.1955(b) and 63.1960 through 63.1980


	Compliance Date for 40 CFR 63.1930 through 63.1990 

(SO.67.10.US through SO.67.12.US, SO.85.7.US and SO.85.8.US)


	Existing MSW Landfills



	16 January 2004
	An existing affected source

	The date the landfill is required to install a collection and control system by 40 CFR 60.752(b)(2) of subpart WWW, the Federal plan, or USEPA approved and effective State or tribal plan that applies to your landfill or by 13 January 2004, whichever occurs later.


	an existing affected source and is a major source or is collocated with a major source, you must comply with the requirements in 40 CFR 63.1955(b) and 63.1960 through 63.1980

	The date the landfill is required to install a collection and control system by 40 CFR 60.752(b)(2) of subpart WWW, the Federal plan, or USEPA approved and effective State or tribal plan that applies to your landfill or by 16 January 2004, whichever occurs later.


	an existing affected source and is an area source meeting the criteria in 40 CFR 63.1935(a)(3), you must comply with the requirements in 40 CFR 63.1955(b) and 63.1960 through 

63.1980


	MSW Landfill Type
	Compliance Date 

(Applies to owners or operators of a bioreactor located at a landfill that is not permanently closed as of 16 January 2003 with a design capacity equal to or greater than 2.5 million Mg and 2.5 million m3)



	A new affected source.
	Install the gas collection and control system for the bioreactor before initiating liquids addition.

Begin operating the gas collection and control system within 180 days after initiating liquids addition or within 180 days after achieving a moisture content of 40 percent by weight, whichever is later. If you choose to begin gas collection and control system operation 180 days after achieving a 40 percent moisture content instead of 180 days after liquids addition, use the procedures in 40 CFR  63.1980(g) and (h) to determine when the bioreactor moisture content reaches 40 percent.



	Existing affected Source
	Install and begin operating the gas collection and control system for the bioreactor by 17 January 2006 or by the date the bioreactor is required to install a gas collection and control system under 40 CFR 60, subpart WWW, the Federal plan, or USEPA approved and effective State plan or tribal plan that applies to your landfill, whichever is later.



	Existing affected source and which does not initiate liquids addition to the bioreactor until later than 

17 January 2006,
	Install the gas collection and control system for the bioreactor before initiating liquids addition.

Begin operating the gas collection and control system within180 days after initiating liquids addition or within 180 days after achieving a moisture content of 40 percent by weight, whichever is later. If the facility chooses to begin gas collection and control system operation 180 days after achieving a 40 percent moisture content instead of 180 days after liquids addition, use the procedures in 40 CFR 63.1980(g) and (h) to determine when the bioreactor moisture content reaches 40 percent.




(NOTE:  Compliance with 40 CFR 63, Subpart AAAA is no longer required when the MSW landfill is no longer required to apply controls as specified in 40 CFR 60.752(b)(2)(v) or the Federal plan or USEPA approved and effective State plan or tribal plan that implements 40 CFR 60, subpart Cc, whichever applies to the landfill.)

(NOTE:  Compliance with 40 CFR 63, Subpart AAAA is no longer required for the bioreactor when owning or operating a landfill that includes a bioreactor if either of the following are met:

1. the affected source meets the control system removal criteria in 40 CFR 60.752(b)(2)(v) or the bioreactor meets the criteria for a nonproductive area of the landfill in 40 CFR 

2. the bioreactor portion of the landfill is a closed landfill, The addition of liquids to the bioreactor has ceased, and liquids have not been added to the bioreactor for at least 1 year. 

(NOTE:  Compliance with the bioreactor control removal provisions constitutes compliance with 40 CFR 60, subpart WWW or the Federal plan, whichever applies to the bioreactor.)

Appendix 9-3

Design Criteria Concentration Values
 (40 CFR 258.40)

[Reviewed March 2000]

	Chemical
	        MCL (mg/L)



	Arsenic
	0.05

	Barium
	1.0

	Benzene
	0.005

	Cadmium
	0.01

	Carbon tetrachloride
	0.005

	Chromium (hexavalent)
	0.05

	2,4-Dichlorophenoxy acetic acid
	0.1

	1,4-Dichlorobenzene
	0.075

	1,2-Dichloroethand
	0.005

	1,1-Dichloroethylene
	0.007

	Endrin
	0.0002

	Fluoride
	4.0

	Lindane
	0.004

	Lead
	0.05

	Mercury
	0.002

	Methoxychlor
	0.1

	Nitrate
	10.0

	Selenium
	0.01

	Silver
	0.05

	Toxaphene
	0.005

	1,1,1-Trichloromethane
	0.2

	Trichloroethylene
	0.005

	2,4,5-Trichlorophenoxy acetic acid
	0.01

	Vinyl Chloride
	0.002


Appendix 9-4

Constituents for Detection Monitoring1
(40 CFR 258, Appendix I)

[Revised March 2000; Revised July 2005]

	Common name2


	CAS RN3

	Inorganic Constituents

	(1) Antimony
	(Total)

	(2) Arsenic
	(Total)

	(3) Barium
	(Total)

	(4) Beryllium
	(Total)

	(5) Cadmium
	(Total)

	(6) Chromium
	(Total)

	(7) Cobalt
	(Total)

	(8) Copper
	(Total)

	(9) Lead
	(Total)

	(10) Nickel
	(Total)

	(11) Selenium
	(Total)

	(12) Silver
	(Total)

	(13) Thallium
	(Total)

	(14) Vanadium
	(Total)

	(15) Zinc
	(Total)

	Organic Constituents

	(16) Acetone
	67-64-1

	(17) Acrylonitrile
	107-13-1

	(18) Benzene
	71-43-2

	(19) Bromochloromethane
	74-97-5

	(20) Bromodichloromethane
	75-27-4

	(21) Bromoform; Tribromomethane
	75-25-2

	(22) Carbon disulfide
	75-15-0

	(23) Carbon tetrachloride
	56-23-5

	(24) Chlorobenzene
	108-90-7

	(25) Chloroethane; Ethyl chloride
	75-00-3

	(26) Chloroform; Trichloromethane
	67-66-3

	(27) Dibromochloromethane; Chlorodibromomethane
	124-48-1

	(28) 1,2-Dibromo-3-chlorpropane; DBCP
	96-12-8

	(29) 1,2-Dibromoethane; Ethylene dibromide; EDB
	106-93-4

	(30) o-Dichlorobenzene; 1,2-Dichlorobenzene
	95-50-1

	(31) p-Dichlorobenzene; 1,4-Dichlorobenzene
	106-46-7

	(32) trans-1,4-Dichloro-2-butene
	110-57-6

	(33) 1,1-Dichloroethane; Ethylidene chloride
	75-34-3

	(34) 1,2-Dichloroethane; Ethlyene dichloride
	107-06-2 

	(35) 1,1-Dichloroethylene; 1-1-Dichloroethene; Vinylidene chloride
	75-35-4

	(36) cis-1,2-Dichloroethylene; cis-1,2-Dichloroethene
	156-59-2

	(37) trans-1,2-Dichloroethylene; trans-1,2-Dichloroethene
	156-60-5

	(38) 1,2-Dichlorpropane; Propylene dichloride
	78-87-5

	(39) cis-1,3-Dichlorpropene
	10061-01-5 

	(40) trans-1,3-Dichlorpropene
	10061-02-6

	(41) Ethylbenzene
	100-41-4

	(42) 2-Hexanone; Methyl butyl ketone
	591-78-6

	(43) Methyl bromide; Bromomethane
	74-83-9

	(44) Methyl chloride; Chloromethane
	74-87-3

	(45) Methylene bromide Dibromomethane
	74-95-3

	(46) Methylene chloride; Dichloromethane
	75-09-2

	(47) Methyl ethyl ketone; MEK; 2-Butanone
	78-93-3

	(48) Methyl iodide; Iodomethane
	74-88-4

	(49) 4-Methyl-2-pentanone; Methyl isobutyl isobutyl ketone
	108-10-1

	(50) Styrene
	100-42-5

	(51) 1,1,1,2-Tetrachloroethane
	630-20-6

	(52) 1,1,2,2-Tetrachloroethane
	79-34-5

	(53) Tetrachloroethylene; Tetracholorethene; Perchloroethylene
	127-18-4

	(54) Toluene
	108-88-3

	(55) 1,1,1-Trochlorethane; Methylchloroform
	71-55-6

	(56) 1,1,2-Trichloroethane
	79-00-5

	(57) Trichloroethylene; Trichlorethene
	79-01-6

	(58) Trichlorofluoromethane; CFC-11
	75-69-4

	(59) 1,2,3-Trichloropropane
	96-18-4

	(60) Vinyl acetate
	108-05-4

	(61) Vinyl chloride
	75-01-4

	(62) Xylenes
	1330-20-7


1This list contains 47 volatile organics for which possible analytical procedures provided in USEPA Report SW-846, Test Methods for Evaluating Solid Waste, third edition, November 1986, as revised December 1987, includes Method 8260; and 15 metals for which SW-846 provides either Method 6010 or a method from the 7000 series of methods.

2 Common names are those widely used in government regulations, scientific publications, and commerce; synonyms exist for many chemicals. 

3 Chemical Abstracts Service registry number.  Where “Total” is entered, all species in the groundwater that contain this element are included. 

Appendix 9-5

List of Hazardous Inorganic and Organic Constituents
(40 CFR 258, Appendix II)

[Revised July 2005]

	Common Name1


	CAS RN2
	Chemical abstracts service index name3

	Acenaphthene
	83-32-9
	Acenaphthylene, 1,2-dihydro-

	Acenaphthylene
	208-96-8
	Acenaphthylene

	Acetone
	67-64-1
	2-Propanone

	Acetonitrile; Methyl cyanide
	75-05-8
	Acetonitrile

	Acetophenone
	98-86-2
	Ethanone, 1-phenyl-

	2-Acetylaminofluorene; 2-AAF
	53-96-3
	Acetamide, N-9H-fluoren-2-yl-

	Acrolein
	107-02-8
	2-Propenal

	Acrylonitrile 
	107-13-1
	2-Propenenitrile

	Aldrin
	309-00-2
	1,4:5,8-Dimethanonaphthalene, 1,2,3,4,10,10- hexachloro-1,4,4a,5,8,8a-hexahydro-(1,4,4a,5,8,8a)

	Allyl chloride
	107-05-1
	1-Propene, 3-chloro-

	4-Aminobiphenyl
	92-67-1
	[1,1'-Biphenyl]- 4-amine

	Anthracene
	120-12-7
	Anthracene

	Antimony
	(Total)
	Antimony

	Arsenic
	(Total)
	Arsenic

	Barium
	(Total)
	Barium

	Benzene
	71-43-2
	Benzene

	Benzo[a]anthracene; Benzanthracene
	56-55-3
	Benz[a]anthracene

	Benzo[b]fluoranthene
	205-99-2
	Benz[e]acephenanthrylene

	Benzo[k]fluoranthene
	207-08-9
	Benzo[k]fluoranthene

	Benzo[ghi]perylene
	191-24-2
	Benzo[ghi]perylene

	Benzo[a]pyrene
	50-32-8
	Benzo[a]pyrene

	Benzyl alcohol
	100-51-5
	Benzenemethanol

	Beryllium
	(Total)
	Beryllium

	alpha-BHC
	319-84-6
	Cyclohexane, 1,2,3,4,5,6-hexachloro,(1[alpha],2[alpha],3[beta],4[alpha],5 [beta],6[beta])-

	beta-BHC
	319-85-7
	Cyclohexane,1,2,3,4,5,6-hexachloro,(1[alpha],2[beta],3[alpha],4[beta],5[alpha],6[beta])-

	delta-BHC
	319-86-8
	Cyclohexane,1,2,3,4,5,6-hexachloro,(1[alpha],2[alpha],3[alpha],4[beta],5 [alpha],6[beta])-

	gamma-BHC; Lindane
	58-89-9
	Cyclohexane,1,2,3,4,5,6-hexachloro,(1[alpha],2[alpha], 3[beta], 4[alpha],5[alpha],6 [beta])-

	Bis(2-chloroethoxy)methane
	111-91-1
	Ethane, 1,1'- [methylenebis (oxy)]bis [2-chloro-

	Bis(2-chloroethyl)ether; Dichloroethyl ether
	111-44-4
	Ethane, 1,1'-oxybis[2-chloro-

	Bis-(2-chlor-1-methyl) ether; 2, 2-Dichloro- diisopropyl ether; DCIP, See note 6
	108-60-1
	Propane, 2,2'-oxybis[1-chloro-

	Bis(2-ethylhexyl) phthalate
	117-81-7
	1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl)ester

	Bromochloromethane; Chlorobromomethane
	74-97-5
	Methane, bromochloro-

	Bromodichloromethane; Dibromochloromethane
	75-27-4
	Methane, bromodichloro-

	Bromoform; Tribromomethane
	75-25-2
	Methane, tribromo-

	4-Bromophenyl phenyl ether
	101-55-3
	Benzene, 1-bromo-4-phenoxy-

	Butyl benzyl phthalate; Benzyl butyl phthalate
	85-68-7
	1,2, Benzenedicarboxylic acid, butyl phenylmethyl ester

	Cadmium
	(Total)
	Cadmium

	Carbon disulfide
	75-15-0
	Carbon Disulfide

	Carbon tetrachloride
	56-23-5
	Methane, tetrachloro-

	Chlordane
	See NOTE 5
	4,7-Methano-1H-indene, 1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro-

	p-Chloroaniline
	106-47-8
	Benzenamine, 4-chloro-

	Chlorobenzene
	108-90-7
	Benzene, chloro-

	Chlorobenzilate
	510-15-6
	Benzeneacetic acid, 4-chloro-(4-chlorophenyl)- -hydroxy-, ethyl ester.

	p-Chloro-m-cresol; 4-Chloro-3-methylphenol
	59-50-7
	Phenol, 4-chloro-3-Methyl-

	Chloroethane; Ethyl chloride
	75-00-3
	Ethane, chloro-

	Chloroform; Trichloromethane
	67-66-3
	Methane, trichloro-

	2-Chloronaphthalene
	91-58-7
	Naphthalene, 2-chloro-

	2-Chlorophenol
	95-57-8
	Phenol, 2-chloro-

	4-Chlorophenyl phenyl ether
	7005-72-3
	Benzene, 1-chloro-4-phenoxy-

	Chloroprene
	126-99-8
	1,3-Butadiene, 2- chloro-

	Chromium
	(Total)
	Chromium

	Chrysene
	218-01-9
	Chrysene

	Cobalt
	218-01-9
	Cobalt

	Copper
	(Total)
	Copper

	m-Cresol; 3-methylphenol
	108-39-4
	Phenol, 3-methyl-

	o-Cresol; 2-methlphenol
	95-48-7
	Phenol, 2-methyl-

	p-Cresol; 4-methylphenol
	106-44-5
	Phenol, 4-methyl-

	Cyanide
	57-12-5
	Cyanide

	2,4-D; 2,4-Dichlorophenoxyacetic acid
	94-75-7
	Acetic acid, (2,4- dichlorophenoxy)-

	4,4-DDD
	72-54-8
	Benzene 1,1'-(2,2-dichloroethylidene) bis[4-chloro-

	4,4-DDE
	72-55-9
	Benzene, 1,1'- (dichloroethenylidene) bis[4-chloro-

	4,4-DDT
	50-29-3
	Benzene, 1,1'-(2,2,2-trichloroethylidene) bis[4-chloro-

	Diallate
	2303-16-4
	Carbamothioic acid, bis(1-methylethyl)-, S- (2,3-dichloro-2-propenyl) ester.

	aDibenz[a,h]anthracene
	53-70-3
	Dibenz[a,h]anthracene

	Dibenzofuran
	132-64-9
	Dibenzofuran

	Dibromochloromethane; Chlorodibromomethane
	124-48-1
	Methane, dibromochloro-

	1,2-Dibromo-30chloropropane; DBCP
	96-12-8
	Propane, 1,2-dibromo-3-chloro-

	1,2-Dibromoethane; Ethylene dibromide; EDB
	106-93-4
	Ethane, 1,2-dibromo-

	Di-n-butyl phthalate
	84-74-2
	2-Benzenedicarboxylic acid, dibutyl ester

	o-Dichlorobenzene; 1,2-Dichlorobenzene
	95-50-1
	Benzene, 1,2-dichloro-

	m-Dichlorobenzene; 1,3-Dichlorobenzene
	541-73-1
	Benzene, 1,3-dichloro-

	p-Dichlorobenzene; 1,4-Dichlorobenzene
	106-46-7
	Benzene, 1,4-dichloro-

	3,3-Dichlorobenzidine
	91-94-1
	[1,1'-Biphenyl]-4,4'-diamine, 3,3'-dichloro-

	trans-1,4-Dichloro-2-butene
	110-57-6
	2-Butene, 1,4-dichloro, (E)-

	Dichlorodifluoromethane; CFC 12;
	75-71-8
	Methane, dichlorodifluoro-

	1,1-Dichloroethane chloride
	75-34-3
	Ethane, 1,1-dichloro-

	1,2-Dichloroethane; Ethylene dichloride
	107-06-2
	Ethane, 1,2-dichloro-

	1,1-Dichloroethylene; 1,1-Dichloroethane
	75-35-4
	Ethene, 1,1-dichloro-

	Vinylidene chloride cis-1,2- Dichloroethylene; cis-1,2- Dichloroethene.
	156-59-2
	Ethene, 1,2-dichloro-(Z)-

	trans-1,2-Dichloroethylene trans-1,2-Dichloroethene
	156-60-5
	Ethene, 1,2-dichloro-, (E)-

	2,4-Dichlorophenol
	120-83-2
	Phenol, 2,4-dichloro-

	2,6-Dichlorophenol
	87-65-0
	Phenol, 2,6-dichloro-

	1,2-Dichloropropane; Propylene dichloride
	78-87-5
	Propane, 1,2-dichloro-

	1,3-Dichloropropane; Trimethylene dichloride
	142-28-9
	Propane, 1,3- Trimethylene dichloro-

	2,2-Dichloropropane; Isopropylidene chloride
	594-20-7
	Propane, 2,2- dichloro-

	1,1-Dichloropropene
	563-58-6
	1-Propene, 1,1-dichloro-

	cis-1,3-Dichloropropene
	10061-01-5
	1-Propene, 1,3-dichloro-, (Z)-

	trans-1,3-Dichloropropene
	10061-02-6
	1-Propene, 1,3-dichloro-, (E)-

	Dieldrin
	60-57-1
	2,7:3,6-Dimethanonaphth [2,3-b]oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1a[alpha],2[beta],2a[alpha],3[beta],6[beta],6a[alpha],7[beta,7a[alpha])-

	Diethyl phthalate
	84-66-2
	1,2-Benzenedicarboxylic acid, diethyl ester

	0,0-Diethyl 0-2-pyrazinyl phosphorothioate; 
 Thionazin
	297-97-2
	Phosphorothioic acid, O,O-diethyl O-pyrazinyl ester.

	Dimethoate
	60-51-5
	Phosphorodithioic acid, O,O-dimethyl S-[2-(methylamino)-2-oxoethyl] ester

	p-(Dimethylamino)azobenzene
	60-11-7
	Benzenamine, N,N-dimethyl-4- (phenylazo)-

	7,12-Dimethylbenxz[a]anthracene
	57-97-6
	Benz[a]anthracene,7,12-dimethyl-

	3,3-Dimethylbenzidine
	119-93-7
	[1,1'-Biphenyl]-4,4'-diamine, 3,3'-dimethyl-

	alpha, alpha- Dimethylphenethylamine
	122-09-8
	Benzeneethanamine,[alpha],[alpha]-dimethy1

	2,4-Dimethlphenol; m-Xylenol
	105-67-9
	Phenol, 2,4-dimethyl-

	Dimethyl phthalate
	131-11-3
	1,2-Benzenedicarboxylic acid, dimethyl ester

	m-Dinitrobenzene
	99-65-0
	Benzene, 1,3-dinitro-

	4,6-Dinitro-o-cresol 4,6-Dinitro-2-methylphenol
	534-52-1
	Phenol, 2-methyl-4,6- Dinitro-

	2,4-Dinitrophenol
	51-28-5
	Phenol, 2,4-dinitro-

	2,4-Dinitrotoluene
	121-14-2
	Benzene, 1-methyl-2,4-dinitro-

	2,6-Dinitrotoluene
	606-20-2
	Benzene, 2-methyl-1,3-dinitro-

	Dinoseb; DNBP; 2-sec-Butyl-4,6-dinitrophenol
	88-85-7
	Phenol, 2-(1-methylpropyl)-4,6-

dinitro-

	Di-n-octyl phthalate
	117-84-0
	1,2-Benzenedicarboxylicacid, dioctyl ester

	Diphenylamine
	122-39-4
	Benzenamine, N-phenyl-

	Disulfoton
	298-04-4
	Phosphorodithioic acid, O,O-diethyl S- [2- (ethylthio)ethyl] ester

	Endosulfan I
	959-98-8
	6,9-Methano-2,4,3-benzodiox-athiepin, 6,7,8,9,10,10 hexachloro- 1,5,5a,6,9,9a-hexahydro-, 3-oxide,

	Endosulfan II
	33213-65-9
	6,9-Methano-2,4,3-benzodioxathiepin, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3-oxide, (3[alpha],5a[alpha] 6[beta],9[beta], 9a[alpha])-

	Endodulfan sulfate
	1031-07-8
	6,9-Methano-2,4,3-benzodioxathiepin, 6,7,8,9,10,10-hexachloro- 1,5,5a,6,9,9a-hexahydro-, 3,3-dioxide

	Endrin
	72-20-8
	2,7:3,6-Dimethanonaphth[2,3-b]oxirene,3,4,5,6,9,9-hexachloro- 1a,2,2a,3,6,6a,7,7a-octahydro-,  (1a[alpha], 2[beta],2a[beta], 3[alpha],6[alpha], 6a[beta],7[beta],7a [alpha])-

	Endrin aldehyde
	7421-93-4
	1,2,4-Methenocyclo- penta[cd]pentalene- 5-carboxaldehyde,2,2a,3,3,4,7-hexachlorodecahydro- (1[alpha],2[beta], 2a[beta],4[beta], 4a[beta],5[beta],6a [beta],6b[beta],7R*)-

	Ethylbenzene
	100-41-4
	Benzene, ethyl-

	Ethyl methacrylate
	97-63-2
	2-Propenoic acid, 2-methyl-, ethyl ester

	Ethyl methanesulfonate
	62-50-0
	Methanesulfonic acid, ethyl ester



	Famphur
	52-85-7
	Phosphorothioic acid, O-[4-

[(dimethylamino)sulfonyl]phenyl]-O,O-dimethyl ester

	Fluoranthene
	206-44-0
	Fluoranthene

	Fluorene
	86-73-7
	9H-Fluorene

	Heptachlor
	76-44-8
	4,7-Methano-1H-indene,1,4,5,6,7,8,8-heptachloro-

3a,4,7,7a-tetrahydro-

	Heptachlor epoxide
	1024-57-3
	2,5-Methano-2H-indeno[1,2-b]oxirene,2,3,4,5,6,7,7-heptachloro-1a,1b,5,5a,6,6a,-hexahydro,(1a[alpha],1b[beta],2[alpha],5[alpha],5a[beta],6[beta],6a[alpha])

	Hexachlorobenzene
	118-74-1
	Benzene, hexachloro-

	Hexachlorobutadiene
	87-68-3
	1,3-Butadiene, 1,1,2,3,4,5, hexachloro

	Hexachlorocyclopentadiene
	77-47-4
	1,3, Cyclopentadiene,1,2,3,4,5,5- hexachloro-

	Hexachloroethane
	67-72-1
	Ethane, hexachloro-



	Hexachloropropene
	188-71-7
	1-Propene, 1,1,2,3,3,3-hexachloro

	2-Hexanone; Methyl butyl ketone
	591-78-6
	2-Hexanone

	Indenol(1,2,3-cd)pyrene
	193-39-5
	Indeno[1,2,3-cd]pyrene

	Isopbutyl alcohol
	78-83-1
	1-Propanol, 2-methyl-

	Isodrin
	465-73-6
	1,4,5,8-Dimethanonaphthalene, 1,2,3,4,1 0,10-hexachloro-1,4,4a,5,8,8a hexahydro- (1[alpha],4[alpha],4a[beta],5[beta],8[beta],8a[beta])-

	Isophorone
	78-59-1
	2-Cyclohexen-1-one, 3,5,5-trimethyl-

	Isosafrole
	120-58-1
	1,3-Benzodioxole, 5- (1-propenyl)-

	Kepone
	143-50-0
	1,3,4-Metheno-2H-cyclobuta-[cd]pentalen-2-one, 1,1a,3,3a,4,5,5,5a,5b,6-decachlorooctahydro-

	Lead
	(Total)
	Lead

	Mercury
	(Total)
	Mercury

	Methacrylonitrile
	126-98-7
	2-Propenenitrile, 2-methyl-

	Methapyrilene
	91-80-5
	1,2,Ethanediamine, N,N-dimethyl-N'-2-pyridinyl-N'-(2-thienylmethyl)-

	Methoxychlor
	72-43-5
	Benzene, 1,1'- (2,2,2,trichloroethylidene)bis [4-methoxy-

	Methyl bromide; Bromomethane
	74-83-9
	Methane, bromo-

	Methyl chloride; Chloromethane
	74-87-3
	Methane, chloro-

	3-Methylcholanthrene
	56-49-5
	Benz[j]aceanthrylene 1,2-dihydro-3-methyl-

	Methyl ethyl ketone; MEK; 2-Butanone
	78-93-3
	2-Butanone

	Methyl iodide; lodomethane
	74-88-4
	Methane, iodo-

	Methyl methacrylate
	80-62-6
	2-Propenoic acid, 2-methyl-, methyl ester

	Methyl methanesulfonate
	66-27-3
	Methanesulfonic acid, methyl ester

	2-Methylnaphthalene
	91-57-6
	Naphthalene, 2-methyl-

	Methyl parathion; Parathion methyl
	298-00-0
	Phosphorothioic acid, O,O-dimethyl

	4-Methyl-2-pentanone; Methyl isobutyl ketone
	108-10-1
	2-Pentanone, 4- methyl-

	Methylene bromide; Dibromomethane
	74-95-3
	Methane, dibromo-

	Methylene chloride; Dichloromethane
	75-09-2
	Methane, dichloro-

	Naphthalene
	91-20-3
	Naphthalene

	1,4-Naphthoquinone
	130-15-4
	1,4-Naphthalenedione

	1-Naphthylamine
	134-32-7
	1-Naphthalenamine

	2-Naphthylamine
	91-59-8
	2-Naphthalenamine

	Nickel
	(Total)
	Nickel

	o-Nitroaniline; 2-Nitroaniline
	88-74-4
	Benzenamine, 2-nitro-

	m-Nitroaniline; 3-Nitroanile
	99-09-2
	Benzenamine, 3-nitro-

	p-Nitroaniline; 4-Nitroaniline
	100-01-6
	Benzenamine, 4-nitro-

	Nitrobenzene
	98-95-3
	Benzene, nitro-

	o-Nitrophenol; 2-Nitrophenol
	88-75-5
	Phenol, 2-nitro-

	p-Nitrophenol; 4-Nitrophenol
	100-02-7
	Phenol, 4-nitro-

	N-Nitrosodi-n-butylamine
	924-16-3
	1-Butanamine, N-butyl-N-nitroso-

	N-Nitrosodiethylamine
	55-18-5
	Ethanamine, N-ethyl-N-nitroso-

	N-Nitrosodimethylamine
	62-75-9
	Methanamine, N-methyl-N-nitroso-

	N-Nitrosodiphenylamine
	86-30-6
	Benzenamine, N-nitroso-N-phenyl-

	N-Nitrosodipropylamine; dipropylamine;
	621-64-7
	1-Propanamine, N-nitroso-N-propyl-

	N-Nitrosomethylethalamine
	10595-95-6
	Ethanamine, N-methyl-N-nitroso-

	N-Nitrosopiperidine
	100-75-4
	Piperidine, 1-nitroso-

	N-Nitrosopyrrolidine
	930-55-2
	Pyrrolidine, 1-nitroso-

	5-Nitro-o-toluidine
	99-55-8
	Benzenamine, 2-methyl-5-nitro-

	Parathion
	56-38-2
	Phosphorothioic acid, O,O-diethyl-O- (4-nitrophenyl) ester

	Pentachlorobenzene
	608-93-5
	Benzene, pentachloro-

	Pentachloronitrobenzene
	82-68-8
	Benzene, pentachloronitro-

	Pentachlorophenol
	87-86-5
	Phenol, pentachloro-

	Phenacetin
	62-44-2
	Acetamide, N-(4-ethoxyphenyl)

	Phenanthrene
	85-01-8
	Phenanthrene

	Phenol
	108-95-2
	Phenol

	p-Phenylenediamine
	106-50-3
	1,4-Benzenediamine

	Phorate
	298-02-2
	Phosphorodithioic acid, O,O-diethyl S- [(ethylthio)methyl] ester

	Polychlorinated biphenyls (PCBs); Aroclors
	see NOTE 6
	1'-Biphenyl, chloro derivatives

	Pronamide
	23950-58-5
	Benzamide, 3,5-dichloro-N-(1,1-dimethyl-2-propynyl)-

	Propionitrile; Ethyl cyanide
	107-12-0
	Propanenitrile

	Pyrene
	129-00-0
	Pyrene

	Safrole
	94-59-7
	1,3-Benzodioxole, 5-(2-propenyl)-

	Selenium
	(Total)
	Selenium

	Silver
	(Total)
	Silver

	Silvex; 2,4,5-TP
	93-72-1
	Propanoic acid, 2- (2,4,5- trichlorophenoxy)-

	Styrene
	100-42-5
	Benzene, ethenyl-

	Sulfide
	18496-25-8
	Sulfide

	2,4,5-T; 2,4,5-Trichlorophenoxyacetic acid
	93-76-5
	Acetic acid, (2,4,5-trichlorophenoxy)-

	2,3,7,8-TCDD; 2,3,7,8- Tetrachlorodibenzo- p-dioxin
	1746-01-6
	Dibenzo[b,e][1,4]dioxin, 2,3,7,8- tetrachloro-

	1,2,4,5-Tetrachlorobenzene
	95-94-3
	Benzene, 1,2,4,5-tetrachloro-

	1,1,1,2-Tetrachloroethane
	630-20-6
	Ethane, 1,1,1,2-tetrachloro-

	1,1,2,2-Tetrachloroethane
	79-34-5
	Ethane, 1,1,2,2-tetrachloro-

	Tetrachloroethylene; Tetrachloroethene; Perchloroethylene
	127-18-4
	Ethene, tetrachloro-

	2,3,4,6-Tetrachlorophenol
	58-90-2
	Phenol, 2,3,4,6-tetrachloro-

	Thallium
	(Total)
	Thallium

	Tin
	(Total)
	Tin

	Toluene
	108-88-3
	Benzene, methyl-

	o-Toluidine
	95-53-4
	Benzenamine, 2-methyl-

	Toxaphene
	See NOTE 7
	Toxaphene

	1,2,4-Trichlorobenzene
	120-82-1
	Benzene, 1,2,4-trichloro-

	1,1,1-Trichloroethane; Methylchloroform
	71-55-6
	Ethane, 1,1,1- trichloro-

	1,1,2-Trichloroethane
	79-00-5
	Ethane, 1,1,2-trichloro-

	Trichloroethylene; Trichloroethene
	79-01-6
	Ethene, trichloro-

	Trichlorrofluoromethane; CFC-11
	75-69-4
	Methane, trichlorofluoro-

	2,4,5-Trichlorophenol
	95-95-4
	Phenol, 2,4,5-trichloro-

	2,4,6-Trichlorophenol
	88-06-2
	Phenol, 2,4,6-trichloro-

	1,2,3-Trichloropropane
	96-18-4
	Propane, 1,2,3-trichloro-

	0,0,0-Triethyl phosphorothioate
	126-68-1
	Phosphorothioic acid, O,O,O-triethyl ester

	sym-Trinitrobenzene
	99-35-4
	Benzene, 1,3,5-trinitro-

	Vanadium
	(Total)
	Vanadium

	Vinyl acetate
	108-05-4
	Acetic acid, ethenyl ester

	Vinyl chloride; Chloroethene
	75-01-4
	Ethene, chloro-

	Xylene (total)
	See NOTE 8
	Benzene, dimethyl-

	Zinc
	(Total)
	Zinc


NOTES: 

1Common names are those widely used in government regulations, scientific publications, and commerce; synonyms exist for many chemicals.

2 Chemical Abstracts Service registry number. Where “Total” is entered, all species in the ground water that contain this element are included.

3 CAS index names are those used in the 9th Cumulative Index.

4 This substance is often called bis(2-chloroisopropyl) ether, the name Chemical Abstracts Service applies to its noncommercial isomer, propane, 2,2”-oxybis[2-chloro-(CAS RN 39638-32-9).

5 Chlordane: This entry includes alpha-chlordane (CAS RN 5103-71-9), beta-chlordane (CAS RN 5103-74-2), gamma-chlordane (CAS RN 5566-34-7), and constituents of chlordane (CAS RN 57-74-9 and CAS RN 12789-03-6).

6 Polychlorinated biphenyls (CAS RN 1336-36-3); this category contains congener chemicals, including constituents of Aroclor-1016 (CAS RN 12674-11-2), Aroclor-1221 (CAS RN 11104-28-2), Aroclor-1232 (CAS RN 11141-16-5), Aroclor-1242 (CAS RN 53469-21-9), Aroclor-1248 (CAS RN 12672-29-6), Aroclor-1254 (CAS RN 11097-69-1), and Aroclor-1260 (CAS RN 11096-82-5).

7 Toxaphene: This entry includes congener chemicals contained in technical toxaphene (CAS RN 8001-35-2), i.e., chlorinated camphene.

8 Xylene:  This entry includes o-xylene (CAS RN 96-47-6), m-xylene (CAS RN 108-38-3), p- xylene CAS RN 106-42-3), and unspecified xylenes (dimethylbenzenes) (CAS RN 1330-20-7).

























9-1
Solid Waste

